## Slide 2: OOME
January 24, 2012
Terry Oxandale
CJ Brown email address · 501.614.3552

## Slide 3: OOME
Purpose or Goal of this Presentation
  Present SPP staff perspective to the OOME process
  Promote discussion related to the OOME process from all stakeholder perspectives
  Re-evaluate SPP process based on feedback from the MWG and the make whole provisions brought forward in PRR 200

## Slide 4: OOME
Definition: Out Of Merit Energy
  Used to mitigate reliability concerns until the MOS generated deployment is able to provide the necessary constraint relief.
    OOMEs are intended to be short in duration
      Applies only to online Resources
    Longer term mitigation issues are implemented through Operating guides and Reliability Directives

## Slide 5: Current OOME EIS Process
OOME instructions are restricted to those Resources that follow a Security Constrained Economic Dispatch (SCED) value
  Available and Self-Dispatched Resources
    Not used with Unavailable, Supplemental, or otherwise uncontrollable resources
    Not used for local conditions which have insignificant impact on the wider area system, or for conditions that can be (should be) solved by the local Transmission Operator or Balancing Authority

## Slide 6: Current OOME EIS Process
Directives are used for the timely resolution of bulk electric system issues
  Directives may be issued by the Reliability Coordinator, the Transmission Operator, or the Balancing Authority Operator (TOP-001-1 R3)
  All OOMEs are directives, not all directives are OOMEs
    A directive can be issued to move an unavailable, supplemental, or otherwise uncontrollable Resources
    A TOP may issue a directive to resolve a local conditions which may have insignificant impact on the wider area system

## Slide 7: Reliability Coordinator and Transmission Operator Functions
The RC and TOP are tasked with specific reliability related responsibilities
  SPP Reliability Coordination function has the responsibility to maintain the integrity of the Bulk Electric System
  TOP has the responsibility to ensure the reliability of its transmission operating area

## Slide 8: Questions for MWG from Staff
Do the EIS Protocols need clarification on the Resources that qualify for an OOME?
Does the process detailed in this presentation reflect the spirit of recently approved PRR 200?
What processes need further analysis/changes as we transition to Marketplace?
  MPRR 47