EIS Market Integrated Marketplace

PRR Comments

| PRR No. | Marketplace-PRR47 | PRR Title | Clarification of Compensation for Reliability Commitment and Dispatch |
| --- | --- | --- | --- |
| Date |  | 3/8/2012 |  |
| Submitter |  |  |  |
| Name |  | Gene Anderson |  |
| E-mail Address |  | geneaengr@ecewb.com |  |
| Company |  | OMPA |  |
| Phone Number |  | 405.645.2280 |  |

Comments

I have made some additional changes to Section 4.4.2.4 of the protocols and the corresponding tariff language to try to make what happens in an OOME clearer.  I also deleted some of my earlier comment boxes.

Revised Proposed Protocol Language Revision

# 1.	Glossary

Commit Time

The time specified by SPP or a local Transmission Operator in a commit order at which a Resource with a commit status of “Market” or “Reliability” that was committed by SPP in the DA Market or any Reliability Unit Commitment process should be synchronized and at or above Minimum Economic Capacity Operating Limit

De-Commit Time

The time specified by SPP or a local Transmission Operator in a de-commit order at which a Resource with a Commitment Status of “Market” or “Reliability” that was committed by SPP in the DA Market or any Reliability Unit Commitment process should begin de-synchronization procedures

#### 4.3.2.2 	Day-Ahead RUC Execution

Using the inputs described above, SPP performs a capacity adequacy analysis for the upcoming Operating Day using the SCUC algorithm.  The capacity adequacy analysis provides advisory information to the SPP Operators.

- The objective of the SCUC is to commit Resources to meet the SPP Mid-Term Load Forecast and Operating Reserve requirements over the Operating Day such that commitment costs are minimized while adhering to transmission system security constraints and the resource operating parameter constraints submitted as part of the RTBM Offers;

- Commitment costs are defined as Start-Up Offer, No-Load Offer and incremental cost to operate at minimum output as defined in the submitted Energy Offer Curve.  Incremental Energy costs above minimum output and Operating Reserve Offers are not considered by the RUC SCUC in making commitment decisions;

- The SCUC algorithm will initially consider commitment of Resources with a Commit Status of Market or Self only including capacity up to the Resources’ Maximum Economic Capacity Operating Limit (or Maximum Regulation Capacity Operating Limit if selected for Regulation-Up) and down to the Resources Minimum Economic Capacity Operating Limit (or Minimum Regulation Capacity Operating Limit if selected for Regulation-Down).

- If this capacity is not sufficient to meet the system-wide SPP Mid-Term Load Forecast plus Operating Reserve requirements, the SCUC algorithm study will, in priority order: (1) curtail non-firm Export Interchange Transactions until the capacity shortage is eliminated; (2) incorporate capacity up to Resources’ Maximum Emergency Capacity Operating Limit and/or commit Resources’ with a Commit Status of Reliability on an economic basis until the capacity shortage is eliminated while attempting to maintain the Regulation-Up requirement to the extent possible.

- If the sum of Self-Committed capacity at minimum output, fixed Import Interchange Transaction Offers and the system-wide Regulation-Down requirement is in excess of the sum of the SPP system-wide Mid-Term Load Forecast and fixed Export Interchange Transactions, the RUC SCUC algorithm study will, in priority order: (1) curtail non-firm fixed Import Interchange Transactions until the capacity surplus is eliminated; (2) reduce Resource capacity down to the Resources’ Minimum Emergency Capacity Operating Limit for Resources not selected for Regulation-Down until the capacity surplus is eliminated; (3) de-commit Resources that were committed in the DA Market with a Commit Status of Market until the capacity surplus in eliminated; and (4) de-commit Self-Committed Resources until the capacity surplus in eliminated.

- If there is a transmission constraint within a Reserve Zone occurring simultaneously with a Reserve Zone excess capacity event, SCUC may commit additional Resources and/or de-commit Resources to relieve the constraints provided that any commitment changes do not aggravate the excess capacity situation.

- To the extent that a particular reliability issue cannot be directly addressed within the SCUC algorithm as described under subsection (a) and (b) above, SPP may manually commit Resources with a Commit Status of Reliability and de-commit Resources with a Commit Status of Self to alleviate such reliability issues in accordance with its authority as Reliability Coordinator.

- An emergency condition may arise within the operating area of a local Transmission Operator that is either on its distribution system or may involve elements not monitored by SPP.  Such emergencies may require out of merit commitment, decommitment or dispatch instructions to be issued to one or more Resources to resolve the emergency. In such cases, the local Transmission Operator shall request SPP to issue such instructions.

Any curtailment of schedules, use of Reliability Status Resources or use of Emergency operating limits by the RUC algorithms will only be advisory information to the SPP RUC Operators.   Day-Ahead RUC and Intra-Day RUC Operators will determine which of these options should be acted on and when as described in the Day-Ahead and Intra-Day RUC Results sections.

#### 4.4.1.2	Intra-Day RUC Execution

Using the inputs described above, SPP performs a capacity adequacy analysis for the upcoming Operating Day and throughout the Operating Day using a SCUC algorithm.  The capacity adequacy analysis provides advisory information to the SPP Operators.

- The objective of the SCUC is to commit Resources to meet the SPP Mid-Term Load Forecast and Operating Reserve requirements over the Operating Day such that commitment costs are minimized while adhering to transmission system security constraints and the resource operating parameter constraints submitted as part of the RTBM Offers;

- Commitment costs are defined as Start-Up Offer, No-Load Offer and incremental cost to operate at minimum output as defined on the submitted Energy Offer Curve.  Incremental Energy costs above minimum output and Operating Reserve Offers are not considered by the RUC SCUC in making commitment decisions;

- The SCUC algorithm will initially consider commitment of Resources with a Commit Status of Market or Self only including capacity up to the Resources’ Maximum Economic Capacity Operating Limit (or Maximum Regulation Capacity Operating Limit if selected for Regulation-Up) and down to the Resources Minimum Economic Capacity Operating Limit (or Minimum Regulation Capacity Operating Limit if selected for Regulation-Down).

- If this capacity is not sufficient to meet the system-wide SPP Mid-Term Load Forecast plus Operating Reserve requirements, the SCUC algorithm study will, in priority order: (1) curtail non-firm Export Interchange Transactions until the capacity shortage is eliminated; (2) incorporate capacity up to Resources’ Maximum Emergency Capacity Operating Limit and/or commit Resources’ with a Commit Status of Reliability on an economic basis until the capacity shortage is eliminated while attempting to maintain the Regulation-Up requirement to the extent possible.

- If the sum of Self-Committed capacity at minimum output, fixed Import Interchange Transaction Offers and the system-wide Regulation-Down requirement is in excess of the sum of the SPP system-wide Mid-Term Load Forecast and fixed Export Interchange Transactions, the SCUC algorithm study will, in priority order: (1) curtail non-firm fixed Import Interchange Transactions until the capacity surplus is eliminated; (2) reduce capacity down to the Resources’ Minimum Emergency Capacity Operating Limit for Resources not selected for Regulation-Down until the capacity surplus is eliminated; (3) de-commit Resources that were committed in the DA Market with a Commit Status of Market until the capacity surplus is eliminated; and (4) de-commit Self-Committed Resources that were committed following the Day-Ahead RUC process until the capacity surplus is eliminated.

      - If there is a transmission constraint within a Reserve Zone occurring simultaneously with a Reserve Zone excess capacity event, RUC may commit additional Resources to relieve the constraints provided that the additional commitment does not aggravate the excess capacity situation.

- To the extent that a particular reliability issue cannot be directly addressed within the SCUC algorithm as described under subsection (a) and (b) above, SPP may manually commit Resources with a Commit Status of Reliability and de-commit Resources with a Commit Status of Self to alleviate such reliability issues in accordance with its authority as Reliability Coordinator.

- An emergency condition may arise within the operating area of a local Transmission Operator that is either on its distribution system or may involve elements not monitored by SPP.  Such emergencies may require out of merit commitment, decommitment or dispatch instructions to be issued to one or more Resources to resolve the emergency.  Time permitting, the local Transmission Operator shall request SPP to issue such instructions.  To the extent time does not permit, the local Transmission Operator may issue such instructions to the Resource in accordance with its authorities as a reliability entity.  In such cases, the following shall take place:

  - If initial instructions are issued by a local Transmission Operator, the Transmission Operator shall notify SPP of the instructions given to the Resource.

  - The Transmission Operator and SPP will coordinate to ensure subsequent instructions are provided by SPP.

  - SPP shall log such instructions as manual commitment, decommitment or Out-of-Merit Dispatch instruction, as appropriate, as if it gave such instruction to the Resource.

  - The Resource shall be eligible to receive the compensation for such instructions whether issued by SPP or the local Transmission Operator.

  - In the event of a Transmission Operator directive, the Transmission Operator and SPP shall collaborate to provide a report with an after-the-fact analysis of the event. All such reports shall be made available to the appropriate stakeholder groups for review on a quarterly basis in the month following the end of the quarter in which the event occurred and will be used to determine the best practice for addressing this type of emergency situation in the future.

#### 4.4.2.4	Out-of-Merit Energy (OOME) Dispatch

SPP or a local Transmission Operator may issue reliability directives via a Manual Dispatch Instruction to any on-line Resource to resolve a reliability issue (referred to in the system as OOME, or out-of-merit energy).  In such an evernt, A Resource will receive Setpoint Instructions from SPP that include a Manual Dispatch Instruction for the duration of the reliability directive or may receive a Manual Dispatch Instruction directly from a local Transmission Operator.   The  Manual Dispatch Instructions will specify  the MW level the Resource is expected to produce until such time as the constraint can be resolved by SCED through the RTBM.  Such MW levels may include (i) dispatch below a Resource’s Minimum Economic Capacity Operating Limit down to Minimum Normal Capacity Operating Limit or Minimum Emergency Capacity Operating Limit as system conditions warrant or (ii) dispatch above a Resource’s Maximum Economic Capacity Operating Limit up to Maximum Normal Capacity Operating Limit or Maximum Emergency Capacity Operating Limit as system conditions warrant.  SPP will make every effort to define and activate the appropriate constraint.

When an OOME event occurs, the Transmission Operator may, when necessary, issue Manual Dispatch instructions directly to the affected Resource(s) and notify SPP that it has done so and SPP will take the following actions:

- Issue Manual Dispatch Instructions overriding SCED Dispatch Instructions which have already been calculated and included in the Resource Setpoint Instruction;

- Setpoint Instructions  include the Manual Dispatch Instruction whether issued by SPP or the Transmission Operator in Setpoint Instructions for future intervals not yet dispatched instead of the SCED Dispatch Instruction for those intervals;

- notify the affected Market Participant when the OOME event has ended;

- Compensate Asset Owners for OOME events, including OOME events issued directly by a local Transmission Operator in accordance with Section 4.5.9.9.

#### 4.5.9.9	Real-Time Out-Of-Merit Amount

- A RTBM credit or charge will be made to each Market Participant with a Resource that receives a Manual Dispatch Instruction from SPP or  a local Transmission Operator that creates a cost to the Asset Owner or that adversely impacts the Asset Owner’s DA Market position and/or if a Market Participant must buy back its DA Market position for any Operating Reserve product at a RTBM MCP that is greater than that product’s DA Market MCP.  The amount will be calculated on a Dispatch Interval basis under the following conditions:

Revised Proposed Tariff Language Revision

1.1	Definitions and Acronyms

Commitment Instruction

An instruction issued by the Transmission Provider or a local Transmission Operator to a Market Participant to either start up or shut down a specified Resource in the Day-Ahead Market or any Reliability Unit Commitment process

Commit Time

The time specified by the Transmission Provider or a local Transmission Operator in a Commitment Instruction at which a Resource is to be synchronized and operating at or above its Minimum Economic Capacity Operating Limit.

De-Commit Time

The time specified by the Transmission Provider or a local Transmission Operator in a Commitment Instruction at which a Resource is to begin de-synchronization procedures.

#### 5.2.2	Day-Ahead Reliability Unit Commitment Execution [Protocols Section 4.3.2.2]

The Transmission Provider will perform a capacity adequacy analysis for the upcoming Operating Day using the SCUC algorithm with the objective of committing Resources to meet the Transmission Provider load forecast and Operating Reserve requirements over the Operating Day such that commitment costs are minimized while adhering to Transmission System security constraints and the Resource operating parameter constraints submitted as part of the RTBM Offers.

(1)	Commitment costs used in the SCUC are defined as Start-Up Offer, No-Load Offer and incremental cost to operate at minimum output as defined in the submitted Energy Offer Curve.

(2)	The SCUC algorithm will initially consider commitment of Resources not specified for reliability only use as described in Section 4.1(10)(b) of this Attachment AE, up to the Resources’ Maximum Economic Capacity Operating Limit or Maximum Regulation Capacity Operating Limit if selected for Regulation-Up, and down to the Resources’ Minimum Economic Capacity Operating Limit or Minimum Regulation Capacity Operating Limit if selected for Regulation-Down.

(a)	If this capacity is not sufficient on a system-wide basis to meet the Transmission Provider load forecast plus Operating Reserve requirements, the SCUC algorithm will, in priority order: (1) Curtail non-firm fixed Export Interchange Transaction Bids until the capacity shortage is eliminated; and (2) Incorporate capacity up to Resources’ Maximum Emergency Capacity Operating Limits and/or commit Resources designated as reliability only use, as described in Section 4.1(10)(b) of this Attachment AE, on an economic basis until the capacity shortage is eliminated while attempting to maintain the Regulation-Up requirement, to the extent possible.

(b)	If there is a capacity surplus on a system-wide basis calculated as the sum of self-committed capacity at minimum output, fixed Import Interchange Transaction Offers and the Regulation-Down requirement that is in excess of the sum of the Transmission Provider load forecast and fixed Export Interchange Transaction Bids, the SCUC algorithm will, in priority order: (1) curtail non-firm fixed Import Interchange Transaction Offers until the capacity surplus is eliminated; (2) incorporate capacity down to Resources’ Minimum Emergency Capacity Operating Limits for Resources not selected for Regulation-Down until the capacity surplus is eliminated; (3) de-commit Resources that were committed by the Transmission Provider in the Day-Ahead Market that were not self-committed until the capacity surplus is eliminated; and (4) de-commit self-committed Resources until the capacity surplus is eliminated.

(3)	To the extent that a particular Transmission System security constraint cannot be directly addressed within the SCUC algorithm, the Transmission Provider may manually commit Resources and/or decommit self-committed Resources to alleviate such a Transmission System security constraint in accordance with its authority as Reliability Coordinator.

(a)	An emergency condition may arise within the operating area of a local Transmission Operator that is either on its distribution system or may involve elements not monitored by the Transmission Provider. Such emergencies may require out of merit commitment, decommitment or dispatch instructions to be issued to one or more Resources to resolve the emergency. In such cases, the local Transmission Operator shall request the Transmission Provider to issue such instructions.

#### 6.1.2	 Intra-Day Reliability Unit Commitment Execution [Protocols Section 4.4.1.2]

Using the inputs described in Section 6.1.1, the Transmission Provider will perform a capacity adequacy analysis using the SCUC algorithm with the objective of committing Resources to meet the Transmission Provider’s load forecast and Operating Reserve requirements over the Operating Day such that commitment costs are minimized while adhering to Transmission System security constraints and the resource operating parameter constraints submitted as part of the RTBM Offers.

(1)	Commitment costs used in the SCUC are defined as Start-Up Offer, No-Load Offer and incremental cost to operate at minimum output as defined on the submitted Energy Offer Curve.  Incremental Energy costs above minimum output and Operating Reserve Offers are not considered by the SCUC in making commitment decisions.

(2)	The SCUC algorithm will initially consider commitment of Resources not specified for reliability only use as described in Section 4.1(10)(b) of this Attachment AE, only including capacity up to the Resources’ Maximum Economic Capacity Operating Limits (or Maximum Regulation Capacity Operating Limits if selected for Regulation-Up) and down to the Resources’ Minimum Economic Capacity Operating Limits (or Minimum Regulation Capacity Operating Limits if selected for Regulation-Down).

(a)	If this capacity is not sufficient on a system-wide basis to meet the Transmission Provider’s load forecast plus Operating Reserve requirements, the SCUC algorithm will, in priority order: (1) Curtail non-firm fixed Export Interchange Transaction Bids until the capacity shortage is eliminated; and (2) Incorporate capacity up to Resources’ Maximum Emergency Capacity Operating Limits and/or commit Resources designated as reliability only use, as described in Section 4.1(10)(b) of this Attachment AE, on an economic basis until the capacity shortage is eliminated while attempting to maintain the Regulation-Up requirement to the extent possible.

(b)	If there is a system-wide capacity surplus calculated as the sum of self-committed capacity at minimum output, fixed Import Interchange Transaction Offers and the Regulation-Down requirement that is in excess of the sum of the Transmission Provider load forecast and fixed Export Interchange Transaction Bids, the Day-Ahead Market SCUC algorithm will, in priority order: (1) Curtail non-firm fixed Import Interchange Transaction Offers until the capacity surplus is eliminated; (2) Incorporate capacity down to Resources’ Minimum Emergency Capacity Operating Limits for Resources not selected for Regulation-Down until the capacity surplus is eliminated; (3) De-commit Resources that were committed by the Transmission Provider in the Day-Ahead Market that were not self-committed until the capacity surplus is eliminated; and (4) De-commit self-committed Resources until the capacity surplus is eliminated.

(3)	To the extent that a particular reliability issue cannot be directly addressed within the SCUC algorithm as described under subsections (a) and (b) above, the Transmission Provider or local Transmission Operator may manually commit Resources and/or decommit self-committed Resources to alleviate such reliability issues.

(4)	An emergency condition may arise within the operating area of a local Transmission Operator that is either on its distribution system or may involve elements not monitored by the Transmission Provider. Such emergencies may require out of merit commitment, decommitment or dispatch instructions to be issued to one or more Resources to resolve the emergency.  Time permitting, the local Transmission Operator shall request the Transmission Provider to issue such instructions.  To the extent time does not permit, the local Transmission Operator may issue such instructions to the Resource in accordance with its authorities as a Reliability Entity.  In such cases, the following shall take place:

(a)	If initial instructions are issued by a local Transmission Operator, the Transmission Operator shall notify the Transmission Provider of the instructions given to the Resource.

(b)	The Transmission Operator and SPP will coordinate to ensure subsequent instructions are provided by SPP.

(c)	The Transmission Provider shall log such instructions as manual commitment, decommitment or Out-of-Merit Dispatch instruction, as appropriate, as if it gave such instruction to the Resource.

(d)	The Resource shall be eligible to receive the compensation for such instructions whether issues by the Transmission Provider or the local Transmission Operator.

#### 6.2.4	Out-of-Merit Energy Dispatch [Protocols Section 4.4.2.4]

The Transmission Provider or local Transmission Operator may issue OOME dispatch directives to any on-line Resource to resolve Emergency Conditions.  Time permitting, OOME dispatch directives will be issued by the Transmission Provider. The Transmission Provider will make every effort to define and activate the appropriate constraints in RTBM SCED within one (1) hour of the manual reconfiguration.   If initial instructions are issued by the local Transmission Operator, the Transmission Operator shall coordinate with the Transmission Provider to ensure subsequent instructions are provided by the Transmission Provider

When an OOME event occurs, the Transmission Operator may, when necessary, issue Manual Dispatch Instructions directly to the affected Resources and notify SPP that it has done so and the Transmission Provider will take the following actions:

(1)	Issue Setpoint Instructions that include a Manual Dispatch Instruction for the duration of the reliability directive;

(2)	Issue Manual Dispatch Instructions at the MW level the Resource is expected to produce until such time as the constraint can be resolved by SCED through the RTBM;

(3)	Notify the Resource of  all future intervals for which a SCED Dispatch Instruction has already been calculated and included in the Resource Setpoint Instruction;

(4)	Include the Manual Dispatch Instruction in Setpoint Instructions for future intervals not yet dispatched instead of the SCED Dispatch Instruction for the same interval;

(5)	 Notify the Market Participant when the OOME event has ended; and

. Compensate Market Participants for OOME events in accordance with Section 8.6.6 of this Attachment AE.

Revised Proposed Criteria Language Revision

N/A

Note that this charge type will almost always produce a credit.  The charge is included here for the rare occasion when a charge may be produced as a result of a data error and/or a resettlement.