EIS Market Integrated Marketplace

PRR Recommendation Report

| PRR No. | Marketplace-PRR49 |  |  | PRR Title | RUC MWP Changes |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Timeline |  |  |  | Normal Expedited Urgent Action Provide explanation if Expedited and/or Urgent Action is selected: This MPRR is being expedited because it is a design decision that is preventing Alstom Settlements from moving forward in the build phase. |  |  |  |
| Recommendation Action |  |  |  | Approve Reject Require additional information Defer Refer |  |  |  |
| Impact Analysis Required |  |  |  | Yes – If yes, estimated cost: No SPP Staff will complete this section. |  |  |  |
| Protocol Section(s) Requiring Revision |  |  |  | Section No.: 4.5.9.8, 4.5.9.9 Title: RUC Make-Whole-Payment, Real-Time Out-Of-Merit Amount Protocol Version: 6.0 |  |  |  |
| Type of Revision |  |  |  | Correction/Clean-Up Clarification Design Enhancement Design Change |  |  |  |
| Revision Description |  |  |  | MPRR 49 changes the RUC MWP calculation to account for the fact that a Market Participant may reduce its minimum operating limit below the minimum operating limit that was used to make the commitment decision. The old calculation accounted for minimum limit changes that were above the as-committed minimum limit but did not account for the possibility that the minimum limit could me less than the as-committed minimum limit. |  |  |  |
| Tariff Implications or Changes |  |  |  | Yes – Section No: (Include a summary of impact and/or specific changes) No |  |  |  |
| MWG Review PRR Recommendation |  |  |  | Date of Vote: 1/25/2012—Approved All Segments present for the vote: Yes No Segment of Parties that voted No or Abstained: Opposed—Westar |  |  |  |
| RTWG Review |  |  |  | 2/22/2012—Approved with modifications |  |  |  |
| ORWG Review |  |  |  | 2/27/2012—Approved with no reliability impact |  |  |  |
| MOPC Recommendation |  |  |  | 4/10/2012—Approved |  |  |  |
| Board Review |  |  |  | N/A |  |  |  |
| Date |  |  |  |  |  |  | 1/10/2012 |  |  |
| Sponsor |  |  |  |  |  |  |  |  |  |
| Name |  |  |  |  |  |  | Tony Alexander |  |  |
| E-mail Address |  |  |  |  |  |  | talexander@spp.org |  |  |
| Company |  |  |  |  |  |  | Southwest Power Pool |  |  |
| Phone Number |  |  |  |  |  |  | 501.614.3303 |  |  |
| Reasons for Opposing |  |  |  |  |  |  |  |  |  |
| Dissenter |  |  |  |  | Westar |  |  |  |  |
| Date |  |  |  |  | 1/25/2012 |  |  |  |  |
| Reason |  |  |  |  | MPRR 49 presented several very complex settlement calculation revisions. We wanted some additional time to review the complex example supporting the MPRR following the lengthy conversation. |  |  |  |  |
| Comments Received |  |  |  |  |  |  |  |  |  |
| Comment Author |  |  |  |  |  | SPP |  |  |  |
| Date |  |  |  |  |  | 1/19/2012 |  |  |  |
| Comment Description |  |  |  |  |  | Clarification |  |  |  |
| Comment Status |  |  |  |  |  | Comments were taken into consideration. The approved language is reflected in this recommendation report. |  |  |  |
| Comments Received |  |  |  |  |  |  |  |  |  |
| Comment Author |  |  |  |  |  | MWG |  |  |  |
| Date |  |  |  |  |  | 1/24/2012 |  |  |  |
| Comment Description |  |  |  |  |  | Segmented MPRR into portions for approval. |  |  |  |
| Comment Status |  |  |  |  |  | The MPRR was approved as modified. The approved language is reflected in this recommendation report. |  |  |  |
| Comments Received |  |  |  |  |  |  |  |  |  |
| Comment Author |  |  |  |  |  | RTWG |  |  |  |
| Date |  |  |  |  |  | 2/23/2012 |  |  |  |
| Comment Description |  |  |  |  |  | The MPRR has no associated Tariff language. The one correction that is still applicable will be taken care of in a clean-up of the Tariff language or a TRR. |  |  |  |
| Comment Status |  |  |  |  |  | The MPRR was approved as modified. The approved language is reflected in this recommendation report. |  |  |  |

Proposed Protocol Language Revision

#### RUC Make-Whole-Payment Distribution Amount

(4) The amount to each Asset Owner (AO) for each eligible Resource Settlement Location for a given RUC Make-Whole Payment Eligibility Period is calculated as follows:

#RtMwpCpAmt a, s, c =  ( CncldStartAmt a, s, c

+ Max (0, ( { ( IF ( CncldStartRatio a, s, c = 0, THEN 1, ELSE 0) }

* ( { RtStartUpElig5minFlg a, s, i, c  * RtStartUp5minAmt a, s, i, c

+ RtRucComStat5minFlg a, s, i, c * [ RtMwpCost5minAmt a, s, i, c

+ RtMwpRev5minAmt a, s, i, c

+ RtOom5minAmt a, s, i + RtRegAdj5minAmt a, s, i

–  RtURDAdj5minAmt a, s, i, c – RtStatusAdj5minAmt a, s, i, c

–  RtLimitAdj5minAmt a, s, i, c  ] } ) ) ) * (-1)

Where,

(a)	#RtMwpCost5minAmt a, s, i, c =  RtRucComStat5minFlg a, s, i, c  *

( RtIncrEn5minAmt a, s, i

+  Max ( 0, [ RtNoLoad5minAmt a, s, i, c

- IF (DaClrdHrlyQty a, s, h < 0, THEN DaNoLoadHrlyAmt a, s, h, c , ELSE 0 ) ] )

+ RtMinEn5minAmt a, s, i, c

+  RtRegUpAvail5minAmt a, s, i, c +  RtRegDnAvail5minAmt a, s, i, c

+  RtSpinAvail5minAmt a, s, i, c +  RtSuppAvail5minAmt a, s, i, c ) / 12

(a.1)	IF ABS (DaClrdHrlyQty a, s, h ) > = ABS ( RtBillMtr5minQty a, s, i )

THEN

RtIncrEn5minAmt a, s, i = 0

ELSE

#RtIncrEn5minAmt a, s, i =

Where:

X = Max (ABS (DaClrdHrlyQty a, s, h ), RtEffMin5minQty a, s, i )

AND

IF ControlStatus5minFlg a, s, i  = “Regulating”

THEN

RtEffMin5minQty a, s, i = Min (

RtComMinRegCapOL5minQtya, s, i ,

RtDispMinRegCapOL5minQtya, s, i ,

Max (0, (-1) * RtBillMtr5minQtya, s, i )

ELSE

RtEffMin5minQty a, s, i = Min (

RtComMinEconCapOL5minQtya, s, i ,

RtDispMinEconCapOL5minQtya, s, i ,

Max (0, (-1) * RtBillMtr5minQtya, s, i )

AND

Y = Max ( (-1) * RtBillMtr5minQtya, s, i , 0)

(a.2)	IF ABS (DaClrdHrlyQty a, s, h ) > 0

THEN

RtMinEn5minAmt a, s, i, c = 0

ELSE

# RtMinEn5minAmt a, s, i, c =

(a.3)	If RtRegUp5minQty a, s, i  > RtFixedRegUp5minQty a, s, i

THEN

RtRegUpAvail5minAmt a, s, i, c =

Max ( 0, [ RtRegUp5minQty a, z, s, i   - DaRegUpHrlyQty a, z, s, h] )

* RtRegUpOffer a, s, i, c

ELSE

RtRegUp5minAmt a, s, i  =0

(a.4)	If RtRegDn5minQty a, s, i  > RtFixedRegDn5minQty a, s, i

THEN

RtRegDnAvail5minAmt a, s, i, c =

Max ( 0, [ RtRegDn5minQty a, z, s, i   - DaRegDnHrlyQty a, z, s, h] )

* RtRegDnOffer a, s, i, c

ELSE

RtRegDn5minAmt a, s, i  =0

(a.5)	If RtSpin5minQty a, s, i  > RtFixedSpin5minQty a, s, i

THEN

RtSpinAvail5minAmt a, s, i, c =

Max ( 0, [ RtSpin5minQty a, z, s, i   - DaSpinHrlyQty a, z, s, h] )

* RtSpinOffer a, s, i, c

ELSE

RtSpin5minAmt a, s, i  =0

(a.6)	If RtSupp5minQty a, s, i  > RtFixedSupp5minQty a, s, i

THEN

RtSuppAvail5minAmt a, s, i, c =

Max ( 0, [ RtSupp5minQty a, z, s, i   - DaSuppHrlyQty a, z, s, h] )

* RtSuppOffer a, s, i, c

ELSE

RtSupp5minAmt a, s, i  =0

(b)	#RtMwpRev5minAmt a, s, i, c =

RtRucComStat5minFlg a, s, i, c  * [ ( ( RtLmp5minPrc s, i

* Min (0, [ RtBillMtr5minQty a, s, i - DaClrdHrlyQty a, s, h ] ) ) / 12 )

+ RtRegUpRev5minAmt a, s, i, c + RtRegDnRev5minAmt a, s, i, c

+ RtSpinRev5minAmt a, s, i, c + RtSuppRev5minAmt a, s, i, c ]

(b.1)	RtRegUpRev5minAmt a, s, i, c =

(-1) * RtRucComStat5minFlg a, s, i, c

* ( Max ( 0, [ RtRegUp5minQty a, z, s, i   - DaRegUpHrlyQty a, z, s, h] )

* RtRegUpMcp5minPrc z, i  ) / 12

(b.2)	RtRegDnRev5minAmt a, s, i, c =

(-1) * RtRucComStat5minFlg a, s, i, c

*( Max ( 0, [ RtRegDn5minQty a, z, s, i  - DaRegDnHrlyQty a, z, s, h] )

* RtRegDnMcp5minPrc z, i   ) / 12

(b.3)	RtSpinRev5minAmt a, s, i, c =

(-1) * RtRucComStat5minFlg a, s, i, c

*( Max ( 0, [ RtSpin5minQty a, z, s, i   - DaSpinHrlyQty a, z, s, h ] )

* RtSpinMcp5minPrc z, i ) / 12

(b.4)	RtSuppRev5minAmt a, s, i, c =

(-1) * RtRucComStat5minFlg a, s, i, c

*( Max ( 0, [ RtSupp5minQty a, z, s, i   - DaSuppHrlyQty a, z, s, h ] )

* RtSuppMcp5minPrc z, i   ) / 12

(c)	#CncldStartAmt a, s, c =

( RtStartUp5minAmt a, s, i, c  * RtStartUpElig5minFlg a, s, i, c )

* CncldStartRatio a, s, c

CncldStartRatio a, s, c = (ElapsedTime a, s, c  / StartUpTime a, s, c )

(d) In any Dispatch Interval in which the Resource has operated outside of its Operating Tolerance and that Resource has not been exempted from URD per Section 4.4.4.1, any incremental Energy costs associated with actual Energy output above the Resource’s Desired Dispatch is not eligible for recovery.  The URD adjustment is calculated as follows:

IF ABS (URD5minQty a, s, i ) > ResOpTol5minQty a, s, i AND

( XmptDev5minFlg a, s, i =  0 )

THEN

#RtURDAdj5minAmt a, s, i, c = RtRucComStat5minFlg a, s, i, c

* Max ( 0, ( RtIncrEn5minAmt a, s, i – RtDesiredEn5minAmt a, s, i ) / 12

ELSE

RtURDAdj5minAmt a, s, i, c = 0

(d.1)	URD5minQty a, s, i =

( RtBillMtr5minQty a, s, i * (-1)) - RtAvgSetPoint5minQty a, s, i

(d.2)	ResOpTol5minQty a, s, i =

Min ( URDMaxTol5minQty a, s, i , Max (URDMinTol5minQty a, s, i ,

URDTol5minPct a, s, i * RtDispMaxEmerCapOL5minQty a, s, i ) )

(d.3)	IF RtDesiredEn5minQty a, s, i < ABS (DaClrdHrlyQty a, s, h )

THEN

#RtDesiredEn5minAmt a, s, i = RtIncrEn5minAmt a, s, i

ELSE

#RtDesiredEn5minAmt a, s, i =

Where:

X = Max (ABS (DaClrdHrlyQty a,  s, h ) , RtEffMin5minQty a, s, i )

Y = RtDesiredEn5minQtya, s, i

(e) In any Dispatch Interval in which a Resource is in “Manual” status, any incremental Energy costs associated with actual Energy output above the Resource’s Desired Dispatch is not eligible for recovery.  The status change adjustment is calculated as follows:

IF ControlStatus5minFlg a, s, i = “Manual”

AND ABS (URD5minQty a, s, i ) <= ResOpTol5minQty a, s, i

THEN

#RtStatusAdj5minAmt a, s, i, c = RtRucComStat5minFlg a, s, i, c

* Max ( 0, ( RtIncrEn5minAmt a, s, i – RtDesiredEn5minAmt a, s, i ) / 12

ELSE

RtStatusAdj5minAmt a, s, i, c = 0

(f)	In any Dispatch Interval in which a Resource has increased its Minimum Economic Capacity Operating Limit (or its Minimum Regulation Capacity Operating Limit if the Resource has cleared for Regulation-Up or Regulation-Down) above the Resource’s minimum limits used by SPP in the commitment decision or the minimum limits used to move from one configuration to another in the case of a Combined Cycle Resource, the Resource is not in “Manual” status and the increase in minimum limit is greater than the Resource’s Operating Tolerance, any incremental Energy costs associated with actual Energy output above the Resource’s Desired Dispatch is not eligible for recovery.  The limit change adjustment is calculated as follows:

IF ControlStatus5minFlg a, s, i < > “Regulating” AND

ControlStatus5minFlg a, s, i  < > “Manual”  AND

( RtDispMinEconCapOL5minQty a, s, i

- RtComMinEconCapOL5minQty a, s, i ) > ResOpTol5minQty a, s, i  AND

ABS (URD5minQty a, s, i ) <= ResOpTol5minQty a, s, i

THEN

#RtLimitAdj5minAmt a, s, i, c =   RtRucComStat5minFlg a, s, i, c

* Max ( 0, ( RtIncrEn5minAmt a, s, i – RtDesiredEn5minAmt a, s, i ) / 12

ELSE IF

ControlStatus5minFlg a, s, i  = “Regulating”  AND

( RtDispMinRegCapOL5minQty a, s, i

- RtComMinRegCapOL5minQty a, s, i ) > ResOpTol5minQty a, s, i  AND

ABS (URD5minQty a, s, i ) < =ResOpTol5minQty a, s, i

THEN

#RtLimitAdj5minAmt a, s, i, c =  RtRucComStat5minFlg a, s, i, c

* Max ( 0, ( RtIncrEn5minAmt a, s, i – RtDesiredEn5minAmt a, s, i ) / 12

ELSE

RtLimitAdj5minAmt a, s, i, c = 0

- For each Asset Owner, a daily amount is calculated at each Settlement Location.  The daily amount is calculated as follows:

RtMwpDlyAmt a, s, d =   RtMwpCpAmt a, s, c

- For each Asset Owner associated with Market Participant m, a daily amount is calculated.  The daily amount is calculated as follows:

RtMwpAoAmt a, m, d =  RtMwpDlyAmt a, s, d

- For each Market Participant, a daily amount is calculated representing the sum of Asset Owner amounts associated with that Market Participant.  The daily amount is calculated as follows:

RtMwpMpAmt m, d =  RtMwpAoAmt a, m, d

(8)	For FERC Electric Quarterly Reporting (“EQR”) purposes, SPP calculates RUC Make-Whole Payment $ per RUC Make-Whole-Payment Eligibility Period for each Asset Owner as follows:

(a)	EqrRtMwp5minPrc a, s, c = (-1) * RtMwpCpAmt a, s, c

(b)	IF EqrRtMwp5minPrc a, s, c > 0

THEN

EqrRtMwp5minQty a, s, c = 1

The above variables are defined as follows:

| Variable | Unit | Settlement Interval | Definition |
| --- | --- | --- | --- |
| RtMwpCpAmt a, s, c | $ | Eligibility Period | RUC Make-Whole-Payment Amount per AO per Settlement Location per RUC Make-Whole-Payment Eligibility Period - The amount to AO a for RUC Make-Whole-Payment Eligibility Period c at Resource Settlement Location s.. |
| DaClrdHrlyQty a, s, h | MWh | Hour | Day-Ahead Cleared Energy Quantity per AO per Settlement Location per Hour - The value described under Section 4.5.8.1 for AO a’s combined cycle resource at Settlement Location s for the Hour. |
| RtStartUp5minAmt a s, i, c | $ | Eligibility Period | Real-Time Start-Up Cost Amount per AO per Settlement Location per Dispatch Interval per RUC Make-Whole-Payment Eligibility Period - The RTBM Start-Up Offer associated with AO a’s eligible Resource at Settlement Location s for RUC Make-Whole-Payment Eligibility Period c in Dispatch Interval i. This value is calculated by dividing RtStartUpAmt a s, c by the lesser of the Resource’s (RtMinRunTime a, i, s, c *12) or (24 * 12). These interval values are carried forward into the following Operating Day, if needed, to ensure recovery of any remaining RtStartUpAmt a s, c. |
| RtStartUpAmt a s, c (Not Available on Settlement Statement) | $ | Eligibility Period | Real-Time Start-Up Cost Amount per AO per Settlement Location per RUC Make-Whole-Payment Eligibility Period - The RTBM Start-Up Offer used in the commitment decision, associated with AO a’s eligible Resource at Settlement Location s for RUC Make-Whole-Payment Eligibility Period c. |
| RtStartUpElig5minFlg a, s, i, c | None | Dispatch Interval | RUC Start-Up Recovery Eligibility Flag per AO per Resource Settlement Location per Dispatch Interval per RUC Make-Whole-Payment Eligibility Period – This flag is set equal to 1 in each Dispatch Interval of a RUC Make-Whole-Payment Eligibility Period where the Resource is eligible to recover start-up costs, or 0 where the Resource is not eligible to recover start-up costs. |
| RtRucComStat5minFlg a, s, i, c | None | Dispatch Interval | RUC Commitment Status Flag per AO per Resource Settlement Location per Dispatch Interval in RUC Make-Whole-Payment Eligibility Period – This flag is set equal to 1 for each Dispatch Interval of a RUC Make-Whole-Payment Eligibility Period in which a Resource’s Commitment Status was “Market” or “Reliability”, or 0 if its Commitment Status was “Self”. |
| CncldStartRatio a, s, c | None |  | Canceled Start Ratio per Resource Settlement Location in RUC Make-Whole-Payment Eligibility Period – The ratio of ElapsedTime a, s, c to StartUpTime a, s, c as calculated for each Dispatch Interval in RUC Make-Whole-Payment Eligibility Period c. |
| RtMinRunTime a, i, s, c (Not Available on Settlement Statement) | Time | Dispatch Interval | Real-Time Minimum Run Time per AO per Settlement Location Per Dispatch Interval per RUC Make-Whole-Payment Eligibility Period – The Minimum Run Time used in the commitment decision, associated with AO a’s eligible Resource at Settlement Location s for RUC Make-Whole-Payment Eligibility Period c as submitted as part of the RTBM Market Offer. |
| RtNoLoad5minAmt a, i, s, c | $ | Dispatch Interval | Real-Time No-Load Cost Amount per AO per Settlement Location per Dispatch Interval in the RUC Make-Whole-Payment Eligibility Period - The No-Load Offer used in the commitment decision, in dollars, associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i in RUC Make-Whole-Payment Eligibility Period c. |
| RtMwpCost5minAmt a, s, i, c | $ | Dispatch Interval | RUC Make-Whole-Payment Cost per AO per Settlement Location per Dispatch Interval in the RUC Make-Whole-Payment Eligibility Period – The total Energy and Operating Reserve cost at actual Resource output, in dollars, associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i in RUC Make-Whole-Payment Eligibility Period c. |
| RtMwpRev5minAmt a, s, i, c | $ | Dispatch Interval | RUC Make-Whole-Payment Revenue per AO per Settlement Location per Dispatch Interval in the RUC Make-Whole-Payment Eligibility Period – The total Energy and Operating Reserve revenue at actual Resource output, in dollars, associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i in RUC Make-Whole-Payment Eligibility Period c. |
| CncldStartAmt a, s, c | $ | Eligibility Period | Real-Time Cancelled Start Amount per AO per Settlement Location per for the RUC Make-Whole-Payment Eligibility Period – The Start-Up Offer cost reimbursement for an SPP cancelled start-up, in dollars, associated with AO a’s eligible Resource at Settlement Location s for RUC Make-Whole-Payment Eligibility Period c. |
| ElapsedTime a, s, c | Time | Eligibility Period | Elapsed Time per AO per Settlement Location per for the RUC Make-Whole-Payment Eligibility Period – The elapsed time, in minutes, between the start of a Resource’s StartUpTime a, s, c and the time SPP cancelled the start-up, in dollars, associated with AO a’s eligible Resource at Settlement Location s for RUC Make-Whole-Payment Eligibility Period c. |
| StartUpTime a, s, c | Time | Eligibility Period | Start-up Time per AO per Settlement Location for the RUC Make-Whole-Payment Eligibility Period – The Start-Up Time, in minutes, used in the commitment decision associated with AO a’s eligible Resource at Settlement Location s for RUC Make-Whole-Payment Eligibility Period c as specified in the RTBM Offer submitted prior to the RUC Make-Whole-Payment Eligibility Period. |
| RtURDAdj5minAmt a, s, i, c | $ | Dispatch Interval | URD Adjustment per AO per Settlement Location per Dispatch Interval in the RUC Make-Whole-Payment Eligibility Period – The reduction in RUC Make-Whole Payment Amount associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i in RUC Make-Whole-Payment Eligibility Period c when the Resource’s URD5minQty a, s, i is outside of the Resource’s ResOpTol5minQty a, s, i. |
| URD5minQty a, s, i | MW | Dispatch Interval | Uninstructed Resource Deviation per AO per Settlement Location per Dispatch Interval – The Uninstructed Resource Deviation associated with AO a’s Resource at Settlement Location s in Dispatch Interval i. |
| ResOpTol5minQty a, s, i | MW | Dispatch Interval | Resource Operating Tolerance per AO per Settlement Location per Dispatch Interval – The Resource Operating Tolerance associated with AO a’s Resource at Settlement Location s in Dispatch Interval i. |
| URDMaxTol5minQty a, s, i | MW | Dispatch Interval | Uninstructed Resource Deviation Maximum Tolerance per AO per Settlement Location per Dispatch Interval – The maximum value of ResOpTol5minQty a, s, i that is currently set at 20 MW. |
| URDMinTol5minQty a, s, i | MW | Dispatch Interval | Uninstructed Resource Deviation Minimum Tolerance per AO per Settlement Location per Dispatch Interval – The minimum value of ResOpTol5minQty a, s, i that is currently set at 5 MW. |
| URDTol5minPct a, s, i | Percent | Dispatch Interval | Uninstructed Resource Deviation Tolerance Percentage per AO per Settlement Location per Dispatch Interval – The percentage used to calculate the value of ResOpTol5minQty a, s, i that is currently set at 5%. |
| RtAvgSetPoint5minQty a, s, i | MW | Dispatch Interval | Real-Time Average Setpoint Instruction MW per AO per Settlement Location per Dispatch Interval – The average Setpoint Instruction over Dispatch Interval i for AO a’s Resource at Settlement Location s. |
| XmptDev5minFlg a, s, i | none | Dispatch Interval | URD Exemption Flag per AO per Resource Settlement Location per Dispatch Interval – A flag associated with AO a’s eligible Resource at Settlement Location s indicating that a Resource that has operated outside of its Operating Tolerance is or is not exempt from any associated penalty charges in Dispatch Interval i. If the flag is equal to zero, the Resource is not exempt. Otherwise, the flag will be set to a positive integer number which will indicate the reason of the exemption as specified under Section 4.4.4.1. |
| RtStatusAdj5minAmt a, s, i, c | $ | Dispatch Interval | Resource Status Change Adjustment per AO per Settlement Location per Dispatch Interval in the RUC Make-Whole-Payment Eligibility Period – The reduction in RUC Make-Whole Payment Amount associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i in RUC Make-Whole-Payment Eligibility Period c when the Resource’s Control Status is set to “Manual”. |
| ControlStatus5minFlg a, s, i | None | Dispatch Interval | Control Status per AO per Settlement Location per Dispatch Interval – A Resource status indicator associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i as set by SPP operators that indicates the current dispatchable status of the Resource. |
| RtDispMaxEmerCapOL5minQty a, s, i | MW | Dispatch Interval | Real-Time Maximum Emergency Capacity Operating Limit Quantity per AO per Settlement Location per Dispatch Interval – The Maximum Emergency Capacity Operating Limit associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i. |
| RtEffMin5minQty a, s, i | MW | Dispatch Interval | Real-Time Effective Minimum Capacity Operating Limit Quantity per AO per Settlement Location per Dispatch Interval – The Effective Minimum Capacity Operating Limit associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i. |
| RtDispMinEconCapOL5minQty a, s, i | MW | Dispatch Interval | Real-Time Minimum Economic Capacity Operating Limit Quantity per AO per Settlement Location per Dispatch Interval – The Minimum Economic Capacity Operating Limit associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i. |
| RtDispMinRegCapOL5minQty a, s, i | MW | Dispatch Interval | Real-Time Minimum Regulation Capacity Operating Limit Quantity per AO per Settlement Location per Dispatch Interval – The Minimum Regulation Capacity Operating Limit associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i. |
| RtLimitAdj5minAmt a, s, i, c | $ | Dispatch Interval | Resource Limit Change Adjustment per AO per Settlement Location per Dispatch Interval in the RUC Make-Whole-Payment Eligibility Period – The reduction in RUC Make-Whole Payment Amount associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i in RUC Make-Whole-Payment Eligibility Period c for a Real-Time increase in minimum limit. |
| RtComMinEconCapOL5minQty a, s, i | MW | Eligibility Period | Real-Time Minimum Economic Capacity Operating Limit Quantity per AO per Settlement Location – The Minimum Economic Capacity Operating Limit associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i as submitted in an RTBM Offer prior to the RUC Make-Whole-Payment Eligibility Period that was used in making the initial Resource commitment decision. |
| RtComMinRegCapOL5minQty a, s, i | MW | Eligibility Period | Real-Time Minimum Regulation Capacity Operating Limit Quantity per AO per Settlement Location– The Minimum Regulation Capacity Operating Limit associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i as submitted in an RTBM Offer prior to the RUC Make-Whole-Payment Eligibility Period that was used in making the initial Resource commitment decision. |
| RtIncrEn5minAmt a, s, i | $ | Dispatch Interval | Real-Time Incremental Energy Cost Amount per AO per Settlement Location per Dispatch Interval - The average incremental energy offer cost, in dollars, associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i from the Effective Minimum Capacity Operating Limit to to RtBillMtr5minQty a, s, i. |
| RtMinEn5minAmt a, s, i, c | $ | Dispatch Interval | Real-Time Energy Cost at Minimum Limit per AO per Settlement Location per Dispatch Interval in the RUC Make-Whole-Payment Eligibility Period - The average incremental energy offer cost at the Effective Minimum Capacity Operating Limit associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i in RUC Make-Whole-Payment Eligibility Period c |
| RtDesiredEn5minAmt a, s, i | $ | Dispatch Interval | Real-Time Energy Cost at Desired Dispatch Quantity per AO per Settlement Location per Dispatch Interval - The average incremental energy offer cost associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i, in dollars, from the Effective Minimum Capacity Operating Limit to RtDesiredEn5minQty a, s, i. |
| RtDesiredEn5minQty a, s, i | MW | Dispatch Interval | Real-Time Desired Dispatch Quantity per AO per Settlement Location per Dispatch Interval – The Desired Dispatch MW for AO a’s eligible Resource for Dispatch Interval i at RtLmp5minPrc s, i as calculated from the Resource’s As Dispatched Energy Offer Curve using the As-Committed Minimum Capacity Limit (Economic or Regulating, as applicable) as an output floor and the As-Committed Maximum Capacity Limit (Economic or Regulating, as applicable) as an output ceiling. |
| RtOom5minAmt a, s, i | $ | Dispatch Interval | Real-Time Out-Of-Merit Make-Whole-Payment Amount per AO per Settlement Location per Dispatch Interval - The value calculated under Section 4.5.9.9. |
| RtRegAdj5minAmt a, s, i | $ | Dispatch Interval | Real-Time Regulation Deployment Adjustment Amount per AO per Resource Settlement Location per Dispatch Interval - The value calculated under Section 4.5.9.19. |
| RtRegUpOffer a, s, i, c (Not Available on Settlement Statement) | $/MW | Dispatch Interval | Real-Time Regulation-Up Offer per AO per Resource Settlement Location per Dispatch Interval in RUC Make-Whole-Payment Eligibility Period – The Regulation-Up Offer associated with AO a’s Resource Settlement Location s at the time the commitment decision was made for RUC Make-Whole-Payment Eligibility Period c in Dispatch Interval i. |
| RtRegDnOffer a, s, i, c (Not Available on Settlement Statement) | $/MW | Dispatch Interval | Real-Time Regulation-Down Offer per AO per Resource Settlement Location per Dispatch Interval in RUC Make-Whole-Payment Eligibility Period – The Regulation-Down Offer associated with AO a’s Resource Settlement Location s at the time the commitment decision was made for RUC Make-Whole-Payment Eligibility Period c in Dispatch Interval i. |
| RtSpinOffer a, s, i, c (Not Available on Settlement Statement) | $/MW | Dispatch Interval | Real-Time Spinning Reserve Offer per AO per Resource Settlement Location per Dispatch Interval in RUC Make-Whole-Payment Eligibility Period – The Spinning Reserve Offer associated with AO a’s Resource Settlement Location s at the time the commitment decision was made for RUC Make-Whole-Payment Eligibility Period c in Dispatch Interval i. |
| RtSuppOffer a, s, i, c (Not Available on Settlement Statement) | $/MW | Dispatch Interval | Real-Time Supplemental Reserve Offer per AO per Resource Settlement Location per Dispatch Interval in RUC Make-Whole-Payment Eligibility Period – The Supplemental Reserve Offer associated with AO a’s Resource Settlement Location s at the time the commitment decision was made for RUC Make-Whole-Payment Eligibility Period c in Dispatch Interval i. |
| RtFixedRegUp5minQty a, s, i (Not Available on Settlement Statement) | MW | Dispatch Interval | Real-Time Fixed Regulation-Up Quantity per AO per Resource Settlement Location per Dispatch Interval in RUC Make-Whole-Payment Eligibility Period – The Fixed Regulation-Up MW specified in the Regulation-Up Offer associated with AO a’s Resource Settlement Location s at the time the commitment decision was made for RUC Make-Whole-Payment Eligibility Period c in Dispatch Interval i. |
| RtFixedRegDn5minQty a, s, i (Not Available on Settlement Statement) | MW | Dispatch Interval | Real-Time Fixed Regulation-Down Quantity per AO per Resource Settlement Location per Dispatch Interval in RUC Make-Whole-Payment Eligibility Period – The Fixed Regulation-Down MW specified in the Regulation-Down Offer associated with AO a’s Resource Settlement Location s at the time the commitment decision was made for RUC Make-Whole-Payment Eligibility Period c in Dispatch Interval i. |
| RtFixedSpin5minQty a, s, i (Not Available on Settlement Statement) | MW | Dispatch Interval | Real-Time Fixed Spinning Reserve Quantity per AO per Resource Settlement Location per Dispatch Interval in RUC Make-Whole-Payment Eligibility Period – The Fixed Spinning Reserve MW specified in the Spinning Reserve Offer associated with AO a’s Resource Settlement Location s at the time the commitment decision was made for RUC Make-Whole-Payment Eligibility Period c in Dispatch Interval i. |
| RtFixedSupp5minQty a, s, i (Not Available on Settlement Statement) | MW | Dispatch Interval | Real-Time Fixed Supplemental Reserve Quantity per AO per Resource Settlement Location per Dispatch Interval in RUC Make-Whole-Payment Eligibility Period – The Fixed Supplemental Reserve MW specified in the Supplemental Reserve Offer associated with AO a’s Resource Settlement Location s at the time the commitment decision was made for RUC Make-Whole-Payment Eligibility Period c in Dispatch Interval i. |
| RtRegUpAvail5minAmt a, s, i, c | $ | Dispatch Interval | Real-Time Regulation-Up Offer Cost Amount per AO per Settlement Location per Dispatch Interval in the RUC Make-Whole-Payment Eligibility Period - The Regulation-Up Offer cost, in dollars, associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i in RUC Make-Whole-Payment Eligibility Period c. |
| RtRegDnAvail5minAmt a, s, i, c | $ | Dispatch Interval | Real-Time Regulation-Down Offer Cost Amount per AO per Settlement Location per Dispatch Interval in the RUC Make-Whole-Payment Eligibility Period - The Regulation-Down Offer cost, in dollars, associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i in DA Market Commitment Period c. |
| RtSpinAvail5minAmt a, s, i, c | c | Dispatch Interval | Real-Time Spin Offer Cost Amount per AO per Settlement Location per Dispatch Interval in RUC Make-Whole-Payment Eligibility Period - The Spinning Reserve Offer cost, in dollars, associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i in RUC Make-Whole-Payment Eligibility Period c. |
| RtSuppAvail5minAmt a, s, i, c | $ | Dispatch Interval | Real-Time Supplemental Offer Cost Amount per AO per Settlement Location per Dispatch Interval in RUC Make-Whole-Payment Eligibility Period - The Supplemental Reserve Offer cost, in dollars, associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i in RUC Make-Whole-Payment Eligibility Period c. |
| RtLmp5minPrc s, i | $/MWh | Dispatch Interval | Real-Time LMP - The value defined under Section 4.5.9.1 at Settlement Location s for Dispatch Interval i. |
| RtBillMtr5minQty a, s, i | MW | Dispatch Interval | Real-Time Actual Meter Quantity per AO per Location per Dispatch Interval - The value defined under Section 4.5.9.1 for Dispatch Interval i. |
| RtRegUpRev5minAmt a, s, i, c | $ | Dispatch Interval | Real-Time Regulation-Up Revenue Amount per AO per Settlement Location per Dispatch Interval in RUC Make-Whole-Payment Eligibility Period – The Real-Time incremental Regulation-Up revenue associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i in RUC Make-Whole-Payment Eligibility Period c. |
| RtRegDnRev5minAmt a, s, i, c | $ | Dispatch Interval | Real-Time Regulation-Down Revenue Amount per AO per Settlement Location per Dispatch Interval in RUC Make-Whole-Payment Eligibility Period – The Real-Time incremental Regulation-Down revenue associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i in RUC Make-Whole-Payment Eligibility Period c. |
| RtSpinRev5minAmt a, s, i, c | $ | Dispatch Interval | Real-Time Spinning Reserve Revenue Amount per AO per Settlement Location per Dispatch Interval in RUC Make-Whole-Payment Eligibility Period – The Real-Time incremental Spinning Reserve associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i in RUC Make-Whole-Payment Eligibility Period c. |
| RtSuppRev5minAmt a, s, i, c | $ | Dispatch Interval | Real-Time Supplemental Reserve Revenue Amount per AO per Settlement Location per Dispatch Interval in RUC Make-Whole-Payment Eligibility Period – The Real-Time incremental Supplemental Reserve revenue associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i in RUC Make-Whole-Payment Eligibility Period c. |
| RtMwpDlyAmt a, s, d | $ | Operating Day | RUC Make-Whole-Payment Amount per AO per Settlement Location per Operating Day - The RUC Make-whole amount to AO a for Operating Day d at Resource Settlement Location s. |
| RtMwpAoAmt a, m, d | $ | Operating Day | RUC Make-Whole-Payment Amount per AO per Operating Day - The RUC Make-whole amount to AO a associated with Market Participant m for Operating Day d. |
| RtMwpMpAmt m, d | $ | Operating Day | RUC Make-Whole-Payment Amount per MP per Operating Day - The RUC Make-whole amount to Market Participant m for Operating Day d. |
| EqrRtMwp5minPrc a, s, c | $ | Eligibility Period | RUC Electric Quarterly Reporting Make-Whole-Payment Amount per AO per Settlement Location per RUC Make-Whole-Payment Eligibility Period - The RUC make-whole amount to AO a for RUC Make-Whole-Payment Eligibility Period c at Resource Settlement Location s for use by AO a in reporting such make-whole-payments to FERC in accordance with FERC EQR requirements.. |
| EqrRtMwp5minQty a, s, c | $ | Eligibility Period | RUC Electric Quarterly Reporting Make-Whole-Payment Quantity per AO per Settlement Location per RUC Make-Whole-Payment Eligibility Period – This value is set equal to 1 if EqrRtMwp5minPrc a, s, c > 0 for use by AO a in reporting such make-whole-payments to FERC in accordance with FERC EQR requirements.. |
| a | none | none | An Asset Owner. |
| i | none | none | A Dispatch Interval. |
| h | none | none | An Hour. |
| d |  |  | An Operating Day. |
| s | none | none | A Settlement Location. |
| c | none | none | A RUC Make-Whole-Payment Eligibility Period. |
| m | none | none | A Market Participant. |

#### Real-Time Out-Of-Merit Amount

The amount to each Asset Owner (AO) for each eligible Resource Settlement Location for each Dispatch Interval is calculated as follows:

#RtOom5minAmt a, s, i = RtOom5minFlg a, s, i

* ( RtOomeIncr5minAmt a, s, i + RtOomeDecr5minAmt a, s, i

+ RtOomor5minAmt a, s, i ) * (-1)

Where,

(a)		RtOomeIncr5minAmt a, s, i  =

Max ( 0, RtDispIncrEn5minAmt a, s, i – RtDispDesiredEn5minAmt a, s, i

+ Min ( 0, RtBillMtr5minQty a, s, i  + RtDispDesiredEn5minQty a, s, i )

* Max( 0, RtLmp5minPrc s, i ) ) / 12

(a.1)	#RtDispIncrEn5minAmt a, s, i =

Where:

IF ControlStatus5minFlg a, s, i  = “Regulating”

X = RtDispMinRegCapOL5minQtya, s, i

ELSE

X = RtDispMinEconCapOL5minQtya, s, i

AND

Y = Max ( X, Max ( (-1) * RtBillMtr5minQtya, s, i , 0) )

(a.2)	#RtDispDesiredEn5minAmt a, s, i =

Where:

IF ControlStatus5minFlg a, s, i  = “Regulating”

THEN

X = RtDispMinRegCapOL5minQtya, s, i

ELSE

X = RtDispMinEconCapOL5minQtya, s, i

AND

Y = Max ( X, RtDispDesiredEn5minQtya, s, i )

(b)		RtOomeDecr5minAmt a, s, i  =

Max (0, RtBillMtr5minQty a, s, i  - DaClrdHrlyQty a, s, h  )

* Max ( 0, RtLmp5minPrc s, i  - DaLmpHrlyPrc s, h  )  / 12

(c)		RtOomor5minAmt a, s, i  =

[ ( Max (0, DaRegUpHrlyQty a, z, s, h  - RtRegUp5minQty a, z, s, i )

* Max ( 0, RtRegUpMcp5minPrc z, i  - DaRegUpMcpHrlyPrc z, h  ) )

+ ( Max (0, DaRegDnHrlyQty a, z, s, h  - RtRegDn5minQty a, z, s, i )

* Max ( 0, RtRegDnMcp5minPrc z, i  - DaRegDnMcpHrlyPrc z, h  ) )

+ ( Max (0, DaSpinHrlyQty a, z, s, h  - RtSpin5minQty a, z, s, i )

* Max ( 0, RtSpinMcp5minPrc z, i  - DaSpinMcpHrlyPrc z, h  ) )

+ ( Max (0, DaSuppHrlyQty a, z, s, h  - RtSupp5minQty a, z, s, i )

* Max ( 0, RtSuppMcp5minPrc z, i  - DaSuppMcpHrlyPrc z, h  ) ) ] / 12

- For each Asset Owner, an hourly amount is calculated at each Settlement Location.  The hourly amount is calculated as follows:

RtOomHrlyAmt a, s, h = RtOom5minAmt a, s, i

- For each Asset Owner, a daily amount is calculated at each Settlement Location.  The daily credit amount is calculated as follows:

RtOomDlyAmt a, s, d =  RtOomHrlyAmt a, s, h

- For each Asset Owner associated with Market Participant m, a daily amount is calculated.  The daily amount is calculated as follows:

RtOomAoAmt a, m, d =  RtOomDlyAmt a, s, d

- For each Market Participant, a daily amount is calculated representing the sum of Asset Owner amounts associated with that Market Participant.  The daily amount is calculated as follows:

RtOomMpAmt m, d =  RtOomAoAmt a, m, d

(6)	For FERC Electric Quarterly Reporting (“EQR”) purposes, SPP calculates Real-Time Out-of-Merit Energy and Operating Reserve $ per Dispatch Interval for each Asset Owner as follows:

(a)	EqrRtOom5minPrc a, s, i = (-1) * RtOom5minAmt a, s, i

(b)	IF EqrRtOom5minPrc a, s, i > 0

THEN

EqrRtOom5minQty a, s, i = 1

The above variables are defined as follows:

| Variable | Unit | Settlement Interval | Definition |
| --- | --- | --- | --- |
| RtOom5minAmt a, s, i | $ | Dispatch Interval | Real-Time Out-Of-Merit Make-Whole-Payment Amount per AO per Settlement Location per Dispatch Interval - The amount to AO a for eligible Resource Settlement Location s in Dispatch Interval i for Out-Of-Merit Energy and Operating Reserve resulting from an SPP Manual Dispatch Instruction. |
| RtOomeIncr5minAmt a, s, i | $ | Dispatch Interval | Real-Time Out-Of-Merit Incremental Energy Make-Whole-Payment Amount per AO per Settlement Location per Dispatch Interval - The portion of AO a’s RtOome5minAmt a, s, i amount for eligible Resource Settlement Location s in Dispatch Interval i for Out-Of-Merit Energy resulting from an SPP manual Dispatch Instruction in the up direction. |
| RtOomeDecr5minAmt a, s, i | $ | Dispatch Interval | Real-Time Out-Of-Merit Decremental Energy Make-Whole-Payment Amount per AO per Settlement Location per Dispatch Interval - The portion of AO a’s RtOome5minAmt a, s, i amount for eligible Resource Settlement Location s in Dispatch Interval i for Out-Of-Merit Energy resulting from an SPP manual Dispatch Instruction in the down direction. |
| RtOom5minFlg a, s, i | None | Dispatch Interval | Real-Time Out-of-Merit Flag per AO per Settlement Location per Dispatch Interval – A flag that is set equal to 1 when SPP issues a Manual Dispatch Instruction or whenever there is a price correction event as described under Section 7, otherwise, this flag is set equal to zero. |
| RtOomor5minAmt a, s, i | $ | Dispatch Interval | Real-Time Out-Of-Merit Operating Reserve Make-Whole-Payment Amount per AO per Settlement Location per Dispatch Interval - The portion of AO a’s RtOome5minAmt a, s, i attributable to buying back a DA Market Operating Reserve position in the RTBM at a RTBM MCP that is greater than the corresponding DA Market MCP. This should not be a normal occurrence but could happen as a result of price corrections as described under Section 7. |
| RtDispDesiredEn5minQty a, s, i | MW | Dispatch Interval | Real-Time Desired Dispatch Quantity per AO per Settlement Location per Dispatch Interval – The Desired Dispatch MW for AO a’s eligible Resource for Dispatch Interval i at RtLmp5minPrc s, i as calculated from the Resource’s As Dispatched Energy Offer Curve using the As-Dispatched Minimum Capacity Limit (Economic or Regulating, as applicable) as an output floor and the As-Dispatched Maximum Capacity Limit (Economic or Regulating, as applicable) as an output ceiling. |
| RtDispIncrEn5minAmt a, s, i | $ | Dispatch Interval | Real-Time Incremental Energy Cost Amount per AO per Settlement Location per Dispatch Interval - The average incremental energy offer cost, in dollars, associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i as calculated from the Resource’s As Dispatched Energy Offer Curve from the As-Dispatched Minimum Capacity Limit (Economic or Regulating, as applicable) to the maximum of the As-Dispatched Minimum Capacity Limit or RtBillMtr5minQty a, s, i. |
| RtDispDesiredEn5minAmt a, s, i | $ | Dispatch Interval | Real-Time Energy Cost at Desired Dispatch Quantity per AO per Settlement Location per Dispatch Interval - The average incremental energy offer cost, in dollars, associated with AO a’s eligible Resource at Settlement Location s for Dispatch Interval i as calculated from the Resource’s As Dispatched Energy Offer Curve from the As-Dispatched Minimum Capacity Limit (Economic or Regulating, as applicable) to the maximum of the As-Dispatched Minimum Capacity Limit or RtDispDesiredEn5minQty a, s, i. |
| RtBillMtr5minQty a, s, i | MW | Dispatch Interval | Real-Time Actual Meter Quantity per AO per Location per Dispatch Interval - The value defined under Section 4.5.9.1 for Dispatch Interval i. |
| RtLmp5minPrc s, i | $/MW | Dispatch Interval | Real-Time LMP - The value defined under Section 4.5.9.1 at Settlement Location s for Dispatch Interval i. |
| DaClrdHrlyQty a, s, h | MWh | Hour | Day-Ahead Cleared Energy Quantity per AO per Settlement Location per Hour in the DA Market – The value described under Section 4.5.8.1. |
| DaRegUpHrlyQty a, z, s, h | MW | Hour | Day-Ahead Regulation-Up Quantity per AO per Settlement Location per Hour in the DA Market– The value described under Section 4.5.8.4. |
| DaRegDnHrlyQty a, z, s, h | MW | Hour | Day-Ahead Regulation-Down Quantity per AO per Settlement Location per Hour in the DA Market– The value described under Section 4.5.8.5. |
| DaSpinHrlyQty a, z, s, h | MW | Hour | Day-Ahead Spinning Reserve Quantity per AO per Settlement Location per Hour in the DA Market– The value described under Section 4.5.8.6. |
| DaSuppHrlyQty a, z, s, h | MW | Hour | Day-Ahead Spinning Reserve Quantity per AO per Settlement Location per Hour in the DA Market– The value described under Section 4.5.8.7. |
| RtRegUp5minQty a, z, s, i | MW | Dispatch Interval | Real-Time Regulation-Up Quantity per AO per Settlement Location per Dispatch Interval in the RTBM– The value described under Section 4.5.9.4. |
| RtRegDn5minQty a, z, s, i | MW | Dispatch Interval | Real-Time Regulation-Down Quantity per AO per Settlement Location per Dispatch Interval in the RTBM– The value described under Section 4.5.9.5. |
| RtSpin5minQty a, z, s, i | MW | Dispatch Interval | Real-Time Spinning Reserve Quantity per AO per Settlement Location per Dispatch Interval in the RTBM– The value described under Section 4.5.9.6. |
| RtSupp5minQty a, z, s, i | MW | Dispatch Interval | Real-Time Supplemental Reserve Quantity per AO per Settlement Location per Dispatch Interval in the RTBM– The value described under Section 4.5.9.7. |
| DaRegUpMcpHrlyPrc z, h | $/MW | Hour | Day-Ahead Regulation-Up Market Clearing Price per Settlement Location per Hour in the DA Market– The value described under Section 4.5.8.4. |
| DaRegDnMcpHrlyPrc z, h | $/MW | Hour | Day-Ahead Regulation-Down Market Clearing Price per Settlement Location per Hour in the DA Market– The value described under Section 4.5.8.5. |
| DaSpinMcpHrlyPrc z, h | $/MW | Hour | Day-Ahead Spinning Reserve Market Clearing Price per Settlement Location per Hour in the DA Market– The value described under Section 4.5.8.6. |
| DaSuppMcpHrlyPrc z, h | $/MW | Hour | Day-Ahead Spinning Reserve Market Clearing Price per Settlement Location per Hour in the DA Market– The value described under Section 4.5.8.7. |
| RtRegUpMcp5minPrc z, i | $/MW | Dispatch Interval | Real-Time Regulation-Up Market Clearing Price per Settlement Location per Dispatch Interval in the RTBM– The value described under Section 4.5.9.4. |
| RtRegDnMcp5minPrc z, i | $/MW | Dispatch Interval | Real-Time Regulation-Down Market Clearing Price per Settlement Location per Dispatch Interval in the RTBM– The value described under Section 4.5.9.5. |
| RtSpinMcp5minPrc z, i | $/MW | Dispatch Interval | Real-Time Spinning Reserve Market Clearing Price per Settlement Location per Dispatch Interval in the RTBM– The value described under Section 4.5.9.6. |
| RtSuppMcp5minPrc z, i | $/MW | Dispatch Interval | Real-Time Supplemental Reserve Market Clearing Price per Settlement Location per Dispatch Interval in the RTBM– The value described under Section 4.5.9.7. |
| RtOomHrlyAmt a, s, h | $ | Hour | Real-Time Out-Of-Merit Make-Whole-Payment Amount per AO per Settlement Location per Hour - The amount to AO a for eligible Resource Settlement Location s in Hour h for Out-Of-Merit Energy and Operating Reserve resulting from an SPP Manual Dispatch Instruction. |
| RtOomDlyAmt a, s, d | $ | Operating Day | Real-Time Out-Of-Merit Make-Whole-Payment Amount per AO per Settlement Location per Operating Day - The amount to AO a for eligible Resource Settlement Location s in Operating Day d for Out-Of-Merit Energy and Operating Reserve resulting from an SPP Manual Dispatch Instruction. |
| RtOomAoAmt a, m, d | $ | Operating Day | Real-Time Out-Of-Merit Make-Whole-Payment Amount per AO per Operating Day - The amount to AO a associated with Market Participant m in Operating Day d for Out-Of-Merit Energy and Operating Reserve resulting from an SPP Manual Dispatch Instruction. |
| RtOomMpAmt m, d | $ | Operating Day | Real-Time Out-Of-Merit Make-Whole-Payment Amount per MP per Operating Day - The amount to MP m in Operating Day d for Out-Of-Merit Energy and Operating Reserve resulting from an SPP Manual Dispatch Instruction. |
| EqrRtOom5minPrc a, s, i | $ | Dispatch Interval | Real-Time Electric Quarterly Reporting Out-of-Merit Make-Whole-Payment Amount per AO per Settlement Location per Dispatch Interval - The Out-of-Merit make-whole amount to AO a for Dispatch Interval i at Resource Settlement Location s for use by AO a in reporting such make-whole-payments to FERC in accordance with FERC EQR requirements. |
| EqrRtOom5minQty a, s, i | $ | Dispatch Interval | Real-Time Electric Quarterly Reporting Out-of-Merit Make-Whole-Payment Quantity per AO per Settlement Location per Dispatch Interval – This value is set equal to 1 if EqrRtOom5minPrc a, s, i > 0 for use by AO a in reporting such make-whole-payments to FERC in accordance with FERC EQR requirements.. |
| a | none | none | An Asset Owner. |
| s | none | none | A Settlement Location. |
| i | none | none | A Dispatch Interval. |
| h | none | none | An Hour. |
| d | none | none | An Operating Day. |
| m | none | none | A Market Participant. |

Proposed Tariff Language Revision

N/A

Proposed Criteria Language Revision

N/A