EIS Market Integrated Marketplace

PRR Recommendation Report

| PRR No. | Marketplace-PRR71 | PRR Title | Resources Eligible to Satisfy Day-Ahead Must-Offer Requirement |
| --- | --- | --- | --- |
| Timeline |  | Normal Expedited Urgent Action Provide explanation if Expedited and/or Urgent Action is selected: |  |
| Recommendation Action |  | Approve Reject Require additional information Defer Refer |  |
| Impact Analysis Required |  | Yes – If yes, estimated cost: No SPP Staff will complete this section. |  |
| Protocol Section(s) Requiring Revision |  | Section No.: 4.2.1, 4.2.1.1 Title: Must-Offer Requirements, Day-Ahead Market Protocol Version: 10.0 |  |
| Type of Revision |  | Correction/Clean-Up Clarification Design Enhancement Design Change |  |
| Revision Description |  | Clarifies that Market Participants may only use resources in a Commitment Status of “Market” or “Self” to satisfy the Day-Ahead Must-Offer requirement. |  |
| Tariff Implications or Changes |  | Yes – Section No.: (Include a summary of impact and/or specific changes) Attachment AE, Section 2.11.1 No |  |
| MWG Review PRR Recommendation |  | Date of Vote: 5/22/2012 – Approved as modified 6/19/2012—Unanimously approved RTWG’s modifications All Segments present for the vote: Yes No Segment of Parties that voted No or Abstained: Abstained—Tenaska |  |
| RTWG Review |  | 5/31/2012—Returned comments to MWG 6/28/2012—Approved |  |
| ORWG Review |  | 6/21/2012—Approved |  |
| MOPC Recommendation |  | 7/17/2012—Approved |  |
| Board Review |  | 7/31/2012—Approved |  |

| Date |  | 5/25/2012 |
| --- | --- | --- |
| Sponsor |  |  |
| Name |  | Jessica Collins |
| E-mail Address |  | Jessica.l.collins@xcelenergy.com |
| Company |  | Xcel Energy/SPS |
| Phone Number |  | 303.571.7740 |
| Reasons for Abstaining |  |  |
| Abstainer | Tenaska |  |
| Date |  |  |
| Reason | No comments received |  |
| Comments Received |  |  |  |
| Comment Author |  | MWG |  |
| Date |  | 5/22/2012 |  |
| Comment Description |  | Undeleted the phrase “to the extent the Resources are available (e.g. not on forced outage, planned outage or Reserve Shutdown)”. |  |
| Comment Status |  | The MPRR was approved as modified. The approved language is reflected in this recommendation report. |  |

| Comments Received |  |
| --- | --- |
| Comment Author | RTWG |
| Date | 5/31/2012 |
| Comment Description | The proposed Tariff language uses terms that are not defined in the Tariff. |
| Comment Status | The MPRR was approved as modified. The approved language is reflected in this recommendation report. |

Proposed Protocol Language Revision

4.2.1 Must-Offer Requirement

For the Day-Ahead Market, RUC and RTBM, Resource Offers must include: (i) a Start-Up Offer, a No-Load Offer and an Energy Offer Curve for Resources qualified to provide Energy, (ii) a Regulation-Up Offer for Regulation-Up Qualified Resources and Regulation-Qualified Resources, (iii) a Regulation-Down Offer for Regulation-Down Qualified Resources and Regulation Qualified Resources, (iv) a Spinning Reserve Offer for Spin Qualified Resources and (v) a Supplemental Reserve Offer for Supplemental Qualified Resources.

4.2.1.1 Day-Ahead Market

Each Market Participant must offer sufficient Resources to the Day-Ahead Market to cover their load plus Operating Reserve obligation, to the extent the Resources are available (e.g. not on forced outage, planned outage or Reserve Shutdown).  Only Resources submitted with a Commitment Status of Market or Self may be used to satisfy this requirement.

(1) A Market Participant’s load for purposes of this section shall be equal to that Market Participant’s expected daily peak Resident Load.

(2) A Market Participant’s daily Operating Reserve obligation shall be equal to the sum of that Market Participant’s maximum daily Regulation-Up, Regulation-Down and Contingency Reserve obligation as calculated by SPP as described in Section 4.1.3(3).

Proposed Tariff Language Revision

#### 2.11	Must-Offer Requirement [Protocols Section 4.2.1]

2.11.1	Day-Ahead Market [Protocols Section 4.2.1.1]

Each Market Participant must offer sufficient Resources to the Day-Ahead Market to cover its load plus Operating Reserve obligation, to the extent its Resources are available. A Market Participant may satisfy this requirement only by offering Resources with a commitment status .indicating either that the Market Participant is self-committing the Resource or that the Resource may be committed by the Transmission Provider, as specified in Section 4.1(10)(a) and (b) of this Attachment AE.

(1)	A Market Participant’s load for purposes of this Section shall be equal to that Market Participant’s expected daily peak load for the Operating Day as estimated by the Market Participant.

(2)	A Market Participant’s daily Operating Reserve obligation shall be equal to the sum of that Market Participant’s maximum daily Regulation-Up, Regulation-Down and Contingency Reserve obligations as estimated by the Transmission Provider in accordance with Section 3.1.4(3) if this Attachment AE.

Proposed Criteria Language Revision

N/A