EIS Market Integrated Marketplace

PRR Comments

| PRR No. | Marketplace-PRR89 | PRR Title | Net Benefits Test (Order No. 745 Compliance) |
| --- | --- | --- | --- |
| Date |  | 10/10/2012 |  |
| Submitter |  |  |  |
| Name |  | Brenda Fricano on behalf of RTWG |  |
| E-mail Address |  | bfricano@spp.org |  |
| Company |  | Southwest Power Pool |  |
| Phone Number |  | 501.614.3526 |  |

Comments

I think the members of the RTWG on the call would state that the Tariff language, as revised by the RTWG, implements the proposed Protocol change, however, the RTWG also believes that the MPRR is incomplete and does not fully meet the FERC Order since it does not specifically state how the  test is going to be used.

Revised Proposed Protocol Language Revision

No Protocol changes were made.

Revised Proposed Tariff Language Revision

In Section 3 of Attachment AE:  (new section – all language is new)

3.8	   Calculation of Net Benefits Test for Compensation of Demand Response Resources

Each month, the Transmission Provider shall calculate the price on a supply curve, representative of economic conditions expected for that month, at which the benefits  will exceed the costs of dispatching Demand Response Resources.

The Transmission Provider shall update and post the Net Benefits Test results and analysis for a calendar month no later than the 15th day of the preceding calendar month.

Proposed Criteria Language Revision

N/A