EIS Market Integrated Marketplace

PRR Recommendation Report

| PRR No. | Marketplace-PRR150 | PRR Title | GFA Carve Out - FERC Compliance Filing |
| --- | --- | --- | --- |
| Timeline |  | Normal Expedited Urgent Action Provide explanation if Expedited and/or Urgent Action is selected: |  |
| Recommendation Action |  | Approve Reject Require additional information Defer Refer |  |
| Impact Analysis Required |  | Yes – If yes, estimated cost: No SPP Staff will complete this section. |  |
| Protocol Section(s) Requiring Revision |  | Section No.: 4.5.3.4; 4.5.8.23 (new); 4.5.8.24 (new); 4.5.8.25 (new); 4.5.12; 4.5.12.1 (new); 4.5.12.2 (new); 5.2.3 Title: GFA Carve-Out Uplift; Day-Ahead Grand Fathered Agreement Carve-Out Daily Amount (new); Day-Ahead Grand Fathered Agreement Carve-Out Monthly Amount (new); Day-Ahead Grand Fathered Agreement Carve-Out Yearly Amount (new); Daily Revenue Neutrality Uplift Distribution Amount; Monthly Revenue Neutrality Uplift Distribution Amount (new); Yearly Revenue Neutrality Uplift Distribution Amount (new); Simultaneous Feasibility Protocol Version: 16.0a |  |
| Type of Revision |  | Correction/Clean-Up Clarification Design Enhancement Design Change |  |
| Timeline |  | Go-Live Post Go-Live |  |
| Revision Description |  | This MPRR adds settlement formula changes to support the removal of congestion and marginal loss charges for the amount of energy actually transacted associated with GFAs that are carved out. . These new charge types are needed because the Monthly and Yearly TCR/ARR processes need to be uplifted to non-GFA load ratio share. Daily processes could not work with the Monthly and Yearly activities. These changes are necessary in order to account for the credits coming from the Monthly and Annual Close out Activities FERC issued an Order for Docket No. ER13-2078-000 on September 30, 2013. This MPRR is in compliance with that Order. |  |
| Tariff Implications or Changes |  | Yes – Section No: (Include a summary of impact and/or specific changes) Attachment AE Section 8.5.17 Day-Ahead Grandfathered Agreement Carve-Out Daily Amount (new); 8.5.18 Day-Ahead Grandfathered Agreement Carve-Out Monthly Amount (new); 8.5.19 Day-Ahead Grandfathered Agreement Carve-Out Yearly Amount (new); 8.8 Daily Revenue Neutrality Uplift Distribution Amount; 8.8.1 Monthly Revenue Neutrality Uplift Distribution Amount (new); 8.8.2 Yearly Revenue Neutrality Uplift Distribution Amount (new) No |  |
| Criteria Impact or Changes |  | Yes – Section No: (Include a summary of impact and/or specific changes) No |  |
| MWG Review PRR Recommendation |  | Date of Vote: 9/17/2013 Vote: Approved Opposed: NPPD, OPPD, CUS Abstained: LES, Tri-County, GSEC Date of Vote: 11/12/2013 Vote: Approved Opposed: N/A Abstained: CUS, WR, NPPD, OPPD |  |
| RTWG Review |  | Date of Vote: 9/26/2013 Vote: Approved with modifications Date of Vote: 11/21/2013 Vote: Approved |  |
| ORWG Review |  | Date of Vote: 10/1/2013 Vote: Approved with no Reliability impacts Date of Vote: 11/14/2013 Vote: Approved with no Reliability impacts |  |
| MOPC Recommendation |  | Date of Vote: 1/14/2014 Vote: Approved |  |
| Board Review |  | Date of Vote: 1/28/2014 Vote: Approved |  |

| Date | 8/29/2013 |
| --- | --- |

| Sponsor |  |
| --- | --- |
| Name | Micha Bailey |
| E-mail Address | mcbailey@spp.org |
| Company | Southwest Power Pool |
| Phone Number | 501.688.2522 |

| Reasons for Opposing |  |
| --- | --- |
| Dissenter | Ronald Thompson, NPPD |
| Date | 9/17/2013 |
| Reason | NPPD has concerns when the ARR’s show a positive result the entire amount of the ARR will be used for each month this occurs. Most of the time the load that is using this path is much lower than the 2 summer months. Would like to see SPP use the peak of the last 3 years for each ARR Period (off and on). |

| Comments Received |  |
| --- | --- |
| Comment Author | Micha Bailey |
| Date | 9/5/2013 |
| Comment Description | SPP staff deleted language from Section 4.5.3.4 and moved the deleted language to Section 5.2.3 because the language dealt with how to nominate ARRs. SPP staff believes that moving this language to Section 5.2.3 is more appropriate. The language “over that product period” was deleted and “for those twelve preceding months” was added to Section 5.2.3 as discussed in the MWG 9/3/2013 meeting. This new language changes the product period to the last twelve months because upon further review, the accuracy hoped for in the increase periodicity was not supported by the data. SPP staff fixed section references in the Tariff. SPP staff also added and deleted language in the Tariff to make the Tariff clearer. |
| Comment Status | These comments were taken into consideration by the MWG. MWG made some language changes based on these comments at this time. |

| Comments Received |  |
| --- | --- |
| Comment Author | Micha Bailey on behalf of the MWG |
| Date | 9/17/2013 |
| Comment Description | The language “as defined for the annual ARR allocation process” was added to Section 4.5.3.4 as discussed in the MWG 9/17/2013 meeting. This new language was added to further clarify that the product period pertains to the annual ARR allocation process. Made minor corrects to bill determinates in Section 4.5.12.1 and 4.5.12.2. |
| Comment Status | The MPRR was approved as modified in these comments. The approved language is reflected in this recommendation report. |

| Comments Received |  |
| --- | --- |
| Comment Author | Brenda Fricano on behalf of the RTWG |
| Date | 9/26/2013 |
| Comment Description | Section headings were changed in Section 8.8 to allow this section to separate out the three Revenue Neutrality Uplift Distribution Amounts. In Section 8.5.20, changed the word monthly to yearly and deleted the word (new). RTWG’s changes are highlight in yellow. |
| Comment Status | FERC issued an Order for Docket No. ER13-2078-000 changing the allocation of the GFA Carve Out monies from RNU to Load Ratio Share to non-GFA Carve Out Loads. Based on the FERC Order the changes to Section 8.8 are not needed and were reverted back to original language. The approved language is reflected in this recommendation report. |

| Comments Received |  |
| --- | --- |
| Comment Author | Ronald Thompson on behalf of NPPD |
| Date | 10/4/2013 |
| Comment Description | NPPD is looking to use more of a monthly or seasonal nomination amount that would be more representative of the actual load for that time period. Current language has SPP using the entire amount of the GFA Carve out for all periods. There could be a large difference in amounts from Summer to other periods due to irrigation loads. |
| Comment Status | These comments were taken into consideration by the MWG. MWG did not make any language changes based on these comments at this time. |

| Comments Received |  |
| --- | --- |
| Comment Author | Micha Bailey |
| Date | 11/5/2013 |
| Comment Description | FERC Order issued for Docket No. ER13-2078-000 was given to SPP on September 30, 2013. The changes in the comment form are to comply with the paragraphs within MPRR150 FERC Comments 11-5-2013 |
| Comment Status | The MPRR was approved as modified in these comments. The approved language is reflected in this recommendation report. |

| Comments Received |  |
| --- | --- |
| Comment Author | Micha Bailey on behalf of MWG |
| Date | 11/12/2013 |
| Comment Description | MWG changed the name of RtGFAExclusionHrlyQty to RtNonGFAHrlyQty determinant in Section 4.5.8.26 GFA Carve Out Distribution Daily Amount. The MWG wanted to change the name of the determinant because the old name could be confusing. |
| Comment Status | The MPRR was approved as modified in these comments. The approved language is reflected in this recommendation report. |

Proposed Protocol Language Revision

4.5.3.2 GFA Carve Out Schedules - Internal

The GFA Responsible Entity must submit GFA Carve Out Schedules for all of the energy actually transacted under the GFA.  These GFA Carve Out Schedules must be submitted in accordance with the requirements of Section 4.5.3, as specifically modified in section 4.5.3.2.   If no energy is transacted under the GFA, then no schedule is required and no GFA Carve Out treatment will be provided.  Up to four (4) DA Market GFA Carve Out Schedules for energy may be required for each GFA Carve Out transaction:

- GFA Carve Out Schedule #1

  - Seller: MP responsible for the source

  - Buyer: GFA Responsible Entity

  - Settlement Location: Source Settlement Location of the GFA transmission service

- GFA Carve Out Schedule #2

  - Seller: GFA Responsible Entity

  - Buyer: GFA Carve Out account

  - Settlement Location: Source Settlement Location of the GFA transmission service

- GFA Carve Out Schedule #3

  - Seller: GFA Carve Out account

  - Buyer: GFA Responsible Entity

  - Settlement Location: Sink Settlement Location of the GFA transmission service

- GFA Carve Out Schedule #4

  - Seller: GFA Responsible Entity

  - Buyer: MP responsible for the sink

  - Settlement Location: Sink Settlement Location of the GFA transmission service

If the Market Participant that is responsible for the source is the same as the GFA Responsible Entity, then #1 above does not apply.  If the Market Participant that is responsible for the sink is the same as the GFA Responsible Entity, then #4 above does not apply. The seller receives an increase in load obligation equal to the specified MW amount and the buyer receives a reduction in load obligation equal to the transacted MW amount at the specified Settlement Location.  These Schedules will be settled at DA Market prices.  The GFA Responsible Entity is responsible to ensure the consistency of the GFA Carve Out Schedules.   The Market Monitor  will monitor for gaming by GFA customers and such instances will  be reported to the Commission’s Office of Enforcement, or its successor organization.

The Transmission Provider shall publish a quarterly report listing the costs allocated to the market caused by the associated GFA Carve Outs. The report should also provide hourly and monthly deviations associated with the GFA Carve Out Schedules.

#### 4.5.3.4	GFA Carve Out Uplift

GFA Carve Out Schedules result in removal of the energy, congestion, and marginal losses for the transaction from settlement statements.  SPP will capture the congestion charges and marginal loss charges related to the GFA Carve Outs.  These charges will be offset by the ARR/TCR settlement that would have been claimed for the GFA Carve Out under the normal ARR/TCR process and the distribution of the Marginal Loss Overcollection funds.  Candidate ARRs associated with the GFA Carve Out service shall not be nominated for a product period if, based upon the twelve preceding months for which congestion data is available, such ARR, had it been converted to a TCR, would have resulted in a TcrFundHrlyAmt net charge to the holder of the TCR over that product period, as defined for the annual ARR allocation process.  However, until twelve months of Integrated Marketplace data is available, SPP will use relevant data from both the EIS Market and the Integrated Marketplace to estimate whether the result is a net charge.  .

#### 4.5.8.23	Day-Ahead Grandfathered Agreement Carve-Out Daily Amount

- A DA Market credit or charge for exclusion of transactions associated with Grandfathered Agreements from Market Settlement of congestion, losses and hedging instruments, is calculated each day for every Asset Owner modeled to represent a Grandfathered Agreement Carve-Out.  The net amount is calculated as follows:

#DaGFAAoAmt a, m, d = -1 * [ DaEnergyAoAmt a, m, d  + DaNEnergyAoAmt a, m, d

+ TcrFundAoAmt a, m, d + TcrUpliftDlyAmt a, m, d

+ DaOclDistAoAmt a, m, d

+ TcrAucTxnAoAmt a, m, d + ArrAucTxnAoAmt a, m, d

+ ArrUpliftAoAmt a, m, d  ] * AoIsGFADlyFlg a, m, d

- For each Market Participant, a daily amount is calculated representing the sum of Grandfathered Agreement Carve-Out Asset Owner amounts associated with that Market Participant.  The net amount is calculated as follows:

DaGFAMpAmt m, d =  DaGFAAoAmt a, m, d

The above variables are defined as follows:

| Variable | Unit | Settlement Interval | Definition |
| --- | --- | --- | --- |
| DaGFAAoAmt a, m, d | $ | Operating Day | Day-Ahead Grandfathered Agreement Carve-Out Daily Amount per AO per Operating Day – The net reversal of charges and credits from the settlement of Day-Ahead Asset & Non-Asset Energy, Day-Ahead Over-Collected Losses Distribution, Transmission Congestion Rights Funding & Uplift, Transmission Congestion Rights Auction and Auction Revenue Rights & Uplift amount to AO a modeled to represent a Grandfathered Agreement Carve-Out associated with Market Participant m for the Operating Day |
| DaEnergyAoAmt a, m, d | $ | Operating Day | Day-Ahead Asset Energy Amount per AO per Operating Day – The value as calculated under 4.5.8.1. |
| DaNEnergyAoAmt a, m, d | $ | Operating Day | Day-Ahead Non-Asset Energy Amount per AO per Operating Day – The value as calculated under 4.5.8.2. |
| TcrFundAoAmt a, m, d | $ | Operating Day | Transmission Congestion Rights Funding Amount per AO per Operating Day – The value as calculated under 4.5.8.14. |
| TcrUpliftDlyAmt a, m, d | $ | Operating Day | Transmission Congestion Rights Daily Uplift Amount per AO – The value as calculated under 4.5.8.15. |
| DaOclDistAoAmt a, m, d | $ | Operating Day | Day-Ahead Over Collected Losses Distribution Amount per AO per Operating Day – The value as calculated under 4.5.8.19. |
| TcrAucTxnAoAmt a, m, d | $ | Operating Day | Transmission Congestion Right Auction Daily Amount per AO per Operating Day – The value as calculated under 4.5.10.1. |
| ArrAucTxnAoAmt a, m, d | $ | Operating Day | Auction Revenue Rights Daily Amount per AO per Operating Day – The value as calculated under 4.5.10.2. |
| ArrUpliftAoAmt a, m, d | $ | Operating Day | Auction Revenue Rights Daily Uplift Amount per AO per Operating Day – The value as calculated under 4.5.10.3. |
| AoIsGFADlyFlg a, m. d |  | Operating Day | Grandfathered Agreement Carve-Out Asset Owner Flag per AO per Operating Day – A Flag which indicates that the AO is exempt from Day-Ahead Transmission Congestion charge types, thus forcing the cost allocation of the exclusion into Non GFA Load Ratio Share |
| DaGFAMpAmt m, d | $ | Operating Day | Day-Ahead Grandfathered Agreement Carve-Out Daily Amount per MP per Operating Day – The net reversal of charges and credits from the settlement of Day-Ahead Asset & Non-Asset Energy, Day-Ahead Over-Collected Losses Distribution, Transmission Congestion Rights Funding & Uplift, Transmission Congestion Rights Auction and Auction Revenue Rights & Uplift amount to Market Participant m for net cleared offers and bids, net of Bilateral Settlement Schedules for Energy for the Operating Day. |
| a | none | none | An Asset Owner. |
| d | none | none | An Operating Day. |
| m | none | none | A Market Participant. |

#### 4.5.8.24	Day-Ahead Grandfathered Agreement Carve-Out Monthly Amount

- A Monthly Market credit or charge for exclusion of transactions associated with Grandfathered Agreements from Market Settlement of congestion hedging instruments, is calculated each month for every Asset Owner modeled to represent a Grandfathered Agreement Carve-Out.  The net amount is calculated as follows:

#DaGFAAoMnthlyAmt a, m, mn = -1 * [ TcrPaybackMnthlyAmt a, m, mn

+ ArrPaybackMnthlyAmt a, m, mn  ]

* AoIsGFAMnthlyFlg a, m, mn

(a)	AoIsGFAMnthlyFlg a, m, mn  =

{ IF  AoIsGFADlyFlg a, m, d  > 0 THEN 1, ELSE 0}

- For each Market Participant, a monthly amount is calculated representing the sum of Grandfathered Agreement Carve-Out Asset Owner monthly amounts associated with that Market Participant.  The net amount is calculated as follows:

DaGFAMpMnthlyAmt m, mn =  DaGFAAoMnthlyAmt a, m, mn

The above variables are defined as follows:

| Variable | Unit | Settlement Interval | Definition |
| --- | --- | --- | --- |
| DaGFAAoMnthlyAmt a, m, mn | $ | Month | Day-Ahead Grandfathered Agreement Carve-Out Monthly Amount per AO per Month– The net reversal of charges and credits from the settlement of Transmission Congestion Rights Monthly Payback & Auction Revenue Rights Monthly Payback to AO a modeled to represent a Grandfathered Agreement Carve-Outs associated with Market Participant m for the Month |
| TcrPaybackMnthlyAmt a, m, mn | $ | Month | Transmission Congestion Right Monthly Payback Amount per AO per Asset Owner per MP per Month – The amount calculated under Section 4.5.8.16. |
| ArrPaybackMnthlyAmt a, m, mn | $ | Month | Auction Revenue Rights Monthly Payback Amount per AO per month - The amount calculated under Section 4.5.10.4. |
| AoIsGFAMnthlyFlg a, mn | none | Month | Grandfathered Agreement Carve-Out Asset Owner Flag per AO per Month – A Flag which indicates that the AO is exempt from Day-Ahead Transmission Congestion charge types, thus forcing the cost allocation of the exclusion into Non GFA Load Ratio Share |
| AoIsGFADlyFlg a, mn | none | Month | Grandfathered Agreement Carve-Out Asset Owner Flag per AO per Month – The flag described under Section 4.5.8.23 |
| DaGFAMpMnthlyAmt m, mn | $ | Month | Day-Ahead Grandfathered Agreement Carve-Out Monthly Amount per MP per Month – The net reversal of charges and credits from the settlement of Monthly Transmission Congestion Rights Paybacks & Monthly Auction Revenue Rights Paybacks to MP m modeled to represent a Grandfathered Agreement Carve-Out for the Month. |
| a | none | none | An Asset Owner. |
| d | none | none | An Operating Day. |
| mn | none | none | A Month. |
| m | none | none | A Market Participant. |

#### 4.5.8.25	Day-Ahead Grandfathered Agreement Carve-Out Yearly Amount

- A Yearly Market credit or charge for exclusion of transactions associated with Grandfathered Agreements from Market Settlement of congestion hedging instruments, is calculated each Year for every Asset Owner modeled to represent a Grandfathered Agreement Carve-Out.  The net amount is calculated as follows:

#DaGFAAoYrlyAmt a, m, yr = -1 * [ TcrPaybackYrlyAmt a, m, yr

+ TcrCloseout YrlyAmt a, m, yr

+ ArrPaybackYrlyAmt a, m, yr

+ ArrCloseout YrlyAmt a, m, yr ]

* AoIsGFAYrlyFlg a, m, yr

(a)	AoIsGFAYrlyFlg a, m, yr  =

{ IF  AoIsGFADlyFlg a, m, d  > 0 THEN 1, ELSE 0}

- For each Market Participant, a yearly amount is calculated representing the sum of Grandfathered Agreement Carve-Out Asset Owner yearly amounts associated with that Market Participant.  The net amount is calculated as follows:

DaGFAMpYrlyAmt m, yr =  DaGFAAoYrlyAmt a, mn, yr

The above variables are defined as follows:

| Variable | Unit | Settlement Interval | Definition |
| --- | --- | --- | --- |
| DaGFAAoYrlyAmt a, m, yr | $ | Year | Day-Ahead Grandfathered Agreement Carve-Out Yearly Amount per AO per Year– The net reversal of charges and credits from the settlement of Transmission Congestion Rights Yearly Payback & Closeout, and Auction Revenue Rights Yearly Payback & Closeout to AO a modeled to represent a Grandfathered Agreement Carve-Out associated with Market Participant m for the Year |
| TcrPaybackYrlyAmt a, m, yr | $ | Year | Transmission Congestion Rights Annual Payback Amount per AO - The amount calculated under Section 4.5.8.17. |
| TcrCloseoutYrlyAmt a, m, yr | $ | Year | Transmission Congestion Rights Annual Payback Amount per AO – The amount calculated under Section 4.5.8.18. |
| ArrPaybackYrlyAmt a, m, yr | $ | Year | Auction Revenue Rights Annual Payback Amount per AO per year - The amount calculated under Section 4.5.10.5. |
| ArrCloseoutYrlyAmt a, m, yr | $ | Year | Auction Revenue Rights Annual Payback Amount per AO per Year - The amount calculated under Section 4.5.10.6. |
| AoIsGFAYrlyFlg a, yr | none | Year | Grandfathered Agreement Carve-Out Asset Owner Flag per AO per Year – A Flag which indicates that the AO is exempt from Day-Ahead Transmission Congestion charge types, thus forcing the cost allocation of the exclusion into Non GFA Load Ratio Share |
| AoIsGFADlyFlg a, m, d | none | Day | Grandfathered Agreement Carve-Out Asset Owner Flag per AO per Month – The flag described under Section 4.5.8.23 |
| DaGFAMpYrlyAmt m, yr | $ | Year | Day-Ahead Grandfathered Agreement Carve-Out Yearly Amount per MP per Year – The net reversal of charges and credits from the settlement of Yearly Transmission Congestion Rights Paybacks & Closeouts, and Yearly Auction Revenue Rights Paybacks & Closeouts to MP m modeled to represent a Grandfather Agreement Carve-Out for the Year. |
| a | none | none | An Asset Owner. |
| mn | none | none | A Month |
| yr | none | none | A Year. |
| m | none | none | A Market Participant. |

### 4.5.8.26	GFA Carve Out Distribution Daily Amount

- A GFA Carve-Out Amount charge or credit will be calculated for each Asset Owner for each day.  The Asset Owner amount will be equal to the Asset Owner’s daily real-time load ratio share of the net GFA Carve-Out Amount costs where such real-time load ratio share excludes GFA Carve-Out load.  The amount to each Asset Owner is calculated as follows:

#DaGFACarveOutDistDlyAmt a, s, d =

GFARevInadqcSppAmt spp, d  * RtGFALoadRatioShareDlyFct a, s, d * (-1)

Where,

(a)	GFARevInadqcSppAmt spp, d  =   DaGFAMpAmt m, d

(b)	RtGFALoadRatioShareDlyFct a, s, d =

RtNonGFAHrlyQty a, s, h  /   RtNonGFAHrlyQty a, s, h

(c)	#RtNonGFAHrlyQty a, s, h =

= Max { 0,   Max ( 0, RtBillMtr5minQty a, s, i  )

+  Max( 0, RtImpExp5minQty a, s, i, t  )

– (AoIsGFALoadDlyFlg a, s, d, t * [Max (0, DaEnFinHrlyQty a, s, h, t  )

+ Max (0, DaNEnFinHrlyQty a, s, h, t )] ) }

- For each Asset Owner associated with Market Participant m, a daily amount is calculated.  The daily amount is calculated as follows:

DaGFACarveOutDistAoDlyAmt a, m, d =  DaGFACarveOutDistDlyAmt a, s, d

- For each Market Participant, a daily amount is calculated representing the sum of Asset Owner amounts associated with that Market Participant.  The daily amount is calculated as follows:

DaGFACarveOutDistMpDlyAmt m, d =  DaGFACarveOutAoDlyAmt a, m, d

The above variables are defined as follows:

| Variable | Unit | Settlement Interval | Definition |
| --- | --- | --- | --- |
| RtBillMtr5minQty a, s, i | MW | Dispatch Interval | Real-Time Billing Meter Quantity per AO per Settlement Location per Dispatch Interval - The value described under Section 4.5.9.1 for Reserve Zone z. |
| RtImpExp5minQty a, s, i, t | MW | Dispatch Interval | Real-Time Interchange Transaction Quantity per AO per Settlement Location per Dispatch Interval per Transaction – The value described under Section 4.5.9.2 for Reserve Zone z. |
| AoIsGFALoadDlyFlg a, s, d, t |  | Operating Day | Grandfathered Agreement Carve-Out Asset Owner Flag per AO per Operating Day – A Flag which indicates that the AO is exempt from the distribution of the GFA Carve Out Account |
| DaEnFinHrlyQty a, s, h, t | MWh | Hour | Day-Ahead Asset Energy Bilateral Settlement Schedule per AO per Transaction per Settlement Location per Hour - The quantity specified by the buyer AO and seller AO in a DA Market Bilateral Settlement Schedule for Energy at Asset Settlement Location s, for each transaction t, for the Hour. The buyer AO quantity is a positive value and the seller AO quantity is a negative value. |
| DaNEnFinHrlyQty a, s, h, t | MWh | Hour | Day-Ahead Non-Asset Energy Bilateral Settlement Schedule for Energy per Transaction per AO per Settlement Location per Hour - The quantity specified by the buyer AO and seller AO in a DA Market Bilateral Settlement Schedule for Energy at Non-Asset Settlement Location s, for each transaction t, for the Hour. The buyer AO quantity is a positive value and the seller AO quantity is a negative value. |
| DaGFACarveOutDistDlyAmt a, s, d | $ | Operating Day | Day Ahead GFA Carve Out Distribution Dailly Amount per AO per Settlement Location per Operating Day – The amount to distribute to AO a at Settlement Location s in an Operating Day d. |
| DaGFACarveOutDistAoDlyAmt a, m, d | $ | Operating Day | Day Ahead GFA Carve Out Distribution Amount per AO per Operating Day – The amount to distribute to AO a associated with Market Participant m in an Operating Day d. |
| DaGFACarveOutDistMpDlyAmt m, d | $ | Operating Day | Day Ahead GFA Carve Out Distribution Daily Amount per MP per Operating Day – The amount for to distribute to MP m in an Operating Day d. |
| GFARevInadqcSppDlyAmt spp, d | $ | Operating Day | Grandfathered Agreement Carve-Out Revenue Inadequacy Daily Amount – The amount of charges and credits to GFA Carve-Out responsible entities on an SPP-wide basis from the settlement of Day-Ahead Asset & Non-Asset Energy, Day-Ahead Over-Collected Losses Distribution, Transmission Congestion Rights Funding & Uplift, Transmission Congestion Rights Auction and Auction Revenue Rights & Uplift amount to Market Participant m for net cleared offers and bids, net of Bilateral Settlement Schedules for Energy for the Operating Day. |
| RtNonGFAHrlyQty a, s, h |  | Hour | Real-Time Non-GFA Hourly Quantity per AO per Hour per Settlement Location – The value is calculated by taking the Load’s Real-Time Meter plus the Load’s Exports minus the GFA Carved Out Load MWs per AO a at Settlement Location s in hour h |
| RtGFALoadRatioShareDlyFct a, s, d |  | Operating Day | Real-Time GFA Load Ratio Share Daily Factor per AO per Hour per Settlement Location – The value is calculated by taking a single Asset Owner Load Settlement Location’s Real-Time GFA Exclusion Hourly Factor and divided it by the sum of all of the Asset Owner Load Settlement Location’s Real-Time GFA Exclusion Hourly Factor. |
| DaGFAMpAmt m, d | $ | Operating Day | Day-Ahead Grandfathered Agreement Carve-Out Amount per MP per Day - The value calculated under Section 4.5.8.23 |
| a | none | None | An Asset Owner. |
| s | none | none | A Resource Settlement Location. |
| h | none | none | An Hour. |
| d | none | none | An Operating Day. |
| mn | none | none | A Month |
| m | none | none | A Market Participant. |
| spp | none | none | Southwest Power Pool. |

### 4.5.8.27	GFA Carve Out Distribution Monthly Amount

- A charge or credit will be calculated at each Settlement Location for each Asset Owner in order for SPP to remain revenue neutral on a monthly basis.  Contributors to revenue non-neutrality include:

  - Reversal of credits to GFA Carve-Outs through Monthly TCR Payback and

  - Reversal of credits to GFA Carve-Outs through Monthly ARR Payback;

The amount will be determined by multiplying the Asset Owner monthly determinant by the monthly GFA Carve-Out revenue inadequacy amount.  The Asset Owner monthly determinant is equal to the Asset Owner’s monthly real-time load ratio share where such real-time load ratio share excludes GFA Carve Out load.

The amount to each applicable Asset Owner is calculated as follows.

#DaGFACarveOutDistMnthlyAmt a, s, mn =

(GFARevInadqcSppMnthlyAmt spp, mn *

RtGFALoadRatioShareMnthlyFct a, s, mn ) * (-1)

Where,

(a)	#RtGFALoadRatioShareMnthlyFct a, s, mn =

(RtGFALoadRatioShareDlyFct a, s, d)

/  ( RtGFALoadRatioShareDlyFct a, s, d)

(b)	GFARevInadqcSppMnthlyAmt spp, mn  =   DaGFAMpMnthlyAmt  m, mn

- For each Asset Owner associated with Market Participant m, a monthly amount is calculated.  The monthly amount is calculated as follows:

DaGFACarveOutDistAoMnthlyAmt a, m, mn =

DaGFACarveOutDistMnthlyAmt a, s, mn

- For each Market Participant, a monthly amount is calculated representing the sum of Asset Owner amounts associated with that Market Participant.  The monthly amount is calculated as follows:

DaGFACarveOutDistMpMnthlyAmt m, mn =

DaGFACarveOutDistAoMnthlyAmt a, m, mn

The above variables are defined as follows:

| Variable | Unit | Settlement Interval | Definition |
| --- | --- | --- | --- |
| DaGFACarveOutDistMnthlyAmt a, s, mn | $ | Month | Day Ahead GFA Carve Out Distribution Monthly Amount per AO per Settlement Location per Month – The amount to distribute to AO a at Settlement Location s in Month mn. |
| RtGFALoadRatioShareMnthlyFct a, s, mn | $/MW | Month | Real-Time GFA Share Load Ratio Share Distribution Factor per AO per Month per Settlement Location – The ratio determining the portion of the total Grandfathered Agreement Carve-Out Revenue Inadequacy Monthly Amount assigned to AO a at Settlement Location s in Month mn. |
| DaGFACarveOutDistAoMnthlyAmt a, m, mn | $ | Month | Day Ahead GFA Carve Out Distribution Amount per AO per Month – The amount to distribute to AO a associated with Market Participant m in Month mn. |
| DaGFACarveOutDistMpMnthlyAmt m, mn | $ | Month | Day Ahead GFA Carve Out Distribution Monthly Amount per MP per Month – The amount for to distribute to MP m in Month mn. |
| GFARevInadqcSppMnthlyAmt spp, mn | $ | Month | Grandfathered Agreement Carve-Out Revenue Inadequacy Monthly Amount – The amount of charges and credits to GFA Carve-Out responsible entities on an SPP-wide basis from the settlement of Transmission Congestion Rights Payback Amount and Auction Revenue Rights Payback Amount for Month mn. |
| RtGFALoadRatioShareDlyFct a, s, d | MW | Hour | Real-Time GFA Load Ratio Share per AO per Day per Settlement Location – The value calculated under Section 4.5.8.26 |
| DaGFAMpMnthlyAmt m, mn | $ | Month | Day-Ahead Grandfathered Agreement Carve-Out Amount per MP per Month - The value calculated under Section 4.5.8.24 |
| a | none | None | An Asset Owner. |
| s | none | none | A Resource Settlement Location. |
| h | none | none | An Hour. |
| d | none | none | An Operating Day. |
| mn | none | none | A Month |
| m | none | none | A Market Participant. |
| spp | none | none | Southwest Power Pool. |

### 4.5.8.28	GFA Carve Out Distribution Yearly Amount

- A charge or credit will be calculated at each Settlement Location for each Asset Owner in order for SPP to remain revenue neutral on a yearly basis.  Contributors to revenue non-neutrality include:

  - Reversal of credits to GFA Carve-Outs through Yearly TCR Payback;

  - Reversal of credits to GFA Carve-Outs through Yearly TCR Closeout;

  - Reversal of credits to GFA Carve-Outs through Yearly ARR Payback and

  - Reversal of credits to GFA Carve-Outs through Yearly ARR Closeout

The amount will be determined by multiplying the Asset Owner yearly determinant by the yearly GFA Carve-Out revenue inadequacy amount.  The Asset Owner yearly determinant is equal to the Asset Owner’s yearly load ratio share where such load ratio  excluded GFA Carve Out load.

The amount to each applicable Asset Owner is calculated as follows.

#DaGFACarveOutDistYrlyAmt a, s, yr =

(GFARevInadqcSppYrlyAmt spp, yr *  RtGFALoadRatioShareYrlyFct a, s, yr ) * (-1)

Where,

(a)	#RtGFALoadRatioShareYrlyFct a, s, yr  =

(RtGFALoadRatioShareDlyFct a, s, d)

/  ( RtGFALoadRatioShareDlyFctQty a, s, d

(b)	GFARevInadqcSppYrlyAmt spp, yr  =   DaGFAMpYrlyAmt  m, yr

- For each Asset Owner associated with Market Participant m, a yearly amount is calculated.  The yearly amount is calculated as follows:

DaGFACarveOutDistAoYrlyAmt a, m, yr =

DaGFACarveOutDistYrlyAmt a, s, yr

- For each Market Participant, a yearly amount is calculated representing the sum of Asset Owner amounts associated with that Market Participant.  The yearly amount is calculated as follows:

DaGFACarveOutDistMpYrlyAmt m, mn =

DaGFACarveOutDistAoYrlyAmt a, m, mn

The above variables are defined as follows:

| Variable | Unit | Settlement Interval | Definition |
| --- | --- | --- | --- |
| DaGFACarveOutDistYrlyAmt a, s, yr | $ | Year | Day Ahead GFA Carve Out Distribution Yearly Amount per AO per Settlement Location per Month – The amount to distribute to AO a at Settlement Location s in Year yr. |
| RtGFALoadRatioShareYrlyFct a, s, yr | none | Year | Real-Time GFA Load Ratio Share Factor per AO per Year per Settlement Location – The ratio determining the portion of the total Grandfathered Agreement Carve-Out Revenue Inadequacy Yearly Amount assigned to AO a at Settlement Location s in Year yr. |
| DaGFACarveOutDistAoYrlyAmt a, m, yr | $ | Year | Day Ahead GFA Carve Out Distribution Amount per AO per Year – The amount to distribute to AO a associated with Market Participant m in Year yr. |
| DaGFACarveOutMpYrlyAmt m, yr | $ | Year | Day Ahead GFA Carve Out Distribution Amount per MP per Year – The amount to distribute to MP m in Year yr. |
| GFARevInadqcSppYrlyAmt spp, yr | $ | Year | Grandfathered Agreement Carve-Out Revenue Inadequacy Yearly Amount – The amount of charges and credits to GFA Carve-Out responsible entities on an SPP-wide basis from the settlement of Transmission Congestion Rights Payback Amount, Transmission Congestion Rights Closeout Amount, Auction Revenue Rights Payback Amount and Auction Revenue Rights Closeout Amount for Year yr. |
| RtGFALoadRatioShareDlyFct a, s, h | MW | Hour | Real-Time GFA Load Ratio Share per AO per Day per Settlement Location – The value calculated under Section 4.5.8.26 |
| DaGFAMpYrlyAmt m, yr | $ | Year | Day-Ahead Grandfathered Agreement Carve-Out Yearly Amount per MP per Year - The value calculated under Section 4.5.8.25 |
| a | none | None | An Asset Owner. |
| s | none | none | A Resource Settlement Location. |
| h | none | none | An Hour. |
| d | none | none | An Operating Day. |
| mn | none | none | A Month |
| yr | none | none | A Year |
| m | none | none | A Market Participant. |
| spp | none | none | Southwest Power Pool. |

### 4.5.12	Revenue Neutrality Uplift Distribution Amount

- A charge or credit will be calculated at each Settlement Location for each Asset Owner for each hour in order for SPP to remain revenue neutral.  Contributors to revenue non-neutrality include:

(a)	Rounding errors;

(b)	Inadvertent Interchange (as calculated as shown in equation b.3 below);

(c)	Joint Operating Agreement Charges/Credits;

(d)	RTBM congestion (as calculated as shown in equation b.4 below);

(e)	RTBM Regulation Deployment Adjustment;

(f)	Make-Whole payments for Out-of-Merit Energy; and

(h)	Miscellaneous Charges/Credits

The amount will be determined by multiplying the Asset Owner hourly determinant by a daily Revenue Neutrality Uplift (RNU) rate.  The Asset Owner hourly determinant is equal to the sum that Asset Owner’s actual generation MWh, actual load MWh, actual Interchange Transaction MWh, DA Market cleared Virtual Offer MWh and DA Market cleared Virtual Bid MWh for the Hour, where all of these values are assumed to be positive values.

The amount to each applicable Asset Owner is calculated as follows.

#RtRnuHrlyAmt a, s, h = ( RtRnuSppDistRate d *  RtRnuDistHrlyQty a, s, h ) * (-1)

Where,

(a)	#RtRnuDistHrlyQty a, s, h =  ( ABS(RtBillMtr5minQty a, s, i ) / 12 + ([ ( ABS(RtImpExp5minQty a, s, i, t ) / 12 ) * (1 – RsgCrdFlgt ) ] ) + ( ABS(DaClrdVHrlyQty a, s, h, t ))

(b)	#RtRnuSppDistRate d  =

( DaRevInadqcSppAmt spp, d  +

RtRevInadqcSppAmt spp, d

+ RtOomSppAmt spp, d  + RtRegAdjSppAmt spp, d

+ RtJoaSppAmt spp, d  - RtNetInadvertentSppAmt spp, d

+ RtCongestionSppAmt spp, d ) / RtRnuDistSppQty spp, d

Where,

RtOomSppAmt spp, d  = RtOomMpAmt m, d

RtRegAdjSppAmt spp, d =RtRegAdjMpAmt m, d

RtJoaSppAmt spp, d  =RtJoaHrlyAmt a, h, f

RtRnuDistSppQty spp, d =RtRnuDistHrlyQty a, s, h

(b.1)	DaRevInadqcSppAmt spp, d  =

( DaEnergyMpAmt m, d  + DaNEnergyMpAmt m, d  + DaVEnergyMpAmt m, d + DaGFACarveOutDistMpDlyAmt m, d

+ DaRegUpMpAmt m, d  + DaSpinMpAmt m, d  + DaSuppMpAmt m, d

+ DaRegDnMpAmt m, d  + DaRegUpDistMpAmt m, d  + DaSpinDistMpAmt m, d

+ DaSuppDistMpAmt m, d  + DaRegDnDistMpAmt m, d  + DaMwpMpAmt m, d

+ DaMwpDistMpAmt m, d  + TcrFundMpAmt m, d  +  TcrUpliftDlyMpAmt m, d

+ DaOclDistMpAmt m, d  + TcrAucTxnMpAmt m, d  + ArrAucTxnMpAmt m, d

+ ArrUpliftMpAmt m, d  + DaDRMpAmt m, d  + DaDRDistMpAmt m, d  ) - ECFDlyAmt  d - ARFDlyAmt  d   + GFARevInadqcSppAmt spp, d

(b.2)	RtRevInadqcSppAmt spp, d  =

( RtEnergyMpAmt m, d  + RtNEnergyMpAmt m, d  + RtVEnergyMpAmt m, d

+ RtRegUpMpAmt m, d  + RtRegDnMpAmt m, d  + RtSpinMpAmt m, d

+ RtSuppMpAmt m, d  + RtMwpMpAmt m, d

+ RtMwpDistMpAmt m, d + RtRegNonPerfMpAmt m, d

+ RtRegNonPerfDistMpAmt m, d  + RtCRDeplFailMpAmt m, d

+ RtOclDistMpAmt m, d + RtCRDeplFailDistMpAmt m, d

+ RtRegUpDistMpAmt m, d + RtRegDnDistMpAmt m, d

+ RtSpinDistMpAmt m, d + RtSuppDistMpAmt m, d

+ RtRsgDistMpAmt m, d ) + RtDRMpAmt m, d  + RtDRDistMpAmt m, d  + RtRsgDlyAmt a, d

+ { IF rnu = 1, THEN MiscDlyAmt a, c, s, rnu, d , ELSE 0 } + RtNetInadvertentSppAmt spp, d

- RtCongestionSppAmt spp, d

(b.2)	RtNetInadvertentSppAmt spp, d = RtNetInadvertentSpp5minAmt  i

(b.3.1)	#RtNetInadvertentSpp5minAmt i =

( ( RtNetActIntrchngSpp5minQty  i - RtNetSchIntrchngSpp5minQty i )

* RtMec5minPrc i ) / 12

(b.4)	#RtCongestionSppAmt spp, d =

( ( ( RtBillMtr5minQty a, s, i – DaClrdHrlyQty a, s, h )

+  (RtImpExp5MinQty a, s, i, t - DaImpExp5MinQty a, s, i, t )

- DaClrdVHrlyQty a, s, h, t ) * RtMcc5minPrc s, i ) / 12

- For each Asset Owner, a daily amount is calculated at each Settlement Location.  The amount is calculated as follows:

RtRnuDlyAmt a, s, d =  RtRnuHrlyAmt a, s, h

- For each Asset Owner associated with Market Participant m, a daily amount is calculated.  The daily amount is calculated as follows:

RtRnuAoAmt a, m, d =  RtRnuDlyAmt a, s, d

- For each Market Participant, a daily amount is calculated representing the sum of Asset Owner amounts associated with that Market Participant.  The daily amount is calculated as follows:

RtRnuMpAmt m, d =  RtRnuAoAmt a, m, d

The above variables are defined as follows:

| Variable | Unit | Settlement Interval | Definition |
| --- | --- | --- | --- |
| RtRnuHrlyAmt a, s, h | $ | Hour | Real-Time Revenue Neutrality Uplift Amount per AO per Settlement Location per Hour – The amount for revenue neutrality to AO a at Settlement Location s in Hour h. |
| RtRnuSppDistRate d | $/MW | Operating Day | Real-Time Revenue Neutrality Uplift SPP Distribution Rate per Operating Day – The rate applied to AO a’s RtRnuDistHrlyQty a, s, h in each Hour h at Settlement Location s in Operating Day d. |
| RtRnuDistHrlyQty a, s, h | MWh | Hour | Real-Time Revenue Neutrality Uplift Quantity per AO per Hour per Settlement Location – The total MWh RNU allocation determinant for AO a at Settlement Location s for Hour h. |
| RtRnuDistSppQty spp, d | MWh | Operating Day | Real-Time Revenue Neutrality Uplift Quantity for SPP per Operating Day – The total MWh RNU allocation determinant for SPP on a system-wide basis. |
| DaClrdVHrlyQty a, s, h, t | MWh | Hour | Day-Ahead Cleared Virtual Energy Quantity per AO per Transaction per Settlement Location per Hour – The value defined under Section 4.5.8.3. |
| RtOomSppAmt spp, d | $ | Operating Day | Real-Time Out-Of-Merit Make-Whole-Payment Amount for SPP per Operating Day – The SPP system-wide total of the values described under Section 4.5.9.9. |
| RtRegAdjSppAmt spp, d | $ | Operating Day | Real-Time Regulation Deployment Adjustment Amount for SPP per Operating Day – The SPP system-wide total of the values described under Section 4.5.9.18. |
| RtJoaSppAmt spp, d | $ | Operating Day | Real-Time Joint Operating Agreement Amount for SPP per Operating Day – The SPP system-wide total of the values calculated under Section 4.5.9.21. |
| DaRevInadqcSppAmt spp, d | $ | Operating Day | Day-Ahead Revenue Inadequacy Amount – The amount of mismatch on an SPP-wide basis between total DA Market charges and DA Market credits for Operating Day d. |
| DaEnergyMpAmt m, d | $ | Operating Day | Day-Ahead Asset Energy Amount per MP per Operating Day – The value calculated under Section 4.5.8.1. |
| DaNEnergyMpAmt m, d | $ | Operating Day | Day-Ahead Non-Asset Energy Amount per MP per Operating Day – The value calculated under Section 4.5.8.2. |
| DaVEnergyMpAmt m, d | $ | Operating Day | Day-Ahead Virtual Energy Amount per MP per Operating Day – The value calculated under Section 4.5.8.3. |
| DaRegUpMpAmt m, d | $ | Operating Day | Day-Ahead Regulation-Up Amount per MP per Operating Day – The value calculated under Section 4.5.8.4. |
| DaRegDnMpAmt m, d | $ | Operating Day | Day-Ahead Regulation-Down Amount per MP per Operating Day – The value calculated under Section 4.5.8.5. |
| DaSpinMpAmt m, d | $ | Operating Day | Day-Ahead Spinning Reserve Amount per MP per Operating Day – The value calculated under Section 4.5.8.6. |
| DaSuppMpAmt m, d | $ | Operating Day | Day-Ahead Supplemental Reserve Amount per MP per Operating Day – The value calculated under Section 4.5.8.7. |
| DaRegUpDistMpAmt m, d | $ | Operating Day | Day-Ahead Regulation-Up Distribution Amount per MP per Operating Day – The value calculated under Section 4.5.8.8. |
| DaRegDnDistMpAmt m, d | $ | Operating Day | Day-Ahead Regulation-Down Distribution Amount per MP per Operating Day – The value calculated under Section 4.5.8.9. |
| DaSpinDistMpAmt m, d | $ | Operating Day | Day-Ahead Spinning Reserve Distribution Amount per MP per Operating Day – The value calculated under Section 4.5.8.10. |
| DaSuppDistMpAmt m, d | $ | Operating Day | Day-Ahead Supplemental Reserve Distribution Amount per MP per Operating Day – The value calculated under Section 4.5.8.11. |
| DaMwpMpAmt m, d | $ | Operating Day | Day-Ahead Make-Whole-Payment Amount per MP per Operating Day – The value calculated under Section 4.5.8.12. |
| DaMwpDistMpAmt m, d | $ | Operating Day | Day-Ahead Make-Whole-Payment Distribution Amount per MP per Operating Day – The value calculated under Section 4.5.8.13. |
| TcrFundMpAmt m, d | $ | Operating Day | Transmission Congestion Rights Funding Amount per MP per Operating Day – The value calculated under Section 4.5.8.14. |
| TcrUpliftDlyMpAmt m, d | $ | Operating Day | Transmission Congestion Rights Uplift Amount per MP per Operating Day – The value calculated under Section 4.5.8.15. |
| ECFDlyAmt d | $ | Operating Day | Excess Congestion Fund Amount per Operating Day – The value calculated under Section 4.5.8.16. |
| ARFDlyAmt d | $ | Operating Day | Auction Revenue Fund Amount per Operating Day – The value calculated under Section 4.5.10.4. |
| DaOclDistMpAmt m, d | $ | Operating Day | Day-Ahead Over Collected Losses Distribution Amount per MP per Operating Day - The value calculated under Section 4.5.8.19. |
| TcrAucTxnMpAmt m, d | $ | Operating Day | Transmission Congestion Right Auction Daily Amount per MP per Operating Day – The value calculated under Section 4.5.10.1. |
| ArrAucTxnMpAmt m, d | $ | Operating Day | Auction Revenue Rights Funding Amount per MP per Operating Day – The value calculated under Section 4.5.10.2. |
| ArrUpliftMpAmt m, d | $ | Operating Day | Auction Revenue Rights Funding Uplift Amount per MP per Operating Day – The value calculated under Section 4.5.10.3. |
| DaDRMpAmt m, d | $ | Operating Day | Day-Ahead Demand Reduction Amount per Market Participant per Operating Day – The value calculated under Section 4.5.9.24 |
| DaDRDistMpAmt m, d | $ | Operating Day | Day-Ahead Demand Reduction Distribution Amount per Market Participant per Operating Day – The value calculated under Section 4.5.9.25 |
| RtRevInadqcSppAmt spp, d | $ | Operating Day | Real-Time Revenue Inadequacy Amount – The amount of mismatch on an SPP-wide basis between total RTBM charges and RTBM credits. |
| RtBillMtr5minQty a, s, i | MW | Dispatch Interval | Real-Time Billing Meter Quantity per AO per Settlement Location per Dispatch Interval - The value described under Section 4.5.9.1. |
| RtImpExp5minQty a, s, i, t | MW | Dispatch Interval | Real-Time Interchange Transaction Quantity per AO per Settlement Location per Dispatch Interval per Transaction – The value described under Section 4.5.9.2. |
| RsgCrdFlgt (Not Available on Settlement Statement) | none | none | Reserve Sharing Group Contingency Reserve Deployment Flag per Event – The value described under Section 4.5.8.8. |
| DaClrdVHrlyQty a, s, h, t | MWh | Hour | Day-Ahead Virtual Energy Quantity per AO per Settlement Location per Hour per Transaction – The value described under Section 4.5.8.3. |
| DaClrdHrlyQty a, s, h | MWh | Hour | Day-Ahead Asset Energy Quantity per AO per Settlement Location per Hour – The value described under Section 4.5.8.1. |
| DaImpExp5MinQty a, s, i, t | MW | Dispatch Interval | Day-Ahead Interchange Transaction Quantity per AO per Settlement Location per Dispatch Interval per Transaction – The value described under Section 4.5.8.2. |
| RtMcc5minPrc s, i | $/MW | Dispatch Interval | Real-Time Marginal Congestion Component of Real-Time LMP – The Marginal Congestion Component of the Real-Time LMP at Settlement Location s for Dispatch Interval i. |
| RtEnergyMpAmt m, d | $ | Operating Day | Real-Time Energy Amount per MP per Operating Day – The value described under Section 4.5.9.1. |
| RtNEnergyMpAmt m, d | $ | Operating Day | Real-Time Non-Asset Energy Amount per MP per Operating Day – The value described under Section 4.5.9.2. |
| RtVEnergyMpAmt m, d | $ | Operating Day | Real-Time Virtual Energy Amount per MP per Operating Day – The value described under Section 4.5.9.3. |
| RtRegUpMpAmt m, d | $ | Operating Day | Real-Time Regulation-Up Amount per MP per Operating Day – The value described under Section4.5.9.4. |
| RtRegDnMpAmt m, d | $ | Operating Day | Real-Time Regulation-Down Amount per MP per Operating Day – The value described under Section 4.5.9.5. |
| RtSpinMpAmt m, d | $ | Operating Day | Real-Time Spinning Reserve Amount per MP per Operating Day – The value described under Section 4.5.9.6. |
| RtSuppMpAmt m, d | $ | Operating Day | Real-Time Supplemental Reserve Amount per MP per Operating Day – The value described under Section 4.5.9.7. |
| RtMwpMpAmt m, d | $ | Operating Day | RUC Make-Whole-Payment Amount per MP per Operating Day – The value described under Section 4.5.9.8 |
| RtOomMpAmt m, d | $ | Operating Day | Real-Time Out-Of-Merit Make-Whole-Payment Amount per MP per Operating Day - The value described under Section 4.5.9.9. |
| RtMwpDistMpAmt m, d | $ | Operating Day | RUC Make-Whole-Payment Distribution Amount per MP per Operating Day – The value described under Section 4.5.9.10. |
| RtRegNonPerfMpAmt m, d | $ | Operating Day | Real-Time Regulation Non-Performance Amount per MP per Operating Day – The value described under Section 4.5.9.15. |
| RtCRDeplFailMpAmt m, d | $ | Operating Day | Real-Time Contingency Reserve Deployment Failure Amount per MP per Operating Day – The value described under Section 4.5.9.17. |
| RtRegAdjMpAmt m, d | $ | Operating Day | Real-Time Regulation Deployment Adjustment Amount per MP per Operating Day - The value described under Section 4.5.9.19. |
| RtOclDistMpAmt m, d | $ | Operating Day | Real-Time Over Collected Losses Distribution Amount per MP per Operating Day - The value calculated under Section 4.5.9.20. |
| RtNetInadvertentSpp5minAmt i | $ | Dispatch Interval | Real-Time SPP Inadvertent Energy Amount per Dispatch Interval – SPP net Inadvertent Energy for Dispatch Interval i valued at the Real-Time LMP MEC. |
| RtNetInadvertentSppAmt spp, d | $ | Operating Day | Real-Time SPP Inadvertent Energy Amount per Operating Day – The sum of RtNetInadvertentSpp5minAmt i for Operating Day d. |
| RtCongestionSppAmt spp, d | $ | Operating Day | Real-Time SPP Net Congestion Revenue Amount – The net amount of total Real-Time congestion revenue collected over Operating Day d. |
| RtNetActIntrchngSpp5minQty i | MW | Dispatch Interval | Real-Time SPP Net Actual Interchange per Dispatch Interval – SPP Net Actual Interchange in Dispatch Interval i. |
| RtNetSchIntrchngSpp5minQty i | MW | Dispatch Interval | Real-Time SPP Net Scheduled Interchange per Dispatch Interval – SPP Net Actual Interchange in Dispatch Interval i. |
| RtMec5minPrc i | $/MW | Dispatch Interval | Marginal Energy Component of Real-Time LMP per Dispatch Interval – The Real-Time LMP MEC in Dispatch Interval i. |
| RtJoaHrlyAmt a, h, f | $ | Hour | Real-Time Joint Operating Agreement Hourly Amount - The value calculated under Section 4.5.9.21. |
| RtRegNonPerfDistMpAmt m, d | $ | Operating Day | Real-Time Regulation Non-Performance Distribution Amount - The value calculated under Section 4.5.9.16. |
| RtCRDeplFailDistMpAmt m, d | $ | Operating Day | Real-Time Contingency Reserve Deployment Failure Distribution Amount - The value calculated under Section 4.5.9.18. |
| RtRegUpDistMpAmt m, d | $ | Operating Day | Real-Time Regulation-Up Distribution Amount – The value calculated under Section 4.5.9.11. |
| RtRegDnDistMpAmt m, d | $ | Operating Day | Real-Time Regulation-Down Distribution Amount – The value calculated under Section 4.5.9.12. |
| RtSpinDistMpAmt m, d | $ | Operating Day | Real-Time Spinning Reserve Distribution Amount – The value calculated under Section 4.5.9.13. |
| RtSuppDistMpAmt m, d | $ | Operating Day | Real-Time Supplemental Reserve Distribution Amount – The value calculated under Section 4.5.9.14. |
| RtRsgDistMpAmt m, d | $ | Operating Day | Real-Time Reserve Sharing Group Distribution Amount – The amount calculated under Section 4.5.9.23. |
| RtDRMpAmt m, d | $ | Operating Day | Real-Time Demand Reduction Amount per Market Participant per Operating Day – The amount calculated under Section Error! Reference source not found. |
| RtDRDistMpAmt m, d | $ | Operating Day | Real-Time Demand Reduction Distribution Amount per Market Participant per Operating Day – The amount calculated under Section 4.5.8.22. |
| RtRsgDlyAmt a, d | $ | Operating Day | Real-Time Reserve Sharing Group Amount – The amount calculated under Section 4.5.9.22. |
| MiscDlyAmt a, c, d | $ | Operating Day | Real-Time Miscellaneous Amount per AO per Charge Type per Operating Day – The miscellaneous amount to AO a for charge type c in Operating Day d as described under Section 4.5.10.4. |
| RtRnuDlyAmt a, s, d | $ | Operating Day | Real-Time Revenue Neutrality Uplift Amount per AO per Settlement Location per Operating Day– The amount for revenue neutrality to AO a at Settlement Location s in Operating Day d. |
| RtRnuAoAmt a, m, d | $ | Operating Day | Real-Time Revenue Neutrality Uplift Amount per AO per Operating Day – The amount for revenue neutrality to AO a associated with Market Participant m in Operating Day d. |
| RtRnuMpAmt m, d | $ | Operating Day | Real-Time Revenue Neutrality Uplift Amount per MP per Operating Day – The amount for revenue neutrality to MP m in Operating Day d. |
| GFARevInadqcSppAmt spp, d | $ | Operating Day | Grandfathered Agreement Carve-Out Revenue Inadequacy Daily Amount – The amount of charges and credits to GFA Carve-Out responsible entities on an SPP-wide basis from the settlement of Day-Ahead Asset & Non-Asset Energy, Day-Ahead Over-Collected Losses Distribution, Transmission Congestion Rights Funding & Uplift, Transmission Congestion Rights Auction and Auction Revenue Rights & Uplift amount for Operating Day d. |
| DaGFACarveOutDistMpDlyAmt m, d | $ | Operating Day | Day Ahead GFA Carve Out Distribution Daily Amount per MP per Operating Day – The value calculated under Section 4.5.8.26 |
| a | none | None | An Asset Owner. |
| s | none | none | A Resource Settlement Location. |
| h | none | none | An Hour. |
| i | none | none | A Dispatch Interval. |
| t | none | none | A single tagged Interchange Transaction, a single virtual energy transaction, a single Bilateral Settlement Schedule, a single contracted Operating Reserve transaction, a single TCR instrument, a single ARR award or a single Reserve Sharing Event transaction. |
| f | none | none | A flowgate identified in the applicable JOA. |
| D | none | none | An Operating Day. |
| Rnu | none | none | A flag which instructs the settlement system to include the amount in Revenue Neutrality Uplift calculations (1 = Y, 0 = N). |
| M | none | none | A Market Participant. |

### 5.2.3	Simultaneous Feasibility

A Simultaneous Feasibility Test (SFT) analysis is performed in each round to ensure that the nominated candidate ARRs, with nominated candidate ARR MW modeled as generation injection at the source and a corresponding load withdrawal at the sink, do not violate any normal transmission line thermal ratings under normal system conditions and do not violate short-term Emergency transmission line thermal ratings following a single contingency (N-1 contingency analysis).  The SFT is performed consistent with the transmission system loading analysis that is performed as part the Security Constrained Economic Dispatch process in the DA Market and includes consideration of the impact of Parallel Flow.

- The SPP Transmission System topology used in the SFT is the most up-to-date Network Model for all allocation periods, updated for forecasted transmission topology changes including planned maintenance outages.

- For withdrawals at Settlement Locations containing more than one PNode, SPP will distribute the Settlement Location withdrawal down to the PNode level using load distribution percentages from the peak hour of the corresponding most recent historical period (i.e. June, July, August, September, Fall, Winter and Spring).  These load distribution percentages are calculated using the methodology described under Section 4.1.2.1.6.

- For injections at Market Hubs, SPP will distribute the hub injection down to the PNode level on a pro-rata basis using the weighting factors defined when the hub is created.

- For GFA Carve Outs that will be nominated, an injection at the source and a corresponding withdrawal at the sink will be included in the Annual ARR Allocation Process and will be subject to SFT.  The capacity used in the allocation will be the maximum allowable nomination as defined in section 5.2.2

- Prior to assessing simultaneous feasibility, the normal and emergency ratings of all flowgates and monitored transmission system elements are adjusted as follows to arrive at an SPP Residual Transmission System Capability:

- Adjusted Monitored Transmission Line Rating (normal and Emergency) =

(Monitored Transmission Line Rating (normal and Emergency – Parallel Flow impact)

- Adjusted Flowgate Rating (normal and Emergency) =

(Flowgate Rating – Parallel Flow impact)

Every six (6) months for the first two (2) years after implementation of the Integrated Marketplace, SPP will analyze the net funding of TCRs through the Day-Ahead Market and report to the MWG.  In the event the cumulative funding is at or below 90% or above 100%, MWG may approve an additional adjustment of all subsequent monthly auctions and the month of June in the annual auction of the normal and emergency ratings of all flowgates and monitored transmission system elements in (2) above.

Revised Proposed Tariff Language Revision

      - Attachment AE

      - 1.1	Definitions G

GFA Responsible Entity

An entity designated by agreement of the parties to a GFA or, absent such agreement, the Transmission Owner under such GFA that is registered or shall register as a Market Participant and is financially responsible for all Day-Ahead and transactional costs applicable to a GFA Carve Out under this Tariff.

7.0	Transmission Congestion Rights Markets

The TCR Markets process includes an annual ARR allocation, annual and monthly TCR auctions and a monthly ARR allocation in accordance with the timelines specified in the Market Protocols.  The TCR Markets process is subject to review by the Market Monitor.  ARRs are obtained by Eligible Entities during the annual ARR allocation or the monthly ARR allocation.  TCRs are obtained by Market Participants through the annual and monthly TCR auctions.

There are seven (7) key processes associated with ARRs and TCRs:

(1)	Annual ARR verification;

(2)	Annual ARR allocation;

(3)	Annual TCR auction;

(4)	Monthly ARR allocation;

(5)	Monthly TCR auction;

(6)	ARR allocation and TCR auction settlements; and

(7)	TCR secondary markets.

Table 7-1 in Section 7.3.2 of this Attachment AE provides additional details related to auction timing and Transmission System capability available for the TCR auctions.

(b) Except as otherwise provided in this Section 7.0.b (ii), an entity taking firm transmission service under a GFA Carve Out will not be eligible to participate in the TCR Markets for the MW capacity associated with the GFA Carve Out.

- The MW capacity associated with each GFA Carve Out shall be included in the Transmission Provider’s ARR allocation and TCR auction processes in a manner that reflects the transmission service pursuant to the GFA Carve Out, provided, however, that (A) Candidate ARRs associated with the GFA Carve Out service shall not be nominated for a product period if, based upon the twelve preceding months for which congestion data is available, such ARR, had it been converted to a TCR, would have resulted in a net charge to the holder of the TCR over that product period, and (B) until twelve months of Integrated Marketplace data are available, the Transmission Provider shall use relevant data from both the EIS Market and the Integrated Marketplace to estimate whether the result would have been a net charge to the TCR holder.

(ii)	On an annual basis, the GFA Responsible Entity may elect, in writing, to cancel the GFA Carve Out treatment and will be eligible to participate in the TCR Markets pursuant to Section 7.0 of Attachment AE. The conversion of GFA Carve Out to the TCR Market is irrevocable.

8.2.2 GFA Carve Out

A Market Participant receiving GFA Carve Out shall not be charged for the cost of congestion and cost of marginal losses in the Day-Ahead Market for the amount of actual energy (MWh) transacted as specified in the GFA Carve Out Schedule.

(a)	GFA Carve Out is only available to the extent that the Resources are offered into the Day-Ahead Market using a commit status as described in Section 4.1(10) (a) or (b) of this Attachment AE.  To the extent the source is external, an Import Interchange Transaction must be submitted in the Day-Ahead Market with sufficient capacity to cover the GFA Carve Out Schedule.

(b)	The Transmission Provider will remove charges for cost of congestion and cost of marginal losses from the Settlement Statement  as provided in Section 10.1(5) of Attachment AE, only if the GFA Responsible Entity submits a  GFA Carve Out Schedule and E-Tag (as applicable) according to the procedures specified in Section 8.2.2.1 of Attachment AE for the Day-Ahead Market for the GFA Carve Out transaction, consistent with the GFA Settlement Locations, and within the maximum MW Capacity permissible under the GFA Carve Out.  The GFA Responsible Entity must update the GFA Carve Out Schedule after the close of the Day-Ahead Market with the actual energy transacted that corresponds to the GFA Carve Out.

(c)	The Transmission Provider shall account for the GFA Carve Out in the TCR Markets, but shall not allocate ARR or assign TCR to the GFA Responsible Entity for a GFA Carve Out.

(d)	The GFA Responsible Entity is responsible to coordinate the GFA Carve Out Schedule data and to ensure the consistency of the GFA Carve Out Schedules.  The Market Monitor will monitor GFA Carve Out Schedules in accordance with Section 4.6 of Attachment AG.

8.5.18 	Day-Ahead GFA Carve Out Daily Amount

A Day-Ahead Market credit or charge for exclusion of transactions associated with GFA Carve Outs from Marketplace settlement of congestion, losses and hedging instruments as described under Section 8.2.2 of this Attachment AE, is calculated each day for every Asset Owner modeled to represent a GFA Carve Out.  This Day-Ahead GFA Carve Out Daily Amount is calculated as follows:

Day-Ahead GFA Carve Out Daily Amount per Asset Owner = ((-1) * (Day-Ahead Asset Energy Amount + Day-Ahead Non-Asset Energy Amount + Transmission Congestion Rights Funding Amount + Transmission Congestion Rights Daily Uplift + Day-Ahead Over Collected Losses Distribution Amount + Transmission Congestion Rights Auction Daily Amount + Auction Revenue Rights Daily Amount + Auction Revenue Rights Daily Uplift Amount))

Where:

(1)	Day-Ahead Asset Energy Amount is equal to the daily sum of the hourly values calculated under Section 8.5.1(1) and 8.5.1(2) of this Attachment AE;

(2)	Day-Ahead Non-Asset Energy Amount is equal to the daily sum of the hourly values calculated under Section 8.5.1(3) of this Attachment AE;

(3)	Transmission Congestion Rights Funding Amount is equal to the daily sum of the hourly values calculated under Section 8.5.11 of this Attachment AE;

(4)	Transmission Congestion Rights Daily Uplift Amount is equal to the daily value calculated under Section 8.5.12 of this Attachment AE;

(5)	Day-Ahead Over-Collected Losses Distribution Amount is equal to the daily sum of the hourly values calculated under Section 8.5.16 of this Attachment AE;

(6)	Transmission Congestion Rights Auction Daily Amount is equal to the daily value calculated under Section 8.7.1 of this Attachment AE;

(7)	Auction Revenue Rights Daily Amount is equal to the daily value calculated under Section 8.7.2 of this Attachment AE; and

(8)	Auction Revenue Rights Daily Uplift Amount is equal to the daily value calculated under Section 8.7.3 of this Attachment AE.

8.5.19 	Day-Ahead GFA Carve Out Monthly Amount

A Day-Ahead Market credit or charge for exclusion of GFA Carve Outs from Marketplace settlement of Transmission Congestion Rights Monthly Payback Amount and Auction Revenue Rights Monthly Payback Amount, as described under Sections 8.5.13 and 8.7.4 of this Attachment AE, is calculated each month for every Asset Owner modeled to represent a GFA Carve Out.  This Day-Ahead GFA Carve Out Monthly Amount is calculated as follows:

Day-Ahead GFA Carve Out Monthly Amount per Asset Owner = ((-1) * (Transmission Congestion Rights Monthly Payback Amount + Auction Revenue Rights Monthly Payback Amount))

Where:

(1)	Transmission Congestion Rights Monthly Payback Amount is equal to the monthly value calculated under Section 8.5.13 of this Attachment AE; and

(2)	Auction Revenue Rights Monthly Payback Amount is equal to the monthly value calculated under Section 8.7.4 of this Attachment AE.

8.5.20 	Day-Ahead GFA Carve Out Yearly Amount

A Day-Ahead Market credit or charge for exclusion of GFA Carve Outs from Marketplace settlement of Transmission Congestion Rights Yearly Payback Amount, Transmission Congestion Rights Yearly Closeout Amount, Auction Revenue Rights Yearly Payback Amount and Auction Revenue Rights Yearly Closeout Amount, as described under Sections 8.5.14, 8.5.15, 8.7.5 and 8.7.6 of this Attachment AE, is calculated each year for every Asset Owner modeled to represent a GFA Carve Out.  This Day-Ahead GFA Carve Out Yearly Amount is calculated as follows:

Day-Ahead GFA Carve Out Yearly Amount per Asset Owner = ((-1) * (Transmission Congestion Rights Yearly Payback Amount + Transmission Congestion Rights Yearly Closeout Amount + Auction Revenue Rights Yearly Payback Amount + Auction Revenue Rights Yearly Closeout Amount))

Where:

(1)	Transmission Congestion Rights Yearly Payback Amount is equal to the yearly value calculated under Section 8.5.14 of this Attachment AE;

(2)	Transmission Congestion Rights Yearly Closeout Amount is equal to the yearly value calculated under Section 8.5.15 of this Attachment AE;

(3)	Auction Revenue Rights Yearly Payback Amount is equal to the yearly value calculated under Section 8.7.5 of this Attachment AE; and

(4)	Auction Revenue Rights Yearly Closeout Amount is equal to the yearly value calculated under Section 8.7.6 of this Attachment AE.

8.5.21 	GFA Carve Out Distribution Daily Amount

The Transmission Provider shall perform the following calculation for each day for each Asset Owner and Settlement Location to ensure that the Day Ahead GFA Carve Out Daily Amount is distributed to all non GFA Carve Out load on a daily load ratio share basis, and that the Transmission Provider is revenue neutral.

GFA Carve Out Distribution Daily Amount =

GFA Revenue Inadequacy Daily Amount * Asset Owner Daily Distribution Factor * (-1)

Where:

- The GFA Revenue Inadequacy Daily Amount is equal to the sum of all GFA Carve Out charges and payments calculated under Section 8.5.18 of this Attachment AE for that day; and

- An Asset Owner’s Daily Distribution Factor is equal to:

(a) 	The sum for all hours in the Operating Day of the Maximum of (i) zero or (ii) the Asset Owner’s hourly Reported Load plus hourly Export Interchange Transactions minus the Asset Owner’s hourly GFA Carve Out load;

Divided by,

(b)	The sum for all Asset Owners and Settlement Locations of the values calculated in Section 8.5.21(2)(a).

8.5.22 	GFA Carve Out Distribution Monthly Amount

The Transmission Provider shall perform the following calculation for each month for each Asset Owner and Settlement Location to ensure the Day Ahead GFA Carve Out Monthly Amount is distributed to all non GFA Carve Out load on a monthly load ratio share basis and that the Transmission Provider is revenue neutral.

GFA Carve Out Distribution Monthly Amount =

GFA Revenue Inadequacy Monthly Amount * Asset Owner Monthly Distribution Factor * (-1)

Where:

(1)	The GFA Revenue Inadequacy Monthly Amount is equal to the sum of all GFA Carve Out charges and payments calculated under Section 8.5.19 of this Attachment AE; and

(2)	An Asset Owner’s Monthly Distribution Factor is equal to:

(a) 	The sum for all hours in the month of the Maximum of (i) zero or (ii) the Asset Owner’s hourly Reported Load plus hourly Export Interchange Transactions minus the Asset Owner’s hourly GFA Carve Out load;

Divided by,

(b)	The sum for all Asset Owners and Settlement Locations of the values calculated in Section 8.5.22(2)(a).

8.5.23 	GFA Carve Out Distribution Yearly Amount

The Transmission Provider shall perform the following calculation for each year for each Asset Owner and Settlement Location to ensure the Day Ahead GFA Carve Out Yearly Amount is distributed to all non GFA Carve Out load on an annual load ratio share basis and that the Transmission Provider is revenue neutral.

GFA Carve Out Distribution Yearly Amount =

GFA Revenue Inadequacy Yearly Amount * Asset Owner Yearly Distribution Factor *

(-1)

Where:

(1)	The GFA Revenue Inadequacy Yearly Amount is equal to the sum of all GFA Carve Out charges and payments calculated under Section 8.5.20 of this Attachment AE; and

(2)	An Asset Owner’s Yearly Distribution Factor is equal to:

(a) 	The sum for all hours in the year of the Maximum of (i) zero or (ii) the Asset Owner’s hourly Reported Load plus hourly Export Interchange Transactions minus the Asset Owner’s hourly GFA Carve Out load,

divided by:

(b)	The sum for all Asset Owners and Settlement Locations of the values calculated in Section 8.5.23(2)(a) of this Attachment AE.

8.9 	GFA Carve Out Uplift

The Transmission Provider shall determine the congestion charges and marginal loss charges related to the GFA Carve Outs. Subject to Section 7.0(b)(i) of this Attachment AE, these charges will be offset by the ARR/TCR settlement that would have been claimed for each GFA Carve Out under the normal ARR/TCR process and by the distribution of associated Marginal Loss Overcollection funds.  The Transmission Provider shall perform calculations in accordance with Sections 8.5.18 through 8.5.23 of this Attachment AE to ensure that the Transmission Provider is revenue neutral for the expense or credit attributed to GFA Carve Out Schedules.  The Transmission Provider shall calculate uplift charges or credits on a load ratio share basis to each Market Participant for all load Asset Owners it represents, excluding from such calculations all load served under GFA Carve Out Schedules.  The Daily, Monthly, and Yearly GFA Carve Out Uplift Distribution Amounts shall not be charged or credited to a GFA Carve Out Responsible Entity to the extent of load it serves under GFA Carve Out Schedules.

ATTACHMENT AG

Market Monitoring Plan

4.6 	Monitoring for Market Participant Behavior Possibly Warranting Mitigation

The Market Monitor shall monitor Markets and Services for potential abuse associated with the following categories of Market Participant behavior: (1) economic withholding; (2) uneconomic production; (3) physical withholding; (4) uneconomic Virtual Bids and Virtual Offers; and (5) gaming related to GFA Carve Out Schedules.  The mitigation measures for each of the behaviors identified in items (1) through (4) of this paragraph are described in Attachment AF. When the Market Monitor determines that there is sufficient credible information about a specific abusive practice, the issue will be referred to the Commission’s Office of Enforcement (or its successor organization).  Nothing in this section shall limit the Market Monitor’s obligation to refer other suspected market violations to the Commission’s Office of Enforcement, even where suspected behavior does not fall explicitly within the abovementioned categories or descriptions.

Revised Proposed Criteria Language Revision

N/A