PRR Recommendation Report

| PRR No. | 171 | PRR Title | LTCR Clarifications |
| --- | --- | --- | --- |
| Timeline |  | Normal Expedited Urgent Action Provide explanation if Expedited and/or Urgent Action is selected: |  |
| Recommendation Action |  | Approve Reject Require additional information Defer Refer |  |
| Rating-Ranking |  | Rating – Ranking Rating: 1 – FERC Compliance 2 – Defect – 3 – Member Request 4 – Other |  |
| Impact Analysis Required |  | Yes – If yes, estimated cost: No SPP Staff will complete this section. |  |
| Protocol Section(s) Requiring Revision |  | Section No.: 3.2; 5; 5.1.1; 5.1.2; 5.2.6; 5.3.3; 5.3.4; 5.4.1; 5.4.4; 5.5.2; 5.5.3; 5.6.3; Title: Transmission Congestion Rights Markets; Transmission Congestion Rights Markets Process; Transmission Service Verification; Candidate LTCRs/ARRs; LTCR Selections and Awards; Simultaneous Feasibility; Annual ARR Awards; TCR Bid and Offer Submittal; Annual TCR Awards; Monthly ARR Nominations; Simultaneous Feasibility; Monthly TCR Auction Clearing and Simultaneous Feasibility; Protocol Version: 19.1 |  |
| Type of Revision |  | Correction/Clean-Up Clarification Design Enhancement Design Change |  |
| Revision Description |  | These changes preserve the original intent of the MPRR 138 design by directly converting awarded LTCRs into TCRs prior to the ARR Annual Allocation. These TCRs are then directly modeled as fixed injections and withdrawals as an input into both the Annual ARR Allocation and Annual TCR Auction. This change ensures that LTCRs holder receive their LTCRs at zero cost and allows the associated TCRs to be resold in the Annual TCR Auction. Changes are also included that clarify that total LTCR selection is limited to a maximum amount. |  |
| Tariff Implications or Changes |  | Yes – Section No: (Include a summary of impact and/or specific changes) Attachment AE Section 1.1 Definitions; 7.0 Transmission Congestion Rights Markets; 7.1.1 Transmission Service Verification; 7.1.2 Candidate Long-Term Congestion Rights/Auction Revenue Rights; 7.1.3 Auction Revenue Right Nomination Cap; 7.2 Annual Long-Term Congestion Right Allocation; 7.2.4 LTCR Selection and Awards; 7.3.3 Annual Auction Revenue Right Awards; 7.4 Annual Transmission Congestion Right Auction; 7.4.3 Annual Transmission Congestion Right Auction Clearing and Simultaneous Feasibility; 7.6.3 Monthly Auction Revenue Right Nominations; No |  |
| Criteria Impact or Changes |  | Yes – Section No: (Include a summary of impact and/or specific changes) No |  |
| Working Group |  | Voting Record |  |
| MWG |  | Date of Vote: 3/18/2014 Vote: Unanimously Approved |  |
| RTWG |  | Date of Vote: 3/26/2014 Vote: Approved with modifications Abstained: NPPD |  |
| ORWG |  | Date of Vote: 4/3/2014 Vote: Unanimously Approved with no Reliability Impact |  |
| CAWG |  | Date of Vote: 4/2/2014 Vote: Unanimously Approved |  |
| MOPC |  | Date of Vote: 4/15/2014 Vote: Approved Abstained: ITC Great Plains |  |
| RSC |  | Date of Vote: 4/28/14 Vote: Unanimously Approved |  |
| Board/Members Committee |  | Date of Vote: 4/29/2014 Vote: Approved by the Board Unanimously Approved by Members Committee |  |

| Date | 3/12/2014 |
| --- | --- |

| Sponsor |  |
| --- | --- |
| Name | Debbie James |
| E-mail Address | djames@spp.org |
| Company | Southwest Power Pool |
| Phone Number | 501.614.3577 |

| Comments Received |  |
| --- | --- |
| Comment Author | Micha Bailey on behalf of MWG |
| Date | 3/18/2014 |
| Comment Description | Language was added to Section 5.3.3(2). This new language helps clarify what happens to TCRs associated with LTCRs that have not been surrendered. Language was added to Section 5.5.2 for Monthly ARR Nominations. This new language clarifies how the nomination process is currently working now. |
| Comment Status | The MPRR was approved as modified in these comments. The approved language is reflected in this recommendation report. |

| Comments Received |  |
| --- | --- |
| Comment Author | Brenda Fricano on behalf of RWTG |
| Date | 3/26/2014 |
| Comment Description | Section 5 Transmission Congestion Rights Markets Process of the Protocols had some language left in it that allowed an ARR associated with LTCR to be converted into TCRs and then sold in the same auction. The ARR process cannot support a buy and a sell in the same auction. This language was removed. RTWG made some corrections to Attachment AE. RTWG restructured Section 7.2.4 LTCR Selection and Awards (4) and created (5). RTWG restructured Section 7.6.3 Monthly Auction Revenue Right Nominations into the four different products instead of one paragraph. |
| Comment Status |  |

Proposed Protocol Language Revision

## 3.2	Transmission Congestion Rights Markets

The structure of the TCR Markets includes allocation of Long-Term Congestion Rights (LTCRs) to Eligible Entities and annual and monthly nomination and allocation of Auction Revenue Rights (ARRs) to Eligible Entities followed by annual and monthly TCR Auctions.  Eligible Entities for ARRs include Transmission Customers with firm SPP transmission service and entities with firm non-SPP transmission service (commonly referred to as a “grandfathered agreement or GFA”) into, out of, within or through the SPP Region that have identified such service during the annual LTCR/ARR verification process.  Eligible Entities for LTCRs include Transmission Customers with qualifying firm SPP transmission service and entities with qualifying firm non-SPP transmission service (commonly referred to as a “grandfathered agreement or GFA”) into, out of, within and through the SPP Region that have identified such qualifying service during the annual LTCR/ARR verification process. Entities with firm non-SPP transmission service (GFA) must agree between the parties as to which party is eligible to nominate LTCRs and/or ARRs.  Additionally, Eligible Entities may request NITS, GFA NITS, FPTP and/or GFA FPTP Candidate ARRs for firm transmission service confirmed following completion of the annual TCR auction.

Key features of the annual LTCR allocation process include:

- Eligible Entities are awarded LTCRs that apply to the entire TCR year.  Load Serving Entities (LSEs) are awarded LTCRs prior to consideration of LTCR awards for Eligible Entities that are not LSEs.  Candidate LTCRs are only associated with eligible long-term firm transmission service with rollover rights;

- All Candidate LTCRs are modeled in order to determine simultaneous feasibility of the Candidate LTCRs.  LTCRs are only awarded up to the selected amount of simultaneously feasible Candidate LTCRs;

  - Candidate LTCRs are evaluated for simultaneous feasibility for flows in the prevailing direction only with no simultaneous consideration of LTCR flows in the opposite direction (i.e. counterflow is not considered in the feasibility analysis);

  - 50% of the SPP transmission system capability is available for allocation;

- Awarded LTCRs are of the obligation type which means that the TCRs associated with the awarded LTCR could result in a payment or charge to the TCR holder in the Day-Ahead Market settlement of TCRs;

  - Once awarded, the awarded LTCRs are guaranteed in subsequent years as long as the associated long-term firm SPP transmission service reservation remains in effect;

  - Awarded LTCRs may be surrendered in subsequent years at the Market Participant's request;

(4) 	Awarded LTCRs are directly converted to TCRs prior to the annual ARR allocation for the current allocation year.

Key features of the annual ARR allocation process include:

- Eligible Entities nominate candidate ARRs separately for On-Peak and Off-Peak periods each month and season of the annual period in a three-round process;

- Nominated candidate ARRs are awarded up to the amount that is simultaneously feasible;

- 100% of the SPP transmission system capability is available for allocation;

  - All awarded LTCRs are directly converted to TCRs and are accounted for prior to assessing nominated ARR feasibility;

  - Awarded ARRs are of the obligation type which means that the awarded ARR could result in a payment or charge to the ARR holder.

- Holders of ARRs receive positive or negative revenue resulting from the annual and monthly TCR auctions, including those ARRs that were self-converted to TCRs.    Positive auction revenue results when the sink Auction Clearing Price (ACP) is greater than the source ACP for a given ARR.  Negative revenue results when the sink ACP is less than the source ACP, in other words, a counterflow ARR.

- For the annual TCR auction, the amount of ARRs eligible to receive auction revenues is equal to the greater of ARRs self-converted to TCRs or the amount of ARRs awarded multiplied by the following percentages:  June – 100%; July through September, 90%; and Fall, Winter, Spring – 60%.

- For the monthly TCR auction for the months of July through September, the amount of ARRs eligible to receive auction revenues is equal to the amount of ARRs awarded in the monthlyARR allocation process plus: the lesser of (i) 10% of the annual ARR award or (ii) the difference between the annual ARR award and the amount of self-converted TCRs in the annual TCR auction;

- For the monthly TCR auction for the months of October through May, the amount of ARRs eligible to receive auction revenues is equal to the amount of ARRs awarded in the monthly ARR allocation process plus: the lesser of (i) 40% of the annual ARR award or (ii) the difference between the annual ARR award and the amount of self-converted TCRs in the annual TCR auction.

Key features of the annual TCR auction include:

- Any Market Participant that meets the applicable credit requirements may submit TCR Bids to purchase and/or TCR Offers to sell separately for On-Peak and Off-Peak periods in the annual TCR auction for each month and season in the annual period;

  - TCRs directly converted from LTCRs may be offered for sale in the annual or monthly TCR auction process;

- TCRs are of the obligation type which means that the awarded TCR could result in a payment or charge to the TCR holder in the DA Market settlement;

- The annual TCR auction is a single round process for the month of June that makes 100% of the available SPP transmission system capability available, is a single round process for the months of July, August and September that makes 90% of the available SPP transmission system capability available and is a single round process for the Fall, Winter and Spring seasons that makes 60% of the available SPP transmission system capability available;

- Market Participants who have TCR bids cleared in the annual TCR auction will be charged (or get paid in the case of a counter-flow TCR) based on the amount of TCR MWs cleared and the annual TCR auction clearing prices associated with the source and sink of the purchased TCR;

- Market Participants who have TCR offers cleared in the annual TCR auction will be paid (or get charged in the case of a counter-flow TCR) based on the amount of TCR MWs cleared and the annual TCR auction clearing prices associated with the source and sink of the TCR sold;

- Market Participants holding ARRs may self-convert their ARRs into TCRs for the applicable period subject to simultaneous feasibility.  TCRs from self-converted ARRs are included as awarded TCRs.

Key features of the monthly ARR allocation include:

- SPP verifies new firm transmission service reservations and performs a monthly ARR allocation process beginning five days prior to the applicable monthly TCR auction process.

  - Eligible Entities may nominate candidate ARRs from their verified NITS Candidate ARRs not to exceed the difference between their NITS ARR Nomination Cap and those ARRs awarded in the annual ARR allocation process;

  - Eligible Entities may nominate candidate ARRs from their verified FPTP Candidate ARRs not to exceed the difference between their FPTP Nomination Cap and those ARRs awarded in the annual ARR allocation processes;

  - Eligible Entities may nominate candidate ARRs from their verified GFA NITS Candidate ARRs not to exceed the difference between their GFA NITS Nomination Cap and those ARRs awarded in the annual ARR allocation process;

  - Eligible Entities may nominate candidate ARRs from their verified GFA FPTP Candidate ARRs not to exceed the difference between their GFA FPTP Nomination Cap and those ARRs awarded in the annual ARR allocation process;

  - Nominated candidate ARRs are awarded up to the amount that is simultaneously feasible;

  - All TCRs previously awarded in the Annual TCR Auction Process and all remaining ARRs not accounted for in the Annual TCR Auction Process for the applicable month are modeled as fixed injections at the specified sources and fixed withdrawals at the specified sinks prior to assessing nominated candidate ARR feasibility.

- Awarded ARRs are of the obligation type which means that the awarded ARR could result in a payment or charge to the ARR holder; and

- 100% of the SPP transmission system capability is available for allocation.

Key features of the monthly TCR auction include:

- The monthly TCR auction process allows any Market Participants that have met the applicable credit requirements to submit TCR Bids to purchase additional TCRs or TCR Offers to sell currently held TCRs in a single-round process for the months of July, August and September and in a two-round process for the months of October through May;

- 100% of the SPP transmission system capability is made available; and

- Market Participants may self-convert their remaining ARRs (including ARRs remaining from the annual TCR auction process and ARRs awarded in the monthly ARR allocation process) into TCRs for the applicable period subject to simultaneous feasibility.

Exhibit 3-3 provides an overview of the TCR Markets structure.

Exhibit 3-3: Overview of TCR Markets Structure

The TCR Markets are operated in parallel with the timeline depicted in Exhibit 3-2 to ensure the Market Participants are able to obtain TCRs prior to DA Market operation.  A representative timeline for the TCR Market processes is shown in Exhibit 3-4.

Exhibit 3-4: LTCR/ARR Allocation/TCR Auction Processes Timeline

The Energy and Operating Reserve Markets processes are described in detail in Section 4 and the TCR Markets processes are described in detail in Section 5.

# 5.	Transmission Congestion Rights Markets Process

The annual TCR Markets Process includes an annual LTCR allocation process, an annual and monthly ARR allocation process and annual and monthly TCR Auctions.

LTCRs are multi-year instruments, ARRs are annual, monthly or seasonal instruments, and TCRs are monthly and seasonal financial instruments whose values are determined as part of the DA Market settlement based on the MW amount of the TCR (including LTCRs converted to TCRs) and the DA Market differential of the Marginal Congestion Component of LMP between specified sinks and sources.  TCRs are of the obligation type which means they can result in a credit or a charge.  They provide a financial hedge against congestion costs in the DA Market as long as the MCC of the TCR sink Settlement Location is greater than the MCC of the TCR source Settlement Location.  If the MCC at the TCR sink Settlement Location is less than the MCC of the TCR source Settlement Location, the TCR holder is charged (this type of TCR is commonly referred to as a “Counter-Flow TCR”).  Awarded LTCRs are directly converted into TCRs prior to the annual ARR allocation for the current allocation year.

Auction Revenue Rights (ARRs) are obtained by Eligible Entities during the annual ARR allocation process and/or monthly ARR allocation process.  Holders of ARRs are entitled to receive the Annual and Monthly TCR Auction revenues associated with awarded TCR Bids.   However, ARRs are of the obligation type which means they can result in the holder receiving a portion of the TCR auction revenues or contributing to the TCR auction revenues.  .

TCRs are obtained by Market Participants through the annual LTCR allocation and the Annual and Monthly TCR Auctions.  Optionally, ARR holders may convert their ARRs into TCRs in the Annual and Monthly TCR Auctions and either hold the TCRs or offer these TCRs for sale in the auctions.

The TCR Markets Process is subject to review by the Market Monitor, consistent with Attachment AG of the SPP OATT.

There are 8 key steps associated with obtaining an LTCR or TCR and/or offering an awarded LTCR or TCR for sale.

- Annual LTCR/ARR Verification Process;

- Annual LTCR Allocation Process;

- Annual ARR Allocation Process;

- Annual TCR Auction Process;

- Monthly ARR Allocation Process;

- Monthly TCR Auction Process;

- ARR Allocation and TCR Auction Settlements; and

- TCR Secondary Markets.

Exhibit 5-1 provides an overall representative timeline related to the LTCR Allocation, ARR Allocation and TCR Auction processes and Exhibit 5-2 provides additional details related to auction timing and available transmission system capability of the TCR Auction processes.

Exhibit 5-1: LTCR/ARR Allocation and TCR Auction Processes Timeline

Exhibit 5-2: TCR Auction Processes Summary

| Auction Month | Auction Type | TCR Award Periods |  |  |  |  |  |  | TCR Products | Auction Rounds | Total Auctions |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| May Annual (System Capability %) |  | Jun (100) | Jul (90) | Aug (90) | Sep (90) | Fall (60) | Winter (60) | Spring (60) | On-Peak/ Off-Peak | 1 | 14 |
| Jun Monthly (System Capability %) |  | Jul (100) |  |  |  |  |  |  | On-Peak/ Off-Peak | 1 | 2 |
| Jul Monthly (System Capability %) |  | Aug (100) |  |  |  |  |  |  | On-Peak/ Off-Peak | 1 | 2 |
| Aug Monthly (System Capability %) |  | Sep (100) |  |  |  |  |  |  | On-Peak/ Off-Peak | 1 | 2 |
| Sep Monthly (System Capability %) |  | Oct (100) |  |  |  |  |  |  | On-Peak/ Off-Peak | 2 | 4 |
| Oct Monthly (System Capability %) |  | Nov (100) |  |  |  |  |  |  | On-Peak/ Off-Peak | 2 | 4 |
| Nov Monthly (System Capability %) |  | Dec (100) |  |  |  |  |  |  | On-Peak/ Off-Peak | 2 | 4 |
| Dec Monthly (System Capability %) |  | Jan (100) |  |  |  |  |  |  | On-Peak/ Off-Peak | 2 | 4 |
| Jan Monthly (System Capability %) |  | Feb (100) |  |  |  |  |  |  | On-Peak/ Off-Peak | 2 | 4 |
| Feb Monthly (System Capability %) |  | Mar (100) |  |  |  |  |  |  | On-Peak/ Off-Peak | 2 | 4 |
| Mar Monthly (System Capability %) |  | Apr (100) |  |  |  |  |  |  | On-Peak/ Off-Peak | 2 | 4 |
| Apr Monthly (System Capability %) |  | May (100) |  |  |  |  |  |  | On-Peak/ Off-Peak | 2 | 4 |

Key process and design assumptions of each of these eight (8) key steps are described in the following sub-sections.

### 5.1.1	Transmission Service Verification

In order for Eligible Entities to obtain candidate LTCRs and/or ARRs, SPP must first verify existing transmission service entitlements, including transmission service entitlements which have been renewed in accordance with rollover rights since their initial term.  In order to qualify for candidate LTCRs, an Eligible Entity’s firm transmission service must contain rollover rights and must span the entire allocation year.  In order to qualify for candidate ARRs in a particular month and/or season, an Eligible Entity’s transmission service must span the entire monthly or seasonal period within the applicable allocation year.  For Transmission Service with rollover rights whose deadline for providing notice of rollover occurs after the annual LTCR/ARR verification but before June 1, the Transmission Provider shall assume that the rollover will occur and shall consider the Transmission Service entitlement to span the entire allocation year, provided, however, that, if rollover rights for such Transmission Service are not exercised by the applicable deadline, any ARRs, TCRs, or LTCRs associated with such Transmission Service shall revert to the Transmission Provider effective on the date such Transmission Service terminates. SPP will verify each Eligible Entity's existing transmission service entitlements as follows:

- For Eligible Entities taking Network Integration Transmission Service (NITS) and/or Firm Point-To-Point Transmission Service (FPTP) under the SPP Tariff:

  - SPP will obtain source, sink and Reserved Capacity information from the SPP OASIS for each monthly and seasonal period for the applicable year in which the transmission service spans the entire period for ARR purposes and for the annual period for the applicable year for LTCR purposes, or would if or when rolled over;

  - Eligible Entities taking NITS with rollover rights shall be considered an LSE for purposes of LTCR allocation;

  - Eligible Entities taking FPTP service with rollover rights shall not be considered an LSE for that service unless the Eligible Entity provides an attestation to SPP confirming that the Eligible Entity is an LSE as defined in Attachment AE of the Tariff for such service;

  - For a TSR with a source inside the SPP Market that is not a specific Resource or Resource Hub, the load Settlement Location that most closely corresponds to the source on the reservation will be utilized as the source for candidate LTCRs and/or ARRs.  Eligible Entities may create Resource specific TSRs that represent their current TSRs using the process described under Section 5.1.1.1;

  - For a TSR with a source outside of the SPP Market, the Interface Settlement Location associated with the Balancing Authority of the source will be utilized as the source for candidate LTCRs and/or ARRs;

  - For a TSR with a sink outside of the SPP Market, the Interface Settlement Location associated with the Balancing Authority of the sink will be utilized as the source for candidate LTCRs and/or ARRs;

  - SPP will provide this information to each Eligible Entity for verification;

  - Eligible Entities will notify SPP within two (2) weeks following receipt of this information identifying and correcting inaccurate data.  Otherwise, the SPP provided data will be considered verified.

- For Eligible Entities taking GFA service without Carve Out treatment:

  - If the transmission customer under the GFA desires to nominate ARRs associated with the GFA sources and sinks identified in the Grandfathered Agreement, the GFA Parties must register such GFA with SPP and provide sources, sinks and reserved capacity information.  SPP will obtain source, sink and reservation capacity information from the GFA registration for each monthly and seasonal period for the applicable year in which the transmission service spans the entire period;

  - Eligible Entities taking the equivalent of SPP NITS with rollover rights shall be considered an LSE for purposes of LTCR allocation;

  - Eligible Entities taking the equivalent of SPP FPTP service with rollover rights shall not be considered an LSE for that service unless the Eligible Entity provides an attestation to SPP confirming that the Eligible Entity is an LSE as defined in Attachment AE of the Tariff for such service;

  - For a GFA with a source inside the SPP Market that is not a specific Resource or Resource Hub, the load Settlement Location that most closely corresponds to the source on the reservation will be utilized as the source for candidate LTCRs and/or ARRs;

  - For a GFA with a source outside of the SPP Market, the interface associated with the Balancing Authority of the source will be utilized as the source for candidate LTCRs and/or ARRs;

  - For a GFA with a sink outside of the SPP Market, the interface associated with the Balancing Authority of the sink will be utilized as the sink for candidate LTCRs and/or ARRs;

  - In addition, the parties to the GFA must agree that the transmission customer under the GFA is eligible to nominate the LTCRs and/or ARRs associated with the GFA and both parties must confirm such with SPP.  To the extent that the transmission service specified in the GFA is identified as the equivalent of SPP NITS, the transmission customer under the GFA must provide the historical non-coincident peak loads (“GFA Annual Peak Load”) being served under the GFA for the previous three years.

- For entities that have been granted GFA Carve Out treatment:

  - GFAs with GFA Carve Out treatment are not eligible for candidate ARRs;

  - The parties to the GFA must register the GFA with SPP, identify the GFA Responsible Entity, and provide source, sink and reserved capacity information.  SPP will obtain source, sink and reserved capacity information from the GFA registration for each monthly and seasonal period for the applicable year in which the transmission service spans the entire period;

  - To the extent that the transmission service specified in the GFA Carve Out is identified as the equivalent of SPP NITS, the transmission customer under the GFA must provide the historical non-coincident annual peak loads (“GFA Annual Peak Load”) being served under the GFA for the previous three years.

### 5.1.2	Candidate LTCRs/ARRs

Following verification of Eligible Entity transmission service, candidate LTCRs and ARRs associated with such transmission service are assigned as follows:

- For each Eligible Entity with NITS, the Eligible Entity’s NITS Candidate LTCRs and/or ARRs from a specific source is equal to the source Reserved Capacity.

  - An Eligible Entity may select NITS Candidate LTCRs, as described under Section 5.2.6 from a specific source to one or more sinks up to the amount of its available NITS Candidate  LTCRs associated with the source such that the total of such selections does not exceed the lesser of the sum of NITS Candidate LTCRs or the limit described under Section 5.1.3(1)(b) for that Eligible Entity ;

  - An Eligible Entity may nominate NITS Candidate ARRs, as described under Section 5.3.1 from a specific source to one or more sinks up to the amount of its NITS Candidate ARRs associated with the source subject to the total nomination limit described under Section 5.1.3.

- For each Eligible Entity with FPTP service, the Eligible Entity’s FPTP Candidate LTCRs and/or ARRs for a specific source and sink is equal to the Reserved Capacity associated with that source and sink.

  - An Eligible Entity may select FPTP Candidate LTCRs, as described under Section 5.2.6, for this specific source and sink up to the amount of its available FPTP Candidate LTCRs such that the total of such selections does not exceed the total FPTP Candidate LTCRs available for that Eligible Entity.

  - An Eligible Entity may nominate FPTP Candidate ARRs, as described under Section 5.3.1, for this specific source and sink up to the amount of its FPTP Candidate ARRs subject to the total nomination limit described under Section 5.1.3

- For each Eligible Entity with equivalent NITS GFA service, the Eligible Entity’s GFA NITS Candidate LTCRs and/or ARRs from a specific source  is equal to the source Reserved Capacity.

  - An Eligible Entity may select GFA NITS Candidate LTCRs, as described under Section 5.2.6, from a specific source to one or more sinks up to the amount of its available GFA NITS Candidate LTCRs such that the total of such selections does not exceed the lesser of the sum of GFA NITS Candidate LTCRs or the limit described under Section 5.1.3(3)(b) for that Eligible Entity;

  - An Eligible Entity may nominate GFA NITS Candidate ARRs, as described under Section 5.3.1, for this specific source and sink up to the amount of its GFA NITS Candidate ARRs subject to the total nomination limit described under Section 5.1.3;

- For each Eligible Entity with equivalent FPTP GFA service, the Eligible Entity’s GFA FPTP Candidate LTCRs and/or ARRs for a specific source and sink is equal to the Reserved Capacity associated with that source and sink.

  - An Eligible Entity may select GFA FPTP Candidate LTCRs, as described under Section 5.2.6, for this specific source and sink up to the amount of its available GFA FPTP Candidate LTCRs such that the total of such selections does not exceed the total GFA FPTP Candidate LTCRs available for that Eligible Entity.

  - An Eligible Entity may nominate GFA FPTP Candidate ARRs, as described under Section 5.3.1, for this specific source and sink up to the amount of its GFA FPTP Candidate ARRs subject to the total nomination limit described under Section 5.1.3.

### 5.2.6	LTCR Selections and Awards

(1)	All previously awarded LTCRs associated with qualified transmission service as verified under Section 5.1.1 and which were not surrendered, as described under Section 5.2.1, are automatically awarded as LTCRs for the current allocation year.

(2)	Additional available candidate LTCRs are selected and awarded in a single-round process.  Eligible Entities may select:

(a)	Available LTCRs from their NITS Candidate LTCRs as described under Section 5.2.3 or Section 5.2.5, less any previously awarded LTCRs plus any surrendered LTCRs associated with NITS Candidate LTCRs;

(b)	Available LTCRs from their FPTP Candidate LTCRs as described under Section 5.2.3 or Section 5.2.5, less any previously awarded LTCRs plus any surrendered LTCRs associated with FPTP Candidate LTCRs;

(c)	Available LTCRs from their GFA NITS Candidate LTCRs as described under Section 5.2.3 or Section 5.2.5, less any previously awarded LTCRs plus any surrendered LTCRs associated with GFA NITS Candidate LTCRs;

(d)	Available LTCRs from their GFA FPTP Candidate LTCRs as described under Section 5.2.3 or Section 5.2.5, less any previously awarded LTCRs plus any surrendered LTCRs associated with GFA FPTP Candidate LTCRs;

(3)	Eligible Entities must submit the following information in order to select LTCRs:

(a)	Source (valid candidate LTCR source Settlement Location);

(b)	Sink (valid candidate LTCR sink Settlement Location);

(c)	Selected LTCR MW (total LTCR MW nominated from a source Settlement Location cannot exceed the source candidate available LTCR MW as previously determined under Section 5.2.3 or Section 5.2.5, less previously awarded LTCRs plus surrendered LTCRs);

(4)	All selected LTCRs are automatically awarded, and these awarded LTCRs and those awarded as described under (1) above are directly converted to TCRs prior to the Annual ARR Allocation Process for the current allocation year.

### 5.3.3	Simultaneous Feasibility

A simultaneous feasibility test (SFT) is performed in each round to ensure that the nominated candidate ARRs, with nominated candidate ARR MW modeled as generation injection at the source and a corresponding load withdrawal at the sink, do not violate any normal transmission line thermal ratings under normal system conditions and do not violate short-term Emergency transmission line thermal ratings following a single contingency (N-1 contingency analysis).  The SFT is performed consistent with the transmission system loading analysis that is performed as part the Security Constrained Economic Dispatch process in the DA Market and includes consideration of the impact of Parallel Flow.  100% of the SPP Residual Transmission System Capability, as defined under Section 5.2.2(2), is made available during the analysis.

- The SPP Transmission System topology used in the SFT is the most up-to-date Network Model for all allocation periods, updated for planned maintenance outages.

- For withdrawals at Settlement Locations containing more than one PNode, SPP will distribute the Settlement Location withdrawal down to the PNode level using load distribution percentages from the peak hour of the corresponding most recent historical period (i.e. June, July, August, September, Fall, Winter and Spring).  These load distribution percentages are calculated using the methodology described under Section 4.1.2.1.6.

- For injections at Market Hubs, SPP will distribute the hub injection down to the PNode level on a pro-rata basis using the weighting factors defined when the hub is created.

- For GFA Carve Outs that will be nominated, an injection at the source and a corresponding withdrawal at the sink will be included in the Annual ARR Allocation Process and will be subject to SFT.  The capacity used in the allocation will be the maximum allowable nomination as defined in section 5.2.2.

- All previously awarded TCRs associated with LTCRs that have not been surrendered are modeled as fixed injections/withdrawals.  To the extent that these fixed injections and withdrawals are not feasible, SPP will increase the ratings of the applicable transmission lines to ensure feasibility.  SPP will report back to the MWG when and which transmission line ratings had to be adjusted, and the magnitude of each adjustment, to ensure feasibility.

Every six (6) months for the first two (2) years after implementation of the Integrated Marketplace, SPP will analyze the net funding of TCRs through the Day-Ahead Market and report to the MWG.  In the event the cumulative funding is at or below 90% or above 100%, MWG may approve an additional adjustment of all subsequent monthly auctions and the month of June in the annual auction of the normal and emergency ratings of all flowgates and monitored transmission system elements in (2) above.

### 5.3.4	Annual ARR Awards

If all of the nominated candidate ARRs are confirmed feasible, all nominated candidate ARRs are awarded.  If the nominated candidate ARRs are not feasible, the amount of nominated candidate ARRs to be awarded will be reduced using a weighted least squares method.  The weighted least squares method minimizes the least squares deviation from the nominated candidate ARR MW weighted by the reciprocal of the nominations resulting in a higher percentage ARR reduction for those nominations having the greatest impact on the constraints.  ARR reductions associated with nominations that have an equal impact on the constraints are reduced by the same percentage.

### 5.4.1	TCR Bid and Offer Submittal

- Any Market Participant that has satisfied the applicable credit requirements may participate in the Annual TCR Auction;

- Market Participants holding ARRs may elect to self-convert all or a portion of those ARRs into TCRs with the same source and sink by specifying the Self-Convert option as part of the TCR Bid submittal. Directly converted TCRs from LTCRs can be offered for sale in the Annual TCR Auction.

- For each month and season included in the Annual TCR Auction period, Market Participants may submit TCR Bids and TCR Offers in 0.1 MW increments separately, for On-Peak and Off-Peak periods (8 separate transmission system models created representing each month in an annual auction period and on-peak and off-peak periods within each month and 6 separate transmission system models created representing each season in an annual auction period and on-peak and off-peak periods within each season). The following information is submitted for a TCR Bid or a TCR Offer:

- Source (any valid Settlement Location);

- Sink (any valid Settlement Location);

- Class (on-peak or off-peak);

- Period (month or season);

- Type (Bid, Self-Convert, Offer);

- TCR MW;

- TCR Price ($/MW);

- TCR Bids and Offers cannot exceed $100,000/MW-Month;

- TCR Bids and Offers cannot be less than ($100,000/MW-Month).

- For each TCR Round, a Market Participant is limited to a maximum combined submittal of 2000 TCR Bids and/or TCR Offers for each Asset Owner it represents.

- Market Participants may not submit offers to buy TCRs between Settlement Locations that are collocated and electrically equivalent.

### 5.4.4	Annual TCR Awards

Simultaneously feasible TCRs are awarded based upon the TCR Bid prices such that the total TCR auction value is maximized. Self-Converted TCRs are evaluated simultaneously with submitted TCR Bids and Offers.  In the event there is a tie during the SFT, the competing bids and offers will be awarded pro rata based on their impact(s) to the constraint(s).  Auction Clearing Prices (ACP) are calculated for each Settlement Location using the formula for the Marginal Congestion Component as described under Section 4.5.4.1.2 (MCCi = - ( Sensik * SPk  )).

For example, if we assume a 3 bus system (Bus A, B and C) and Bus A is the Reference Bus, we can calculate the ACP at Bus B as follows:

Transmission Line B-C is at its limit with a Shadow Price = $40/MW

Transmission Line A-C is at its limit with a Shadow Price = $30/MW

Transmission Line A-B is not at its limit (Shadow Price = $0/MW)

Shift Factor for Bus B on Line B-C is 30%

Shift Factor for Bus B on Line A-C is -80%

Then ACP at Bus B is equal to - [($40/MW * .3) + ($30/MW * (-.8))] = $12/MW

A similar calculation is performed for Bus C based on Bus C Shift Factors.  The ACP at Bus A is equal to zero since Bus A is the Reference Bus.

### 5.5.2	Monthly ARR Nominations

Five (5) days prior to the start of each applicable Monthly TCR Auction Process, Eligible Entities may nominate in a single round process (i) NITS Candidate ARRs in 0.1 MW increments along specific source to sink paths that total to no more than the difference between (1) their NITS Nomination Cap and (2) the sum of (a) awarded ARRs associated with NITS Candidate ARRs and (b) directly converted TCRs from awarded LTCRs associated with NITS Candidate LTCRs in the annual  allocation processes; (ii) FPTP Candidate ARRs in 0.1 MW increments along specific source to sink paths that total to no more than the difference between (1) their FPTP Nomination Cap and (2) the sum of (a) awarded ARRs associated with FPTP Candidate ARRs and (b) directly converted TCRs from awarded LTCRs associated with FPTP Candidate LTCRs in the annual  allocation processes;  (iii) GFA NITS Candidate ARRs in .1 MW increments along specific source to sink paths that total to no more than the difference between (1) their GFA NITS Nomination Cap and (2) the sum of (a) awarded ARRs associated with GFA NITS Candidate ARRs  and (b) directly converted TCRs from awarded LTCRs associated with GFA NITS Candidate LTCRs in the annual allocation processes; and/or (iv) GFA FPTP Candidate ARRs in 0.1 MW increments along specific source to sink paths that total to no more than the difference between (1) their GFA FPTP Nomination Cap and (2) the sum of (a) awarded ARRs associated with GFA FPTP Candidate ARRs and (b) directly converted TCRs from awarded LTCRs associated with GFA FPTP Candidate LTCRs in the annual allocation processes.  Nominations occur separately for On-Peak and Off-Peak periods.  Eligible Entities submit the following information:

- Source (valid candidate ARR source Settlement Location);

- Sink (valid candidate ARR sink Settlement Location);

- Class (on-peak or off-peak);

- ARR MW.

  - The total ARR MW nominated from a source Settlement Location cannot exceed the source candidate ARRs less previously awarded source ARRs.

### 5.5.3	Simultaneous Feasibility

The SFT to assess feasibility of nominated monthly candidate ARRs is performed as described under Section 5.3.3 with the following adjustments:

- The SPP Transmission System model used in the SFT will be the same model to be used in the upcoming Monthly TCR Auction Process which will include the most up-to-date Network Model, including planned maintenance outages, and updated Parallel Flow assumptions;

  - For withdrawals at sink Settlement Locations containing more than one PNode, SPP will distribute the Settlement Location withdrawal down to the PNode level using load distribution percentages from the peak hour of the corresponding most recent historical period (i.e. June for the month of July).  These load distribution percentages are calculated using the methodology described under Section 4.1.2.1.6.

- 100% of the Residual SPP Transmission System Capability is made available; and

- All TCRs previously awarded in the Annual TCR Auction Process, directly converted TCRs from LTCRs, and all remaining ARRs not accounted for in the Annual TCR Auction Process (as defined under Section 5.4), and for the applicable month are modeled as fixed injections at the specified sources and fixed withdrawals at the specified sinks.  To the extent that these fixed injections and withdrawals are not feasible, SPP will increase the ratings of the applicable transmission lines to ensure feasibility prior to assessing monthly ARR feasibility.  SPP will report back to the MWG on a quarterly basis regarding the number of times that transmission line ratings had to be adjusted to ensure feasibility.

### 5.6.3	Monthly TCR Auction Clearing and Simultaneous Feasibility

The Auction is performed using a Linear Program algorithm to maximize the total TCR auction value while ensuring that the cleared TCRs are also simultaneously feasible:

- The SPP Transmission System topology used in the SFT will be the most up-to-date Network Model, including planned maintenance outages, for the auction month;

  - For withdrawals at Settlement Locations containing more than one PNode, SPP will distribute the Settlement Location withdrawal down to the PNode level using load distribution percentages from the peak hour of the corresponding most recent historical period (i.e. June for the month of July).  These load distribution percentages are calculated using the methodology described under Section 4.1.2.1.6.

  - For injections at Market Hubs, SPP will distribute the hub injection down to the PNode level on a pro-rata basis using the weighting factors defined when the hub is created.

- The SFT is performed as described under Section 5.5.3. TCR Bid MWs are modeled as an injection at the source and a corresponding withdrawal at the sink.  TCR Offers associated with the sale of existing TCRs are modeled as injections at the sink and withdrawals at the source.  Residual SPP Transmission System Capability includes the most up to date Parallel Flow assumptions.

  - For Round 1, all TCRs awarded in the Annual TCR Auction for the month are modeled as fixed injections and withdrawals.  To the extent that the fixed injections and withdrawals representing TCRs awarded in the Annual TCR Auction are not feasible, SPP will increase the ratings of the applicable transmission lines to ensure feasibility prior to the Round 1 auction.  SPP will report back to the MWG on a quarterly basis regarding the number of times that that transmission line ratings had to be adjusted to ensure feasibility;

  - For Round 2, all TCRs previously awarded for the month are modeled as fixed injections and withdrawals prior to clearing the TCR Bids and Offers.

Proposed Tariff Language Revision

Attachment AE

      - 1.1	Definitions A

Auction Revenue Right (“ARR”)

A right, awarded during the annual Auction Revenue Right allocation process and the monthly Auction Revenue Right allocation process, which entitles the holder to a share of the auction revenues generated in the applicable Transmission Congestion Rights auction(s), and entitles the holder to self-convert the Auction Revenue Right to a Transmission Congestion Right.

7.0	Transmission Congestion Rights Markets

The TCR Markets process includes an annual LTCR allocation, an annual ARR allocation, annual and monthly TCR auctions and a monthly ARR allocation in accordance with the timelines specified in the Market Protocols.  The TCR Markets process is subject to review by the Market Monitor consistent with Attachment AG of this Tariff.  LTCRs are obtained by Eligible Entities during the annual LTCR allocation.  ARRs are obtained by Eligible Entities during the annual ARR allocation or the monthly ARR allocation.  TCRs are obtained by Market Participants through the annual LTCR allocation and the annual and monthly TCR auctions.

There are eight (8) key processes associated with LTCRs, ARRs and TCRs:

(1)	Annual LTCR/ARR verification;

(2)	Annual LTCR allocation;

(3)	Annual ARR allocation;

(4)	Annual TCR auction;

(5)	Monthly ARR allocation;

(6)	Monthly TCR auction;

(7)	ARR allocation and TCR auction settlements; and

(8)	TCR secondary markets.

Table 7-1 in Section 7.3.2 of this Attachment AE provides additional details related to auction timing and Transmission System capability available for the TCR auctions.

(b) Except as otherwise provided in this Section 7.0.b (ii), an entity taking firm transmission service under a GFA Carve Out will not be eligible to participate in the TCR Markets for the MW capacity associated with the GFA Carve Out.

- The MW capacity associated with each GFA Carve Out shall be included in the Transmission Provider’s ARR allocation and TCR auction processes in a manner that reflects the transmission service pursuant to the GFA Carve Out, provided, however, that (a) candidate ARRs associated with the GFA Carve Out service shall not be nominated for a product period if, based upon the twelve preceding months for which congestion data is available, such ARR, had it been converted to a TCR, would have resulted in a net charge to the holder of the TCR over that product period, and (b) until twelve months of Integrated Marketplace data are available, the Transmission Provider shall use relevant data from both the EIS Market and the Integrated Marketplace to estimate whether the result would have been a net charge to the TCR holder.

(ii)	On an annual basis, the GFA Responsible Entity may elect, in writing, to cancel the GFA Carve Out treatment and will be eligible to participate in the TCR Markets pursuant to Section 7.0 of Attachment AE. The conversion of GFA Carve Out to the TCR Market is irrevocable.

7.1.1	Transmission Service Verification

In order for Eligible Entities to obtain candidate LTCRs and/or ARRs, the Transmission Provider must first verify existing transmission service entitlements, including transmission service entitlements that have been renewed in accordance with rollover rights since their initial term.  An Eligible Entity’s Transmission Service must span the entire monthly or seasonal period for which ARRs are allocated to qualify for candidate ARRs in a particular month or season.  An Eligible Entity’s transmission service must span the entire annual period for which LTCRs are allocated and must have rollover rights to qualify for candidate LTCRs.  For Transmission Service with rollover rights whose deadline for providing notice of rollover occurs after the annual LTCR/ARR verification but before June 1, the Transmission Provider shall assume that the rollover will occur and shall consider the Transmission Service entitlement to span the entire allocation year, provided, however, that, if rollover rights for such Transmission Service are not exercised by the applicable deadline, any ARRs, TCRs, or LTCRs associated with such Transmission Service shall revert to the Transmission Provider effective on the date such Transmission Service terminates.  The Transmission Provider will verify Eligible Entity existing Transmission Service entitlements as follows:

(1)	The following will be performed prior to each annual LTCR and ARR allocation for Eligible Entities taking Network Integration Transmission Service or Firm Point-To-Point Transmission Service under the Tariff:

(a)	The Transmission Provider will obtain source, sink and Reservation Capacity information from the OASIS for each monthly and seasonal period for which ARRs are allocated in which the transmission service spans the entire period, or would if or when rolled over, for the current annual allocation and for the annual period for which LTCRs are allocated in which the transmission service spans the entire year;

(i)	For a transmission service reservation with a source inside the SPP Balancing Authority Area that is not a specific Resource or Resource Market Hub, the Transmission Provider will determine the load Settlement Location that most electrically corresponds to the source on the transmission service reservation that will be utilized as the source for candidate LTCRs and/or ARRs.

(ii)	For a transmission service reservation with a source outside of the SPP Balancing Authority Area, the interface between the Transmission Provider and the first tier Balancing Authority Area associated with the transmission reservation will be utilized as the source for candidate LTCRs and/or ARRs.

(iii)	For a transmission service reservation with a sink outside of the SPP Balancing Authority Area, the interface between the Transmission Provider and the first tier Balancing Authority Area associated with the transmission reservation will be utilized as the sink for candidate LTCRs and/or ARRs.

(iv)	Eligible Entities taking Network Integration Transmission Service with rollover rights under this Tariff shall be considered to have met the definition of Load Serving Entity for purposes of LTCR allocation;

(v)	Eligible Entities taking Firm Point-To-Point Transmission Service with rollover rights under this Tariff shall not be considered a Load Serving Entity for LTCR allocation purposes unless the Eligible Entity provides an attestation to the Transmission Provider confirming that the Eligible Entity is a Load Serving Entity as defined in this Attachment AE;

(b)	The Transmission Provider will provide this information to each Eligible Entity for verification; and

(c)	Eligible Entities will notify the Transmission Provider within 2 weeks following receipt of this information, identifying and correcting inaccurate data on the OASIS.  Otherwise, the Transmission Provider provided data will be considered verified.

(2)	The following will be performed prior to each annual LTCR and ARR allocation for the Eligible Entity taking GFA service:

(a)	Each Transmission Owner shall register any GFA for which candidate LTCRs and/or ARRs are to be provided to the Transmission Owner or the transmission customer under the GFA on the Transmission Provider’s OASIS.  The Transmission Owner must provide the Transmission Provider with source, sink and Reservation Capacity information for each GFA on the Transmission Provider’s OASIS by registering each GFA with the Transmission Provider.  The Transmission Provider will use source, sink, and Reservation Capacity information from the GFA registration for each monthly and seasonal period for which ARRs are allocated and the annual period for which LTCRs are allocated.  If both parties to the GFA are Market Participants with respect to the GFA load, then the parties may jointly inform the Transmission Provider which Market Participant will be allocated the candidate LTCRs and/or ARRs.  If the parties to the GFA do not so inform the Transmission Provider, or if only the Transmission Owner that sold the GFA service is a Market Participant, then the Transmission Owner that sold the GFA service will be allocated the candidate LTCRs and/or ARRs associated with the GFA.

(i)	For a GFA with a source inside the SPP Balancing Authority Area that is not a specific Resource or Resource Market Hub, the Transmission Provider will determine the load Settlement Location that most electrically corresponds to the source on the Transmission Service reservation that will be utilized as the source for candidate LTCRs and/or ARRs.

(ii)	For a GFA with a source outside of the SPP Balancing Authority Area, the interface between the Transmission Provider and the first tier Balancing Authority Area associated with the transmission reservation will be utilized as the source for the candidate LTCRs and/or ARRs.

(iii)	For a GFA with a sink outside of the SPP Balancing Authority Area, the interface between the Transmission Provider and the first tier Balancing Authority Area associated with the transmission reservation will be utilized as the sink for the candidate LTCRs and/or ARRs.

(iv)	An Eligible Entity under a GFA taking the equivalent of  Network Integration Transmission Service with rollover rights shall be considered to have met the definition of Load Serving Entity for purposes of LTCR allocation;

(v)	An Eligible Entity under a GFA taking the equivalent of Firm Point-To-Point Transmission Service with rollover rights shall not be considered a Load Serving Entity for the purposes of LTCR allocation unless the Eligible Entity provides an attestation to the Transmission Provider confirming that the Eligible Entity is an Load Serving Entity as defined in this Attachment AE;

(b) 	If the transmission customer under the GFA is receiving the candidate ARRs, to the extent that the transmission service specified in the GFA is identified as the equivalent of SPP Network Integration Transmission Service, the transmission customer under the GFA must provide the historical peak loads being served under the GFA for the previous three years.

7.1.2	Candidate Long-Term Congestion Rights/Auction Revenue Rights

Following verification of an Eligible Entity transmission service, candidate LTCRs and/or ARRs associated with such transmission service are assigned as follows:

(1)	For each Eligible Entity with Network Integration Transmission Service, the Eligible Entity’s Network Integration Transmission Service Candidate LTCRs and/or candidate ARRs from a specific source is equal to the source Reservation Capacity.

(a)	An Eligible Entity may select Network Integration Transmission Service Candidate LTCRs, as described in Section 7.2.4 of this Attachment AE from a specific source to one or more sinks up to the amount of its available Network Integration Transmission Service Candidate LTCRs associated with the source such that the total of such selections does not exceed the lesser of: i) the sum of Network Integration Transmission Service Candidate LTCRs or ii) the limit described under Section 7.1.3(1)(b) for that Eligible Entity.

(b)	An Eligible Entity may nominate Network Integration Transmission Service Candidate ARRs, as described in Section 7.3.1 of this Attachment AE from a specific source to one or more sinks up to the amount of its Network Integration Transmission Service Candidate ARRs associated with the source subject to the total nomination cap described in Section 7.1.3 of this Attachment AE.

(2)	For each Eligible Entity with Firm Point-To-Point Transmission Service, the Eligible Entity’s Firm Point-To-Point Candidate LTCRs and/or ARRs for a specific source and sink is equal to the Reservation Capacity associated with that source and sink.

(a)	An Eligible Entity may select Firm Point-To-Point Candidate LTCRs, as described in Section 7.2 of this Attachment AE, for this specific source and sink up to the amount of its available Firm Point-To-Point Candidate LTCRs such that the total of such selections does not exceed the total Firm Point-To-Point Candidate LTCRs available for that Eligible Entity.

(b)	Firm Point-To-Point Candidate ARRs may be nominated by an Eligible Entity, as described in Section 7.3.1 of this Attachment AE, for this specific source and sink up to the amount of its Firm Point-To-Point Candidate ARRs subject to the total nomination cap described in Section 7.1.3 of this Attachment AE.

(3)	For each Eligible Entity with equivalent Network Integration Transmission Service GFA service, the Eligible Entity’s Grandfathered Agreement Network Integration Transmission Service Candidate LTCRs and/or ARRs from a specific source is equal to the source Reservation Capacity.

(a)	An Eligible Entity may select Grandfathered Agreement Network Integration Transmission Service Candidate LTCRs, as described in Section 7.2 of this Attachment AE, from a specific source to one or more sinks up to the amount of its available Grandfathered Agreement Network Integration Transmission Service Candidate LTCRs such that the total of such selections does not exceed the lesser of: i) the sum of Grandfathered Agreement Network Integration Transmission Service Candidate LTCRs or ii) the limit described under Section 7.1.3(3)(b) for that Eligible Entity.

(b)	An Eligible Entity may nominate Grandfathered Agreement Network Integration Transmission Service Candidate ARRs, as described in Section 7.3.1 of this Attachment AE, from a specific source to one or more sinks up to the amount of its Grandfathered Agreement Network Integration Transmission Service Candidate ARRs subject to the total nomination cap described in Section 7.1.3 of this Attachment AE.

(4)	For each Eligible Entity with equivalent Firm Point-To-Point GFA service, the Eligible Entity’s Grandfathered Agreement Firm Point-To-Point Candidate LTCRs and/or ARRs for a specific source and sink is equal to the Reservation Capacity associated with that source and sink.

(a)	An Eligible Entity may select Grandfathered Agreement Firm Point-To-Point Candidate LTCRs, as described in Section 7.2 of this Attachment AE, for this specific source and sink up to the amount of its available Grandfathered Agreement Firm Point-To-Point Candidate LTCRs such that the total of such selections does not exceed the total Grandfathered Agreement Firm Point-To-Point Candidate LTCRs available for that Eligible Entity.

(b)	An Eligible Entity may nominate Grandfathered Agreement Firm Point-To-Point Candidate ARRs, as described in Section 7.3.1 of this Attachment AE, for this specific source and sink up to the amount of its Grandfathered Agreement Firm Point-To-Point Candidate ARRs subject to the total nomination cap described in Section 7.1.3 of this Attachment AE.

7.1.3	Auction Revenue Right Nomination Cap

An Eligible Entity’s ARR Nomination Cap will be as follows:

(1)	For Network Integration Transmission Customers, the Network Integration Transmission Service ARR Nomination Cap for a particular month or season is equal to the lesser of (a) the sum of Network Integration Transmission Service Candidate ARRs and Network Integration Transmission Service Candidate LTCRs for that particular month or season as calculated in Section 7.1.2 of this Attachment AE and any additional Network Integration Transmission Service Candidate ARRs for that particular month or season as calculated in Section 7.5.1 of this Attachment AE or (b) One hundred and three percent (103%) of the average of that customer’s three most recent annual peak Network Loads.  This value will be adjusted by the Transmission Provider as required to account for wholesale load shifts between Transmission Customers.  In addition, candidate LTCRs and awarded LTCRs shall be transferred by the Transmission Provider as applicable to account for wholesale load shifts between Transmission Customers.

(2)	For Firm Point-To-Point Transmission Customers, the Firm Point-To-Point ARR Nomination Cap is equal to the sum of Firm Point-To-Point Candidate ARRs and Firm Point-To-Point Candidate LTCRs as calculated in Section 7.1.2 of this Attachment AE and any additional Firm Point-To-Point Candidate ARRs as calculated in Section 7.5.1 of this Attachment AE.

(3)	For GFA customers taking the equivalent of SPP Network Integration Transmission Service, the Grandfathered Agreement Network Integration Transmission Service ARR Nomination Cap for that particular month or season is equal to the lesser of (a) the sum of Grandfathered Agreement Network Integration Transmission Service Candidate ARRs and Grandfathered Agreement Network Integration Transmission Service Candidate LTCRs for that particular month or season as calculated in Section 7.1.2 of this Attachment AE and any additional Grandfathered Agreement Network Integration Transmission Service Candidate ARRs for that particular month or season as calculated in Section 7.5.1 of this Attachment AE or (b) One hundred and three percent (103%) of the average of that GFA customer’s three most recent annual peak Network Loads.

(4)	For GFA customers taking the equivalent of SPP Firm Point-To-Point, the Grandfathered Agreement Firm Point-To-Point ARR Nomination Cap is equal to the sum of Grandfathered Agreement Firm Point-To-Point Candidate ARRs and Grandfathered Agreement Firm Point-To-Point Candidate LTCRs as calculated in Section 7.1.2 of this Attachment AE and any additional Grandfathered Agreement Firm Point-To-Point Candidate ARRs as calculated in Section 7.5.1 of this Attachment AE.

(5)	An Eligible Entity’s ARR Nomination Cap is equal the sum of its Network Integration Transmission Service ARR Nomination Cap, Firm Point-To-Point ARR Nomination Cap, Grandfathered Agreement Network Integration Transmission Service ARR Nomination Cap and Grandfathered Agreement Firm Point-To-Point ARR Nomination Cap.

7.2	Annual Long-Term Congestion Right Allocation

Eligible Entities may select the candidate LTCRs that they wish to receive up to their available LTCRs.  The portion of the selected candidate ARRs are awarded to each Eligible Entity during the LTCR annual allocation.  Available candidate LTCRs are evaluated on an annual basis in a two-step process; (i) candidate LTCRs associated with Eligible Entities that are Load Serving Entities are evaluated in accordance with Section 7.2.2 and (ii) remaining candidate LTCRs associated with Eligible Entities that are not Load Serving Entities are then evaluated in accordance with Section 7.2.3.

The Transmission Provider shall make available fifty percent (50%) of the projected maximum Transmission System capability for the purpose of LTCR allocation in the annual LTCR allocation process.  No later than five (5) days prior to the start of the annual LTCR allocation process, the Transmission Provider shall post the Transmission System network topology, including the corresponding impacts from Parallel Flow, used to determine the projected maximum Transmission System capability that will be used in the upcoming allocation.

    - 7.2.4	LTCR Selection and Awards

(1)	All previously awarded LTCRs are automatically awarded as LTCRs for the current allocation year; provided that such LTCRs meet the criteria specified in Section 7.1.1 of this Attachment AE; or were not surrendered as described under Section 7.2.1 of this Attachment AE.

(2)	Additional LTCRs are selected and awarded in a single-round process.  Eligible Entities may select:

(a)	Available LTCRs from its Network Integration Transmission Service Candidate LTCRs, less any previously awarded LTCRs plus any surrendered LTCRs associated with Network Integration Transmission Service Candidate LTCRs;

(b)	Available LTCRs from its Firm Point-To-Point Candidate LTCRs, less any previously awarded LTCRs plus any surrendered LTCRs associated with Firm Point-To-Point Candidate LTCRs;

(c)	Available LTCRs from its Grandfathered Agreement Network Integration Transmission Service Candidate LTCRs as described under Section 7.1.2 of this Attachment AE, less any previously awarded LTCRs plus any surrendered LTCRs associated with Grandfathered Agreement Network Integration Transmission Service Candidate LTCRs; and/or

(d)	Available LTCRs from its Grandfathered Agreement Firm Point-To-Point Candidate LTCRs as described under Section 7.1.2 of this Attachment AE, less any previously awarded LTCRs plus any surrendered LTCRs associated with Grandfathered Agreement Firm Point-To-Point Candidate LTCRs;

(3)	Eligible Entities shall submit the following information in order to select LTCRs that were not previously awarded:

(a)	Source (valid candidate LTCR source Settlement Location);

(b)	Sink (valid candidate LTCR sink Settlement Location);

(c)	LTCR MW (total LTCR MW selected from a source Settlement Location cannot exceed the source candidate available LTCR MW as previously determined under Section 7.2.2  or Section 7.2.3. less previously awarded LTCRs plus surrendered LTCRs);

(4)	All  LTCRs selected in accordance with Section 7.2.4(3) are automatically awarded; and

(5)	All awarded LTCRs are directly converted to TCRs prior to the annual ARR allocation for the current allocation year.

7.3.3	Annual Auction Revenue Right Awards

A Simultaneous Feasibility Test is performed in each round of the ARR allocation to determine the amount of nominated ARRs to be awarded.  The Simultaneous Feasibility Test is performed using the most current Network Model including planned transmission outages for the corresponding ARR allocation period.  For the Simultaneous Feasibility Test, a nominated candidate ARR is modeled as a generation injection at the source and a corresponding load withdrawal at the sink.  All directly converted TCRs from awarded LTCRs are modeled as fixed injections and withdrawals.

If the nominated candidate ARRs are not feasible, the amount of nominated candidate ARRs to be awarded will be reduced using a weighted least squares method.  The weighted least squares method minimizes the sum of the squared deviations between the actual ARR amounts and the nominated ARR amounts, weighted by the reciprocal of the nominated ARR amounts, which results in a higher percentage ARR reduction for those nominations having the greatest impact on the constraints.  ARR reductions associated with nominations that have an equal impact on the constraints are reduced by the same percentage.

Every six (6) months for the first two (2) years after implementation of the Integrated Marketplace, the Transmission Provider will analyze the net funding of TCRs through the Day-Ahead Market.  In the event the cumulative funding is at or below 90% or above 100%, the  Transmission Provider may approve an additional adjustment of all subsequent monthly auctions and the month of June in the annual auction of the normal and emergency ratings of all flowgates and monitored transmission system elements.

7.4	Annual Transmission Congestion Right Auction

Market Participants may obtain TCRs by purchasing them in the annual TCR auction or through conversion of ARRs into TCRs.  The percentages of the Transmission System capability made available during the annual TCR auction are listed in Table 7-1 in Section 7.4.2 of this Attachment AE.  TCRs in the annual auction are auctioned in a single round process for all months and seasons.  If there are any changes to the transmission system topology or Parallel Flow data after the conclusion of Annual ARR Allocation Process, the Transmission Provider will post such changes no later than three (3) Business Days prior to the start of the Annual TCR Auction Process.

7.4.3	Annual Transmission Congestion Right Auction Clearing and Simultaneous Feasibility

The auction is performed with an objective of maximizing the total TCR auction value while ensuring that the cleared TCRs are also simultaneously feasible.  A Simultaneous Feasibility Test is performed in each round.

The Simultaneous Feasibility Test is performed using the most up to date Network Model including planned transmission outages for the corresponding ARR allocation period.  For the Simultaneous Feasibility Test:

- TCR submittals of both the self-convert type and Bid type are modeled as a generation injection at the source and a corresponding load withdrawal at the sink.

(2)	TCR submittals of the Offer type are modeled as a generation injection at the sink and a corresponding load withdrawal at the source; and

(3)	Directly converted TCRs from LTCRs are modeled as fixed injections and withdrawals.

7.6.3	Monthly Auction Revenue Right Nominations

Five (5) days prior to the start of the monthly TCR auction, Eligible Entities may nominate in a single round:

    - Network Integration Transmission Service Candidate ARRs in 0.1 MW increments along specific source to sink paths that totals no more than the difference between (1) their Network Integration Transmission Service ARR Nomination Cap and (2) the sum of (a) awarded ARRs associated with Network Integration Transmission Service Candidate ARRs and (b) directly converted TCRs from awarded LTCRs associated with Network Integration Transmission Service Candidate LTCRs in the annual allocation processes;

    - Firm Point-To-Point Candidate ARRs in 0.1 MW increments along specific source to sink paths that totals no more than the difference between (1) their Firm Point-To-Point ARR Nomination Cap and (2) the sum of (a) awarded ARRs associated with Firm Point-To-Point Candidate ARRs and (b) directly converted TCRs from awarded LTCRs associated with Firm Point-To-Point Candidate LTCRs in the annual allocation processes;

    - Grandfathered Agreement Network Integration Transmission Service Candidate ARRs in 0.1 MW increments along specific source to sink paths that totals no more than the difference between (1) their Grandfathered Agreement Network Integration Transmission Service ARR Nomination Cap and (2) the sum of (a) awarded ARRs associated with Grandfathered Agreement Network Integration Transmission Service Candidate ARRs and (b) directly converted TCRs from awarded LTCRs associated with Grandfathered Agreement Network Integration Transmission Service Candidate LTCRs in the annual allocation processes; and

    - Grandfathered Agreement Firm Point-To-Point Candidate ARRs in 0.1 MW increments along specific source to sink paths that totals no more than the difference between (1) their Grandfathered Agreement Firm Point-To-Point ARR Nomination Cap and (2) the sum of (a) awarded ARRs associated with Grandfathered Agreement Firm Point-To-Point Candidate ARRs and (b) directly converted TCRs from awarded LTCRs associated with Grandfathered Agreement Firm Point-To-Point Candidate LTCRs in the annual allocation processes.

Nominations occur separately for On-Peak and Off-Peak periods.  Eligible Entities submit the following information:

(i)	Source: valid candidate ARR source Settlement Location;

(ii)	Sink: valid candidate ARR sink Settlement Location;

(iii)	Class: On-Peak or Off-Peak; and

(iv)	ARR MW:

(a) 	The total ARR MW nominated from a source Settlement Location cannot exceed the source candidate ARRs less previously awarded source ARRs.

Proposed Criteria Language Revision

N/A

October and November

December, January, February, March

April and May